## Notes
Notes
Simulation number |  | The sequential simulation identifier of each annual simulation - numbered between 1 and 539. Each simulation is modelled at the hourly resolution level - giving 8,760 hourly simulated outputs.
Unplanned outage set |  | Identifier of the hourly unplanned outage set used in the given simulation - numbered between 1 and 11. A stochastic availability model is used to develop the 11 annual simulations of hourly dispatchable power station availability.
Weather set |  | Identifier of the hourly demand and renewable energy resources trace set used in the given simulation - numbered between 1 and 49. A stochastic demand and renewable energy resource model is used to develop 49 weather influenced annual simulations of hourly demand (system and customer load) and renewable energy resource traces.
Energy and demand (as generated) | Annual regional energy (GWh) | The annual regional scheduled and semi-scheduled energy requirements for the given region and given weather set - taken as the sum of the 8,760 hourly simulated regional loads.
| Annual regional peak demand (MW) | The annual regional scheduled and semi-scheduled maximum demand for the given region and given weather set.
| Annual energy - NSLP (GWh) | The annual energy requirements for the given NSLP and given weather set.
| Annual peak demand - NSLP (MW) | The annual peak demand for the given NSLP and given weather set.
Spot Price (nominal at the regional reference node) | Annual regional time weighted spot price ($/MWh) | The simple average of the hourly simulated spot prices for the given region and simulation number.
| Annual regional load weighted spot price ($/MWh) | The load weighted average of the hourly simulated spot prices for the given region and simulation number - using the corresponding hourly regional loads as the weights.
| Number of hours spot prices above $300 | The number of simulated hourly prices in a given simulation that exceed $300/MWh for the given region and simulation number.
| Contribution of spot prices above $300 to annual average spot price ($/MWh) | The contribution to the annual time weighted spot price of simulated hourly prices in a given simulation that exceed $300/MWh for the given region and simulation number.
| Annual load weighted spot price - NSLP ($/MWh) | The load weighted average of the hourly simulated spot prices for the given NSLP and simulation number - using the corresponding hourly NSLP loads as the weights.
Hedged price (nominal at the regional reference node) | Annual hedged price - NSLP ($/MWh) | Sum of the hourly spot purchase costs, contract purchase costs (adopting a fixed quarterly hedging strategy and estimated contract prices), and hedge difference payments, divided by the annual energy to derive a price in $/MWh terms for a given NSLP and simulation number.

## Data
Summary of results for 539 market simulations for 2020-21 - Queensland
Simulation number | Unplanned outage set | Weather set | Energy and demand (as generated) |  |  |  | Spot Price (nominal at the regional reference node) |  |  |  |  | Hedged price (nominal at the regional reference node)
|  |  | Annual regional energy (GWh) | Annual regional peak demand (MW) | Annual energy - Energex NSLP (GWh) | Annual peak demand - Energex NSLP (MW) | Annual regional time weighted spot price ($/MWh) | Annual regional Load weighted spot price ($/MWh) | Number of hours spot prices above $300 | Contribution of spot prices above $300 to annual average spot price ($/MWh) | Annual load weighted spot price - Energex NSLP ($/MWh) | Annual hedged price - Energex NSLP ($/MWh)
1 | 1 | 1 | 54594.6509 | 9603.5697 | 6837.7417 | 2614.316 | 51.36 | 54.67 | 11 | 1.9742 | 62.8 | 79.15
2 | 1 | 2 | 54243.4732 | 9609.7393 | 6662.5383 | 2155.6516 | 49.28 | 51.99 | 2 | 1.21 | 58.5 | 78.87
3 | 1 | 3 | 54674.2066 | 9909.2798 | 6868.106 | 2518.848 | 51.97 | 56.15 | 11 | 2.8756 | 66.25 | 78.9
4 | 1 | 4 | 54857.1293 | 10085.0179 | 6824.419 | 2632.6924 | 50.68 | 53.55 | 11 | 0.94572 | 60.48 | 79.51
5 | 1 | 5 | 54660.8193 | 9609.7393 | 6845.1677 | 2507.8309 | 49.75 | 52.4 | 7 | 0.69651 | 59.06 | 79.72
6 | 1 | 6 | 54786.9183 | 10085.0179 | 6907.9195 | 2632.6924 | 51.54 | 54.96 | 8 | 2.1355 | 62.83 | 77.62
7 | 1 | 7 | 54896.1569 | 9498.6478 | 6937.2627 | 2518.848 | 54.09 | 58.36 | 19 | 3.7278 | 67.99 | 77.52
8 | 1 | 8 | 55078.2466 | 10444.2548 | 6984.6863 | 2756.3654 | 53.03 | 57.33 | 14 | 2.7855 | 68 | 79.73
9 | 1 | 9 | 54685.4525 | 10555.6934 | 6847.2199 | 2778.0873 | 57.41 | 64.14 | 14 | 8.3501 | 83.79 | 80.89
10 | 1 | 10 | 55133.9389 | 10555.6934 | 6999.5019 | 2778.0873 | 57.24 | 64.09 | 21 | 6.9952 | 81.17 | 80.29
11 | 1 | 11 | 54791.0363 | 9547.5481 | 6816.1649 | 2518.848 | 50.5 | 53.51 | 13 | 0.94796 | 60.91 | 79.69
12 | 1 | 12 | 54834.7053 | 10199.4901 | 6933.1385 | 2632.6924 | 55.52 | 60.82 | 20 | 5.6296 | 73.21 | 77.89
13 | 1 | 13 | 54647.4231 | 9609.7393 | 6832.5788 | 2614.316 | 51.9 | 55.65 | 10 | 2.7768 | 65.6 | 79.76
14 | 1 | 14 | 54697.0162 | 9609.7393 | 6827.8436 | 2424.0013 | 52.49 | 56.38 | 13 | 3.3213 | 65.42 | 78.32
15 | 1 | 15 | 54870.0963 | 10085.0179 | 6935.1453 | 2632.6924 | 51.84 | 55.73 | 10 | 2.5197 | 65.83 | 79.57
16 | 1 | 16 | 55005.0494 | 10085.0179 | 6991.213 | 2632.6924 | 51.68 | 55.16 | 10 | 2.0143 | 63.25 | 78.54
17 | 1 | 17 | 54861.8112 | 10085.0179 | 6921.6713 | 2632.6924 | 53.06 | 57.4 | 12 | 3.4947 | 67.84 | 77.96
18 | 1 | 18 | 54505.2117 | 9609.7393 | 6752.9874 | 2518.848 | 49.04 | 51.5 | 6 | 0.44961 | 57.58 | 79.26
19 | 1 | 19 | 54866.6178 | 9609.7393 | 6874.0107 | 2518.848 | 51.55 | 54.96 | 12 | 2.035 | 62.94 | 78.39
20 | 1 | 20 | 54780.1393 | 9609.7393 | 6905.2412 | 2424.0013 | 50.98 | 54.32 | 16 | 1.3833 | 62.18 | 79.13
21 | 1 | 21 | 55045.7194 | 10444.2548 | 6971.5469 | 2756.3654 | 58.56 | 66.13 | 25 | 8.1235 | 85.32 | 79.78
22 | 1 | 22 | 54925.1703 | 10555.6934 | 6947.6284 | 2778.0873 | 54.32 | 59.53 | 16 | 4.6372 | 72.74 | 79.71
23 | 1 | 23 | 54603.5275 | 9609.7393 | 6782.7006 | 2518.848 | 54.92 | 60.02 | 14 | 5.7529 | 72.43 | 76.01
24 | 1 | 24 | 54725.3094 | 10085.0179 | 6859.5324 | 2632.6924 | 50.85 | 54.04 | 12 | 1.8581 | 61.61 | 78.61
25 | 1 | 25 | 54685.5142 | 10085.0179 | 6819.5151 | 2632.6924 | 51.37 | 54.85 | 13 | 1.9962 | 62.65 | 78.8
26 | 1 | 26 | 54614.6456 | 9609.7393 | 6816.2241 | 2507.8309 | 51.58 | 55.33 | 11 | 3.4497 | 65.06 | 78.81
27 | 1 | 27 | 54584.0269 | 10444.2548 | 6804.316 | 2756.3654 | 55.73 | 62.18 | 17 | 6.8815 | 78.39 | 79.31
28 | 1 | 28 | 55219.5494 | 10229.6112 | 7116.9296 | 3067.8111 | 66.83 | 76.57 | 38 | 15.0418 | 100.34 | 76.82
29 | 1 | 29 | 54615.7369 | 10555.6934 | 6788.8746 | 2778.0873 | 55.61 | 61.43 | 20 | 5.9359 | 76.54 | 79.13
30 | 1 | 30 | 54338.6497 | 9609.7393 | 6689.7673 | 2245.3789 | 51.21 | 54.4 | 9 | 2.5488 | 62.07 | 77.95
31 | 1 | 31 | 54810.6724 | 9498.6478 | 6848.3893 | 2424.0013 | 54.23 | 58.44 | 23 | 4.0329 | 68.07 | 77.11
32 | 1 | 32 | 55189.8817 | 9609.7393 | 7001.4184 | 2507.8309 | 52.25 | 55.99 | 15 | 2.5003 | 64.47 | 78.68
33 | 1 | 33 | 54564.7263 | 9444.7016 | 6725.8047 | 2274.2226 | 51.08 | 54.47 | 6 | 2.2987 | 62.78 | 78.73
34 | 1 | 34 | 54950.5891 | 9833.3612 | 6972.1689 | 2620.7496 | 66.37 | 76.52 | 35 | 15.9401 | 105.76 | 79.11
35 | 1 | 35 | 54920.2801 | 9609.7393 | 6927.0498 | 2518.848 | 56.67 | 62.6 | 24 | 6.8898 | 76.64 | 76.62
36 | 1 | 36 | 55057.4705 | 10085.0179 | 6955.0621 | 2632.6924 | 52.86 | 56.69 | 18 | 2.3657 | 65.94 | 79.17
37 | 1 | 37 | 54601.0405 | 9609.7393 | 6789.6704 | 2518.848 | 52.14 | 55.8 | 14 | 3.3733 | 64.75 | 77.35
38 | 1 | 38 | 54552.0599 | 9832.4757 | 6743.5872 | 2518.848 | 49.93 | 52.69 | 6 | 0.82657 | 59.34 | 79.48
39 | 1 | 39 | 54845.0032 | 9816.8778 | 6894.8774 | 2518.848 | 53.77 | 57.94 | 15 | 3.9385 | 67.69 | 77.44
40 | 1 | 40 | 55014.1569 | 10085.0179 | 6978.2622 | 2632.6924 | 53.95 | 58.32 | 15 | 3.7281 | 68.99 | 78.7
41 | 1 | 41 | 54771.7732 | 10555.6934 | 6894.7646 | 3067.8111 | 68.56 | 80.08 | 40 | 17.622 | 108.26 | 72.89
42 | 1 | 42 | 54612.8404 | 9609.7393 | 6777.4982 | 2518.848 | 50.45 | 53.62 | 7 | 1.5446 | 61.41 | 79.14
43 | 1 | 43 | 54735.4513 | 9609.7393 | 6882.6582 | 2373.9627 | 51.58 | 54.97 | 9 | 1.8109 | 62.97 | 78.38
44 | 1 | 44 | 54779.7947 | 9609.7393 | 6797.328 | 2518.848 | 52.76 | 57.09 | 9 | 3.9184 | 67.9 | 78.14
45 | 1 | 45 | 55212.3485 | 9816.8778 | 7021.9848 | 2507.8309 | 55.93 | 60.83 | 26 | 4.9009 | 72.13 | 78.07
46 | 1 | 46 | 54974.0256 | 10199.4901 | 6949.6334 | 2590.8659 | 55.47 | 60.35 | 16 | 4.9068 | 71.9 | 76.55
47 | 1 | 47 | 55243.1376 | 10024.687 | 6923.6652 | 3067.8111 | 75.82 | 89.59 | 52 | 23.1592 | 126.69 | 72.81
48 | 1 | 48 | 54993.0626 | 10444.2548 | 6946.0611 | 2756.3654 | 64.32 | 73.99 | 40 | 13.1717 | 98.21 | 80.12
49 | 1 | 49 | 55052.2268 | 10555.6934 | 7115.3553 | 2855.8026 | 74.68 | 89.45 | 63 | 23.2756 | 125.64 | 79.44
50 | 2 | 1 | 54594.6509 | 9603.5697 | 6837.7417 | 2614.316 | 56.85 | 62.22 | 16 | 7.4068 | 73.7 | 75.34
51 | 2 | 2 | 54243.4732 | 9609.7393 | 6662.5383 | 2155.6516 | 48.01 | 50.25 | 3 | 0.24064 | 55.95 | 79.94
52 | 2 | 3 | 54674.2066 | 9909.2798 | 6868.106 | 2518.848 | 52.13 | 55.94 | 18 | 2.8529 | 64.98 | 78.24
53 | 2 | 4 | 54857.1293 | 10085.0179 | 6824.419 | 2632.6924 | 56.19 | 61.06 | 17 | 6.3325 | 71.48 | 75.81
54 | 2 | 5 | 54660.8193 | 9609.7393 | 6845.1677 | 2507.8309 | 53.96 | 58.26 | 9 | 5.1241 | 67.92 | 76.8
55 | 2 | 6 | 54786.9183 | 10085.0179 | 6907.9195 | 2632.6924 | 53.99 | 58.24 | 14 | 4.45 | 67.56 | 76.78
56 | 2 | 7 | 54896.1569 | 9498.6478 | 6937.2627 | 2518.848 | 56.65 | 62.05 | 18 | 6.6327 | 75.65 | 78.27
57 | 2 | 8 | 55078.2466 | 10444.2548 | 6984.6863 | 2756.3654 | 57.78 | 64.45 | 27 | 7.3368 | 81.28 | 78.64
58 | 2 | 9 | 54685.4525 | 10555.6934 | 6847.2199 | 2778.0873 | 61.19 | 70.11 | 22 | 11.8365 | 95.81 | 82.03
59 | 2 | 10 | 55133.9389 | 10555.6934 | 6999.5019 | 2778.0873 | 54.8 | 59.85 | 25 | 4.6857 | 72.85 | 79.65
60 | 2 | 11 | 54791.0363 | 9547.5481 | 6816.1649 | 2518.848 | 50.81 | 53.95 | 11 | 1.4655 | 61.48 | 78.64
61 | 2 | 12 | 54834.7053 | 10199.4901 | 6933.1385 | 2632.6924 | 62.08 | 71.05 | 23 | 12.4283 | 91.89 | 75.82
62 | 2 | 13 | 54647.4231 | 9609.7393 | 6832.5788 | 2614.316 | 51.27 | 54.7 | 13 | 2.1945 | 63.02 | 78.41
63 | 2 | 14 | 54697.0162 | 9609.7393 | 6827.8436 | 2424.0013 | 54.36 | 59.04 | 21 | 5.114 | 69.61 | 76.2
64 | 2 | 15 | 54870.0963 | 10085.0179 | 6935.1453 | 2632.6924 | 52.08 | 55.97 | 13 | 2.3324 | 65.73 | 79.49
65 | 2 | 16 | 55005.0494 | 10085.0179 | 6991.213 | 2632.6924 | 55.93 | 61.02 | 22 | 6.0303 | 73.44 | 78.24
66 | 2 | 17 | 54861.8112 | 10085.0179 | 6921.6713 | 2632.6924 | 51.96 | 55.9 | 16 | 2.9006 | 65.24 | 77.8
67 | 2 | 18 | 54505.2117 | 9609.7393 | 6752.9874 | 2518.848 | 51.55 | 55.01 | 11 | 3.0547 | 63.78 | 77.25
68 | 2 | 19 | 54866.6178 | 9609.7393 | 6874.0107 | 2518.848 | 52.49 | 56.47 | 10 | 3.3258 | 65.73 | 77.35
69 | 2 | 20 | 54780.1393 | 9609.7393 | 6905.2412 | 2424.0013 | 51.92 | 55.72 | 20 | 2.5513 | 64.68 | 78.62
70 | 2 | 21 | 55045.7194 | 10444.2548 | 6971.5469 | 2756.3654 | 59.03 | 66.55 | 28 | 8.6039 | 84.69 | 77.62
71 | 2 | 22 | 54925.1703 | 10555.6934 | 6947.6284 | 2778.0873 | 55.12 | 61.29 | 14 | 5.8521 | 76.84 | 80.21
72 | 2 | 23 | 54603.5275 | 9609.7393 | 6782.7006 | 2518.848 | 57.26 | 63.36 | 20 | 8.0084 | 78.46 | 75.34
73 | 2 | 24 | 54725.3094 | 10085.0179 | 6859.5324 | 2632.6924 | 54.62 | 59.21 | 18 | 5.5005 | 69.67 | 77.14
74 | 2 | 25 | 54685.5142 | 10085.0179 | 6819.5151 | 2632.6924 | 52.6 | 56.98 | 16 | 3.4669 | 67.29 | 78.31
75 | 2 | 26 | 54614.6456 | 9609.7393 | 6816.2241 | 2507.8309 | 51.62 | 55.13 | 10 | 3.653 | 63.53 | 77.29
76 | 2 | 27 | 54584.0269 | 10444.2548 | 6804.316 | 2756.3654 | 57.3 | 64.66 | 20 | 8.5805 | 83.42 | 78.61
77 | 2 | 28 | 55219.5494 | 10229.6112 | 7116.9296 | 3067.8111 | 65.71 | 75.4 | 33 | 14.1995 | 101.95 | 78.73
78 | 2 | 29 | 54615.7369 | 10555.6934 | 6788.8746 | 2778.0873 | 59.72 | 67.74 | 22 | 10.2611 | 88.4 | 77.3
79 | 2 | 30 | 54338.6497 | 9609.7393 | 6689.7673 | 2245.3789 | 49.61 | 52.24 | 7 | 1.159 | 58.99 | 79.31
80 | 2 | 31 | 54810.6724 | 9498.6478 | 6848.3893 | 2424.0013 | 57.06 | 62.4 | 20 | 6.9601 | 74.35 | 75.24
81 | 2 | 32 | 55189.8817 | 9609.7393 | 7001.4184 | 2507.8309 | 52.6 | 56.29 | 18 | 2.324 | 65.46 | 79.25
82 | 2 | 33 | 54564.7263 | 9444.7016 | 6725.8047 | 2274.2226 | 51.35 | 54.89 | 12 | 2.7457 | 63.45 | 78.11
83 | 2 | 34 | 54950.5891 | 9833.3612 | 6972.1689 | 2620.7496 | 69.36 | 80.9 | 37 | 19.0979 | 115.94 | 81.12
84 | 2 | 35 | 54920.2801 | 9609.7393 | 6927.0498 | 2518.848 | 56.51 | 62.59 | 18 | 6.9608 | 76.69 | 75.69
85 | 2 | 36 | 55057.4705 | 10085.0179 | 6955.0621 | 2632.6924 | 56.84 | 62.11 | 19 | 6.2941 | 74.21 | 76.77
86 | 2 | 37 | 54601.0405 | 9609.7393 | 6789.6704 | 2518.848 | 49.84 | 52.67 | 4 | 1.3653 | 59.79 | 78.64
87 | 2 | 38 | 54552.0599 | 9832.4757 | 6743.5872 | 2518.848 | 49.61 | 52.39 | 8 | 0.59845 | 59.32 | 80.01
88 | 2 | 39 | 54845.0032 | 9816.8778 | 6894.8774 | 2518.848 | 53.45 | 57.51 | 16 | 3.6585 | 67.37 | 77.23
89 | 2 | 40 | 55014.1569 | 10085.0179 | 6978.2622 | 2632.6924 | 52.61 | 56.5 | 18 | 2.6376 | 65.79 | 78.28
90 | 2 | 41 | 54771.7732 | 10555.6934 | 6894.7646 | 3067.8111 | 76.13 | 91.29 | 49 | 25.035 | 133.05 | 75.1
91 | 2 | 42 | 54612.8404 | 9609.7393 | 6777.4982 | 2518.848 | 49.59 | 52.28 | 6 | 0.97032 | 58.62 | 78.83
92 | 2 | 43 | 54735.4513 | 9609.7393 | 6882.6582 | 2373.9627 | 54.18 | 58.74 | 18 | 4.5208 | 69.83 | 77.78
93 | 2 | 44 | 54779.7947 | 9609.7393 | 6797.328 | 2518.848 | 56.46 | 62.04 | 21 | 7.4173 | 75.19 | 75.52
94 | 2 | 45 | 55212.3485 | 9816.8778 | 7021.9848 | 2507.8309 | 57.75 | 63.36 | 25 | 7.086 | 75.49 | 75.32
95 | 2 | 46 | 54974.0256 | 10199.4901 | 6949.6334 | 2590.8659 | 57.93 | 64.36 | 40 | 7.0489 | 79.93 | 76.88
96 | 2 | 47 | 55243.1376 | 10024.687 | 6923.6652 | 3067.8111 | 96.32 | 119.59 | 77 | 43.316 | 186.62 | 74.81
97 | 2 | 48 | 54993.0626 | 10444.2548 | 6946.0611 | 2756.3654 | 65.61 | 76.81 | 43 | 14.6289 | 105.53 | 83.03
98 | 2 | 49 | 55052.2268 | 10555.6934 | 7115.3553 | 2855.8026 | 68.63 | 81.36 | 60 | 17.3693 | 112.23 | 82.81
99 | 3 | 1 | 54594.6509 | 9603.5697 | 6837.7417 | 2614.316 | 49.68 | 52.26 | 9 | 0.36258 | 58.65 | 79.64
100 | 3 | 2 | 54243.4732 | 9609.7393 | 6662.5383 | 2155.6516 | 50.54 | 53.34 | 7 | 2.5181 | 61.34 | 79.22
101 | 3 | 3 | 54674.2066 | 9909.2798 | 6868.106 | 2518.848 | 55.94 | 61.97 | 21 | 6.5093 | 76.63 | 77.55
102 | 3 | 4 | 54857.1293 | 10085.0179 | 6824.419 | 2632.6924 | 53.22 | 57.49 | 15 | 3.2852 | 68.26 | 78.94
103 | 3 | 5 | 54660.8193 | 9609.7393 | 6845.1677 | 2507.8309 | 49.78 | 52.57 | 9 | 0.78015 | 59.61 | 79.55
104 | 3 | 6 | 54786.9183 | 10085.0179 | 6907.9195 | 2632.6924 | 49.6 | 52.3 | 3 | 0.66557 | 58.78 | 79.08
105 | 3 | 7 | 54896.1569 | 9498.6478 | 6937.2627 | 2518.848 | 51.01 | 54.1 | 8 | 0.98043 | 61.45 | 79.25
106 | 3 | 8 | 55078.2466 | 10444.2548 | 6984.6863 | 2756.3654 | 54.64 | 59.71 | 15 | 4.5248 | 72.79 | 79.35
107 | 3 | 9 | 54685.4525 | 10555.6934 | 6847.2199 | 2778.0873 | 66.42 | 78.31 | 24 | 17.0254 | 111.71 | 81
108 | 3 | 10 | 55133.9389 | 10555.6934 | 6999.5019 | 2778.0873 | 58.78 | 66.43 | 19 | 8.7331 | 86.18 | 80.65
109 | 3 | 11 | 54791.0363 | 9547.5481 | 6816.1649 | 2518.848 | 51.05 | 54.35 | 11 | 1.6211 | 62.78 | 79.39
110 | 3 | 12 | 54834.7053 | 10199.4901 | 6933.1385 | 2632.6924 | 56.98 | 62.98 | 28 | 6.6295 | 77.57 | 77.11
111 | 3 | 13 | 54647.4231 | 9609.7393 | 6832.5788 | 2614.316 | 49.65 | 52.4 | 6 | 0.75859 | 59.16 | 79.22
112 | 3 | 14 | 54697.0162 | 9609.7393 | 6827.8436 | 2424.0013 | 49.89 | 52.63 | 10 | 0.97156 | 59.22 | 78.98
113 | 3 | 15 | 54870.0963 | 10085.0179 | 6935.1453 | 2632.6924 | 54.8 | 59.95 | 21 | 5.1064 | 72.37 | 77.94
114 | 3 | 16 | 55005.0494 | 10085.0179 | 6991.213 | 2632.6924 | 52.44 | 56.33 | 13 | 2.5688 | 65.41 | 78.13
115 | 3 | 17 | 54861.8112 | 10085.0179 | 6921.6713 | 2632.6924 | 57.6 | 64.24 | 24 | 8.1922 | 80.57 | 75.98
116 | 3 | 18 | 54505.2117 | 9609.7393 | 6752.9874 | 2518.848 | 51.81 | 55.48 | 10 | 3.4479 | 64.56 | 76.75
117 | 3 | 19 | 54866.6178 | 9609.7393 | 6874.0107 | 2518.848 | 51.08 | 54.3 | 11 | 1.6732 | 62.16 | 78.78
118 | 3 | 20 | 54780.1393 | 9609.7393 | 6905.2412 | 2424.0013 | 52.47 | 56.51 | 13 | 2.9713 | 65.79 | 77.89
119 | 3 | 21 | 55045.7194 | 10444.2548 | 6971.5469 | 2756.3654 | 60.33 | 68.44 | 32 | 9.7695 | 88.24 | 78.09
120 | 3 | 22 | 54925.1703 | 10555.6934 | 6947.6284 | 2778.0873 | 53.85 | 58.56 | 16 | 4.0647 | 70.05 | 78.33
121 | 3 | 23 | 54603.5275 | 9609.7393 | 6782.7006 | 2518.848 | 61.58 | 69.6 | 25 | 12.2049 | 89.24 | 71.89
122 | 3 | 24 | 54725.3094 | 10085.0179 | 6859.5324 | 2632.6924 | 49.97 | 52.83 | 10 | 1.0641 | 59.81 | 79.23
123 | 3 | 25 | 54685.5142 | 10085.0179 | 6819.5151 | 2632.6924 | 51.7 | 55.46 | 13 | 2.2711 | 64.82 | 79.44
124 | 3 | 26 | 54614.6456 | 9609.7393 | 6816.2241 | 2507.8309 | 51.11 | 54.76 | 14 | 2.873 | 63.73 | 77.97
125 | 3 | 27 | 54584.0269 | 10444.2548 | 6804.316 | 2756.3654 | 55.06 | 61.46 | 12 | 6.3877 | 78.68 | 80.9
126 | 3 | 28 | 55219.5494 | 10229.6112 | 7116.9296 | 3067.8111 | 68.78 | 81.04 | 37 | 16.8626 | 114.07 | 81.71
127 | 3 | 29 | 54615.7369 | 10555.6934 | 6788.8746 | 2778.0873 | 54.53 | 60.23 | 9 | 5.2569 | 75.83 | 81.25
128 | 3 | 30 | 54338.6497 | 9609.7393 | 6689.7673 | 2245.3789 | 49.63 | 52.33 | 9 | 1.2255 | 59.31 | 79.4
129 | 3 | 31 | 54810.6724 | 9498.6478 | 6848.3893 | 2424.0013 | 52.45 | 56.1 | 12 | 2.2722 | 64.84 | 78.61
130 | 3 | 32 | 55189.8817 | 9609.7393 | 7001.4184 | 2507.8309 | 56.52 | 62.34 | 29 | 6.3192 | 77.08 | 77.66
131 | 3 | 33 | 54564.7263 | 9444.7016 | 6725.8047 | 2274.2226 | 49.62 | 52.44 | 6 | 0.9714 | 59.16 | 79.1
132 | 3 | 34 | 54950.5891 | 9833.3612 | 6972.1689 | 2620.7496 | 73.48 | 87.2 | 40 | 22.9631 | 126.85 | 78.52
133 | 3 | 35 | 54920.2801 | 9609.7393 | 6927.0498 | 2518.848 | 52.72 | 56.8 | 14 | 3.2425 | 66.5 | 77.92
134 | 3 | 36 | 55057.4705 | 10085.0179 | 6955.0621 | 2632.6924 | 53.46 | 57.56 | 20 | 2.9767 | 67.73 | 78.83
135 | 3 | 37 | 54601.0405 | 9609.7393 | 6789.6704 | 2518.848 | 49.05 | 51.6 | 8 | 0.441 | 57.98 | 79.53
136 | 3 | 38 | 54552.0599 | 9832.4757 | 6743.5872 | 2518.848 | 55.44 | 61.09 | 20 | 6.218 | 75.35 | 78.12
137 | 3 | 39 | 54845.0032 | 9816.8778 | 6894.8774 | 2518.848 | 51.94 | 55.6 | 15 | 2.4183 | 64.54 | 78.83
138 | 3 | 40 | 55014.1569 | 10085.0179 | 6978.2622 | 2632.6924 | 56.15 | 61.67 | 22 | 6.0682 | 74.61 | 75.72
139 | 3 | 41 | 54771.7732 | 10555.6934 | 6894.7646 | 3067.8111 | 86.42 | 107.22 | 63 | 35.0422 | 163.65 | 74.1
140 | 3 | 42 | 54612.8404 | 9609.7393 | 6777.4982 | 2518.848 | 53.16 | 57.64 | 11 | 4.2001 | 68.93 | 78.02
141 | 3 | 43 | 54735.4513 | 9609.7393 | 6882.6582 | 2373.9627 | 51.24 | 54.61 | 14 | 1.4481 | 62.93 | 79.35
142 | 3 | 44 | 54779.7947 | 9609.7393 | 6797.328 | 2518.848 | 50.84 | 54.33 | 17 | 2.0288 | 62.78 | 78.69
143 | 3 | 45 | 55212.3485 | 9816.8778 | 7021.9848 | 2507.8309 | 55.88 | 61.04 | 17 | 5.195 | 73.4 | 76.67
144 | 3 | 46 | 54974.0256 | 10199.4901 | 6949.6334 | 2590.8659 | 59.58 | 66.95 | 32 | 9.0977 | 84.8 | 75.63
145 | 3 | 47 | 55243.1376 | 10024.687 | 6923.6652 | 3067.8111 | 81.69 | 98.45 | 71 | 28.868 | 145.62 | 76.95
146 | 3 | 48 | 54993.0626 | 10444.2548 | 6946.0611 | 2756.3654 | 69.15 | 81.97 | 40 | 18.2936 | 114.9 | 81.21
147 | 3 | 49 | 55052.2268 | 10555.6934 | 7115.3553 | 2855.8026 | 71.54 | 85.41 | 57 | 20.1179 | 119.17 | 81.61
148 | 4 | 1 | 54594.6509 | 9603.5697 | 6837.7417 | 2614.316 | 50.97 | 54.07 | 12 | 1.4668 | 61.3 | 78.87
149 | 4 | 2 | 54243.4732 | 9609.7393 | 6662.5383 | 2155.6516 | 48.08 | 50.28 | 2 | 0.14575 | 55.81 | 79.87
150 | 4 | 3 | 54674.2066 | 9909.2798 | 6868.106 | 2518.848 | 50.48 | 53.76 | 9 | 1.3499 | 61.64 | 79.29
151 | 4 | 4 | 54857.1293 | 10085.0179 | 6824.419 | 2632.6924 | 50.72 | 53.74 | 12 | 0.90468 | 60.76 | 79.4
152 | 4 | 5 | 54660.8193 | 9609.7393 | 6845.1677 | 2507.8309 | 49.07 | 51.56 | 6 | 0.21265 | 57.74 | 79.66
153 | 4 | 6 | 54786.9183 | 10085.0179 | 6907.9195 | 2632.6924 | 51.21 | 54.41 | 6 | 1.7428 | 61.74 | 77.9
154 | 4 | 7 | 54896.1569 | 9498.6478 | 6937.2627 | 2518.848 | 54.03 | 58.31 | 16 | 3.9865 | 68.7 | 78.1
155 | 4 | 8 | 55078.2466 | 10444.2548 | 6984.6863 | 2756.3654 | 74.75 | 92.89 | 16 | 24.5657 | 139.09 | 82.02
156 | 4 | 9 | 54685.4525 | 10555.6934 | 6847.2199 | 2778.0873 | 59.55 | 67.89 | 22 | 10.1135 | 91.27 | 81.61
157 | 4 | 10 | 55133.9389 | 10555.6934 | 6999.5019 | 2778.0873 | 57.96 | 64.66 | 30 | 7.5622 | 80.43 | 78.06
158 | 4 | 11 | 54791.0363 | 9547.5481 | 6816.1649 | 2518.848 | 51.27 | 54.58 | 11 | 1.8004 | 62.4 | 78.59
159 | 4 | 12 | 54834.7053 | 10199.4901 | 6933.1385 | 2632.6924 | 57.02 | 63.45 | 20 | 7.0955 | 79.43 | 77.74
160 | 4 | 13 | 54647.4231 | 9609.7393 | 6832.5788 | 2614.316 | 53.2 | 57.59 | 15 | 3.9002 | 68.76 | 78.3
161 | 4 | 14 | 54697.0162 | 9609.7393 | 6827.8436 | 2424.0013 | 50.79 | 53.77 | 8 | 1.732 | 60.55 | 78.02
162 | 4 | 15 | 54870.0963 | 10085.0179 | 6935.1453 | 2632.6924 | 53.54 | 58.05 | 17 | 3.8125 | 68.56 | 77.44
163 | 4 | 16 | 55005.0494 | 10085.0179 | 6991.213 | 2632.6924 | 53.56 | 57.98 | 16 | 3.9198 | 68.73 | 80.19
164 | 4 | 17 | 54861.8112 | 10085.0179 | 6921.6713 | 2632.6924 | 54.55 | 59.83 | 8 | 5.4891 | 72.8 | 77.11
165 | 4 | 18 | 54505.2117 | 9609.7393 | 6752.9874 | 2518.848 | 49.13 | 51.67 | 6 | 0.63953 | 57.98 | 79.14
166 | 4 | 19 | 54866.6178 | 9609.7393 | 6874.0107 | 2518.848 | 53.27 | 56.98 | 20 | 3.4526 | 65.2 | 77.33
167 | 4 | 20 | 54780.1393 | 9609.7393 | 6905.2412 | 2424.0013 | 55.05 | 60.37 | 14 | 5.7729 | 72.45 | 76.62
168 | 4 | 21 | 55045.7194 | 10444.2548 | 6971.5469 | 2756.3654 | 61.62 | 70.7 | 32 | 11.007 | 93.27 | 79.04
169 | 4 | 22 | 54925.1703 | 10555.6934 | 6947.6284 | 2778.0873 | 53.5 | 58.35 | 18 | 3.7772 | 70.63 | 79.8
170 | 4 | 23 | 54603.5275 | 9609.7393 | 6782.7006 | 2518.848 | 59.18 | 66.15 | 18 | 9.7558 | 82.98 | 73.18
171 | 4 | 24 | 54725.3094 | 10085.0179 | 6859.5324 | 2632.6924 | 50.05 | 52.95 | 6 | 1.11 | 59.77 | 78.41
172 | 4 | 25 | 54685.5142 | 10085.0179 | 6819.5151 | 2632.6924 | 54.11 | 59.23 | 10 | 4.9719 | 71.14 | 77.35
173 | 4 | 26 | 54614.6456 | 9609.7393 | 6816.2241 | 2507.8309 | 48.59 | 51.1 | 9 | 0.64723 | 57.19 | 78.89
174 | 4 | 27 | 54584.0269 | 10444.2548 | 6804.316 | 2756.3654 | 53.51 | 59.1 | 13 | 4.9086 | 73.82 | 80.91
175 | 4 | 28 | 55219.5494 | 10229.6112 | 7116.9296 | 3067.8111 | 61.96 | 69.82 | 34 | 10.3212 | 92.45 | 81.09
176 | 4 | 29 | 54615.7369 | 10555.6934 | 6788.8746 | 2778.0873 | 60.1 | 68.66 | 21 | 10.2695 | 90.58 | 79.59
177 | 4 | 30 | 54338.6497 | 9609.7393 | 6689.7673 | 2245.3789 | 52.62 | 56.33 | 12 | 4.0016 | 65.58 | 77.54
178 | 4 | 31 | 54810.6724 | 9498.6478 | 6848.3893 | 2424.0013 | 51.8 | 55.11 | 15 | 1.595 | 62.89 | 78.79
179 | 4 | 32 | 55189.8817 | 9609.7393 | 7001.4184 | 2507.8309 | 52.83 | 56.9 | 20 | 2.6706 | 66.8 | 78.63
180 | 4 | 33 | 54564.7263 | 9444.7016 | 6725.8047 | 2274.2226 | 53.13 | 57.64 | 10 | 4.3139 | 69.49 | 78.48
181 | 4 | 34 | 54950.5891 | 9833.3612 | 6972.1689 | 2620.7496 | 74.86 | 88.97 | 43 | 24.4234 | 128.87 | 75.9
182 | 4 | 35 | 54920.2801 | 9609.7393 | 6927.0498 | 2518.848 | 52.32 | 56.3 | 15 | 2.7685 | 65.71 | 78.26
183 | 4 | 36 | 55057.4705 | 10085.0179 | 6955.0621 | 2632.6924 | 51.46 | 54.56 | 13 | 1.0056 | 61.77 | 79.09
184 | 4 | 37 | 54601.0405 | 9609.7393 | 6789.6704 | 2518.848 | 50.5 | 53.54 | 7 | 1.7042 | 60.76 | 78.49
185 | 4 | 38 | 54552.0599 | 9832.4757 | 6743.5872 | 2518.848 | 51.78 | 55.64 | 11 | 2.7378 | 65.04 | 79.18
186 | 4 | 39 | 54845.0032 | 9816.8778 | 6894.8774 | 2518.848 | 51.96 | 55.59 | 16 | 2.2887 | 64.14 | 78.32
187 | 4 | 40 | 55014.1569 | 10085.0179 | 6978.2622 | 2632.6924 | 53.87 | 58.43 | 24 | 3.6277 | 69.41 | 78.61
188 | 4 | 41 | 54771.7732 | 10555.6934 | 6894.7646 | 3067.8111 | 77.14 | 92.6 | 56 | 25.8813 | 135.55 | 75.95
189 | 4 | 42 | 54612.8404 | 9609.7393 | 6777.4982 | 2518.848 | 49.75 | 52.56 | 7 | 0.82492 | 59.15 | 79.13
190 | 4 | 43 | 54735.4513 | 9609.7393 | 6882.6582 | 2373.9627 | 53.77 | 57.99 | 17 | 3.6593 | 67.81 | 77.17
191 | 4 | 44 | 54779.7947 | 9609.7393 | 6797.328 | 2518.848 | 54.1 | 59.05 | 17 | 4.8624 | 71.74 | 78.15
192 | 4 | 45 | 55212.3485 | 9816.8778 | 7021.9848 | 2507.8309 | 54.54 | 58.99 | 24 | 3.5877 | 69.28 | 77.92
193 | 4 | 46 | 54974.0256 | 10199.4901 | 6949.6334 | 2590.8659 | 55.71 | 61.27 | 24 | 5.1845 | 75 | 78.09
194 | 4 | 47 | 55243.1376 | 10024.687 | 6923.6652 | 3067.8111 | 74.41 | 87.48 | 51 | 21.6277 | 125.38 | 76.38
195 | 4 | 48 | 54993.0626 | 10444.2548 | 6946.0611 | 2756.3654 | 68.55 | 80.53 | 38 | 17.4956 | 110.71 | 79.17
196 | 4 | 49 | 55052.2268 | 10555.6934 | 7115.3553 | 2855.8026 | 65.93 | 77.05 | 53 | 14.6911 | 104.33 | 82.62
197 | 5 | 1 | 54594.6509 | 9603.5697 | 6837.7417 | 2614.316 | 50.75 | 53.7 | 7 | 1.2533 | 60.86 | 79.03
198 | 5 | 2 | 54243.4732 | 9609.7393 | 6662.5383 | 2155.6516 | 49.8 | 52.54 | 6 | 1.5435 | 59.73 | 79.93
199 | 5 | 3 | 54674.2066 | 9909.2798 | 6868.106 | 2518.848 | 53.85 | 58.72 | 13 | 4.2218 | 70.68 | 78.48
200 | 5 | 4 | 54857.1293 | 10085.0179 | 6824.419 | 2632.6924 | 54.99 | 59.82 | 20 | 4.886 | 71.85 | 77.79
201 | 5 | 5 | 54660.8193 | 9609.7393 | 6845.1677 | 2507.8309 | 51.4 | 54.74 | 12 | 2.0767 | 63.08 | 78.98
202 | 5 | 6 | 54786.9183 | 10085.0179 | 6907.9195 | 2632.6924 | 50.34 | 53.17 | 10 | 0.77306 | 59.66 | 78.9
203 | 5 | 7 | 54896.1569 | 9498.6478 | 6937.2627 | 2518.848 | 52.67 | 56.35 | 15 | 2.3415 | 65.51 | 79.14
204 | 5 | 8 | 55078.2466 | 10444.2548 | 6984.6863 | 2756.3654 | 56.19 | 61.85 | 24 | 5.9448 | 76.9 | 79.89
205 | 5 | 9 | 54685.4525 | 10555.6934 | 6847.2199 | 2778.0873 | 58.15 | 65.18 | 20 | 8.554 | 84.84 | 80.3
206 | 5 | 10 | 55133.9389 | 10555.6934 | 6999.5019 | 2778.0873 | 57.16 | 63.87 | 19 | 7.0896 | 80.56 | 79.93
207 | 5 | 11 | 54791.0363 | 9547.5481 | 6816.1649 | 2518.848 | 51.91 | 55.26 | 9 | 2.2752 | 63.21 | 77.9
208 | 5 | 12 | 54834.7053 | 10199.4901 | 6933.1385 | 2632.6924 | 61.15 | 69.01 | 33 | 10.5765 | 88.1 | 75.02
209 | 5 | 13 | 54647.4231 | 9609.7393 | 6832.5788 | 2614.316 | 51.91 | 55.55 | 8 | 2.6701 | 64.23 | 78.17
210 | 5 | 14 | 54697.0162 | 9609.7393 | 6827.8436 | 2424.0013 | 55.52 | 60.45 | 19 | 5.8728 | 71.96 | 75.98
211 | 5 | 15 | 54870.0963 | 10085.0179 | 6935.1453 | 2632.6924 | 52.03 | 55.7 | 15 | 2.1892 | 64.8 | 79.34
212 | 5 | 16 | 55005.0494 | 10085.0179 | 6991.213 | 2632.6924 | 53.04 | 57.01 | 15 | 2.7696 | 66.94 | 79.33
213 | 5 | 17 | 54861.8112 | 10085.0179 | 6921.6713 | 2632.6924 | 51.37 | 54.73 | 13 | 1.8593 | 62.7 | 78.2
214 | 5 | 18 | 54505.2117 | 9609.7393 | 6752.9874 | 2518.848 | 51.42 | 54.96 | 8 | 2.6466 | 64.16 | 78.44
215 | 5 | 19 | 54866.6178 | 9609.7393 | 6874.0107 | 2518.848 | 50.56 | 53.49 | 8 | 1.0904 | 60.22 | 78.62
216 | 5 | 20 | 54780.1393 | 9609.7393 | 6905.2412 | 2424.0013 | 57.41 | 63.45 | 19 | 7.755 | 77.02 | 75.13
217 | 5 | 21 | 55045.7194 | 10444.2548 | 6971.5469 | 2756.3654 | 65.15 | 75.8 | 34 | 14.3811 | 102.1 | 79.5
218 | 5 | 22 | 54925.1703 | 10555.6934 | 6947.6284 | 2778.0873 | 51.74 | 55.54 | 8 | 1.9548 | 64.9 | 79.98
219 | 5 | 23 | 54603.5275 | 9609.7393 | 6782.7006 | 2518.848 | 59.8 | 66.7 | 19 | 10.34 | 83.76 | 72.85
220 | 5 | 24 | 54725.3094 | 10085.0179 | 6859.5324 | 2632.6924 | 51.1 | 54.32 | 11 | 1.9954 | 61.88 | 78.48
221 | 5 | 25 | 54685.5142 | 10085.0179 | 6819.5151 | 2632.6924 | 52.18 | 55.79 | 16 | 2.4234 | 64.99 | 79.31
222 | 5 | 26 | 54614.6456 | 9609.7393 | 6816.2241 | 2507.8309 | 49.98 | 52.95 | 8 | 1.4782 | 60.7 | 79.35
223 | 5 | 27 | 54584.0269 | 10444.2548 | 6804.316 | 2756.3654 | 62.88 | 72.78 | 19 | 13.8463 | 97.32 | 75.32
224 | 5 | 28 | 55219.5494 | 10229.6112 | 7116.9296 | 3067.8111 | 68.62 | 79.46 | 36 | 16.6407 | 109.1 | 81.4
225 | 5 | 29 | 54615.7369 | 10555.6934 | 6788.8746 | 2778.0873 | 55.32 | 61.5 | 9 | 5.8008 | 77.72 | 80.74
226 | 5 | 30 | 54338.6497 | 9609.7393 | 6689.7673 | 2245.3789 | 49.49 | 51.99 | 3 | 0.95997 | 58.02 | 79.01
227 | 5 | 31 | 54810.6724 | 9498.6478 | 6848.3893 | 2424.0013 | 55.28 | 60.02 | 25 | 4.7638 | 70.73 | 76.25
228 | 5 | 32 | 55189.8817 | 9609.7393 | 7001.4184 | 2507.8309 | 52.95 | 56.86 | 23 | 2.5529 | 66.6 | 79.43
229 | 5 | 33 | 54564.7263 | 9444.7016 | 6725.8047 | 2274.2226 | 50.51 | 53.54 | 10 | 1.6159 | 60.6 | 78.76
230 | 5 | 34 | 54950.5891 | 9833.3612 | 6972.1689 | 2620.7496 | 73.65 | 87.42 | 37 | 22.8248 | 127.32 | 78.99
231 | 5 | 35 | 54920.2801 | 9609.7393 | 6927.0498 | 2518.848 | 52.64 | 56.37 | 11 | 2.8176 | 65.23 | 78.38
232 | 5 | 36 | 55057.4705 | 10085.0179 | 6955.0621 | 2632.6924 | 53.41 | 57.26 | 19 | 2.4893 | 66.27 | 78.7
233 | 5 | 37 | 54601.0405 | 9609.7393 | 6789.6704 | 2518.848 | 50.16 | 52.92 | 7 | 1.1348 | 59.56 | 78.72
234 | 5 | 38 | 54552.0599 | 9832.4757 | 6743.5872 | 2518.848 | 50.34 | 53.29 | 11 | 1.0918 | 60.55 | 79.83
235 | 5 | 39 | 54845.0032 | 9816.8778 | 6894.8774 | 2518.848 | 52.67 | 56.51 | 10 | 2.6738 | 65.73 | 78.49
236 | 5 | 40 | 55014.1569 | 10085.0179 | 6978.2622 | 2632.6924 | 56.57 | 62 | 21 | 6.013 | 74.84 | 76.15
237 | 5 | 41 | 54771.7732 | 10555.6934 | 6894.7646 | 3067.8111 | 72.35 | 85.13 | 53 | 21.0177 | 119.64 | 74.18
238 | 5 | 42 | 54612.8404 | 9609.7393 | 6777.4982 | 2518.848 | 51.59 | 55.16 | 11 | 2.3551 | 64.25 | 78.92
239 | 5 | 43 | 54735.4513 | 9609.7393 | 6882.6582 | 2373.9627 | 53.64 | 57.74 | 14 | 3.371 | 67.48 | 77.73
240 | 5 | 44 | 54779.7947 | 9609.7393 | 6797.328 | 2518.848 | 54.88 | 59.77 | 14 | 5.8455 | 71.35 | 75.21
241 | 5 | 45 | 55212.3485 | 9816.8778 | 7021.9848 | 2507.8309 | 59.45 | 65.99 | 26 | 8.4408 | 81.24 | 74.82
242 | 5 | 46 | 54974.0256 | 10199.4901 | 6949.6334 | 2590.8659 | 55.14 | 60.51 | 16 | 4.5478 | 73.68 | 79.19
243 | 5 | 47 | 55243.1376 | 10024.687 | 6923.6652 | 3067.8111 | 87.24 | 106.15 | 64 | 34.4052 | 160.42 | 74.62
244 | 5 | 48 | 54993.0626 | 10444.2548 | 6946.0611 | 2756.3654 | 69.58 | 83.54 | 36 | 18.5301 | 119.55 | 82.94
245 | 5 | 49 | 55052.2268 | 10555.6934 | 7115.3553 | 2855.8026 | 71.87 | 85.23 | 57 | 20.286 | 116.72 | 78.53
246 | 6 | 1 | 54594.6509 | 9603.5697 | 6837.7417 | 2614.316 | 49.58 | 52.18 | 10 | 0.35957 | 58.57 | 79.64
247 | 6 | 2 | 54243.4732 | 9609.7393 | 6662.5383 | 2155.6516 | 49.02 | 51.37 | 5 | 1.0242 | 57.59 | 79.67
248 | 6 | 3 | 54674.2066 | 9909.2798 | 6868.106 | 2518.848 | 50.19 | 53.3 | 15 | 1.1309 | 60.71 | 79.13
249 | 6 | 4 | 54857.1293 | 10085.0179 | 6824.419 | 2632.6924 | 52.3 | 55.47 | 12 | 2.708 | 63.84 | 78.86
250 | 6 | 5 | 54660.8193 | 9609.7393 | 6845.1677 | 2507.8309 | 49.4 | 52.13 | 11 | 0.4949 | 58.91 | 79.79
251 | 6 | 6 | 54786.9183 | 10085.0179 | 6907.9195 | 2632.6924 | 50.34 | 53.46 | 12 | 1.0725 | 60.77 | 79.08
252 | 6 | 7 | 54896.1569 | 9498.6478 | 6937.2627 | 2518.848 | 51.33 | 54.6 | 13 | 1.1053 | 62.54 | 79.5
253 | 6 | 8 | 55078.2466 | 10444.2548 | 6984.6863 | 2756.3654 | 55.21 | 60.78 | 15 | 5.1804 | 74.68 | 79.16
254 | 6 | 9 | 54685.4525 | 10555.6934 | 6847.2199 | 2778.0873 | 60.75 | 69.96 | 23 | 11.4958 | 95.68 | 81.6
255 | 6 | 10 | 55133.9389 | 10555.6934 | 6999.5019 | 2778.0873 | 52.52 | 56.75 | 14 | 2.6159 | 67.01 | 79.53
256 | 6 | 11 | 54791.0363 | 9547.5481 | 6816.1649 | 2518.848 | 51.5 | 54.97 | 10 | 2.2447 | 63.34 | 78.17
257 | 6 | 12 | 54834.7053 | 10199.4901 | 6933.1385 | 2632.6924 | 54.23 | 59.14 | 21 | 4.6612 | 71 | 77.4
258 | 6 | 13 | 54647.4231 | 9609.7393 | 6832.5788 | 2614.316 | 50.41 | 53.49 | 11 | 1.6903 | 60.89 | 78.37
259 | 6 | 14 | 54697.0162 | 9609.7393 | 6827.8436 | 2424.0013 | 50.81 | 53.63 | 10 | 1.7722 | 60.86 | 78.94
260 | 6 | 15 | 54870.0963 | 10085.0179 | 6935.1453 | 2632.6924 | 52.16 | 56.18 | 20 | 2.6786 | 66.25 | 79.45
261 | 6 | 16 | 55005.0494 | 10085.0179 | 6991.213 | 2632.6924 | 49.72 | 52.33 | 5 | 0.23712 | 58.54 | 79.21
262 | 6 | 17 | 54861.8112 | 10085.0179 | 6921.6713 | 2632.6924 | 52.1 | 56.12 | 14 | 3.0462 | 65.6 | 77.69
263 | 6 | 18 | 54505.2117 | 9609.7393 | 6752.9874 | 2518.848 | 50.15 | 53.2 | 16 | 1.5468 | 60.88 | 78.97
264 | 6 | 19 | 54866.6178 | 9609.7393 | 6874.0107 | 2518.848 | 49.5 | 52.1 | 7 | 0.33774 | 58.17 | 79.13
265 | 6 | 20 | 54780.1393 | 9609.7393 | 6905.2412 | 2424.0013 | 51.38 | 54.88 | 18 | 1.8014 | 63.29 | 78.9
266 | 6 | 21 | 55045.7194 | 10444.2548 | 6971.5469 | 2756.3654 | 58.09 | 65.2 | 33 | 7.6796 | 82.73 | 78.21
267 | 6 | 22 | 54925.1703 | 10555.6934 | 6947.6284 | 2778.0873 | 52.49 | 56.91 | 19 | 3.0351 | 68.01 | 79.99
268 | 6 | 23 | 54603.5275 | 9609.7393 | 6782.7006 | 2518.848 | 53.7 | 58.33 | 20 | 4.6275 | 69.55 | 77.01
269 | 6 | 24 | 54725.3094 | 10085.0179 | 6859.5324 | 2632.6924 | 49.66 | 52.48 | 9 | 0.88415 | 59.21 | 79.24
270 | 6 | 25 | 54685.5142 | 10085.0179 | 6819.5151 | 2632.6924 | 50.28 | 53.38 | 8 | 1.2317 | 61.09 | 79.74
271 | 6 | 26 | 54614.6456 | 9609.7393 | 6816.2241 | 2507.8309 | 48.36 | 50.76 | 7 | 0.38373 | 56.67 | 79.22
272 | 6 | 27 | 54584.0269 | 10444.2548 | 6804.316 | 2756.3654 | 54.53 | 60.61 | 15 | 5.991 | 75.93 | 79.31
273 | 6 | 28 | 55219.5494 | 10229.6112 | 7116.9296 | 3067.8111 | 58.31 | 64.21 | 26 | 6.839 | 78.38 | 76.23
274 | 6 | 29 | 54615.7369 | 10555.6934 | 6788.8746 | 2778.0873 | 58.87 | 67.1 | 11 | 9.7652 | 88.64 | 79.47
275 | 6 | 30 | 54338.6497 | 9609.7393 | 6689.7673 | 2245.3789 | 49.63 | 52.42 | 13 | 1.1315 | 59.56 | 79.6
276 | 6 | 31 | 54810.6724 | 9498.6478 | 6848.3893 | 2424.0013 | 58.55 | 64.57 | 23 | 8.4924 | 79.11 | 73.52
277 | 6 | 32 | 55189.8817 | 9609.7393 | 7001.4184 | 2507.8309 | 52.57 | 56.06 | 14 | 2.9221 | 64.94 | 78.22
278 | 6 | 33 | 54564.7263 | 9444.7016 | 6725.8047 | 2274.2226 | 50.08 | 52.88 | 9 | 1.4718 | 59.92 | 79.18
279 | 6 | 34 | 54950.5891 | 9833.3612 | 6972.1689 | 2620.7496 | 69.47 | 81.04 | 39 | 19.1187 | 112.87 | 75.37
280 | 6 | 35 | 54920.2801 | 9609.7393 | 6927.0498 | 2518.848 | 53.9 | 58.77 | 21 | 4.5333 | 70.3 | 77.65
281 | 6 | 36 | 55057.4705 | 10085.0179 | 6955.0621 | 2632.6924 | 51.28 | 54.45 | 15 | 0.92709 | 61.91 | 79.48
282 | 6 | 37 | 54601.0405 | 9609.7393 | 6789.6704 | 2518.848 | 50.7 | 53.63 | 12 | 1.8673 | 61.27 | 79.04
283 | 6 | 38 | 54552.0599 | 9832.4757 | 6743.5872 | 2518.848 | 49.57 | 52.35 | 9 | 0.76643 | 59.24 | 79.85
284 | 6 | 39 | 54845.0032 | 9816.8778 | 6894.8774 | 2518.848 | 52.88 | 56.89 | 17 | 3.2026 | 66.47 | 77.91
285 | 6 | 40 | 55014.1569 | 10085.0179 | 6978.2622 | 2632.6924 | 51.63 | 55.18 | 14 | 1.8692 | 63.09 | 77.86
286 | 6 | 41 | 54771.7732 | 10555.6934 | 6894.7646 | 3067.8111 | 65.14 | 74.45 | 41 | 14.221 | 98.4 | 75.06
287 | 6 | 42 | 54612.8404 | 9609.7393 | 6777.4982 | 2518.848 | 49.6 | 52.37 | 5 | 0.63751 | 59.15 | 79.58
288 | 6 | 43 | 54735.4513 | 9609.7393 | 6882.6582 | 2373.9627 | 54.12 | 58.36 | 22 | 4.1751 | 68.02 | 76.64
289 | 6 | 44 | 54779.7947 | 9609.7393 | 6797.328 | 2518.848 | 51.17 | 54.91 | 11 | 2.5463 | 64.07 | 78.49
290 | 6 | 45 | 55212.3485 | 9816.8778 | 7021.9848 | 2507.8309 | 51.81 | 55.32 | 15 | 1.459 | 63.54 | 78.9
291 | 6 | 46 | 54974.0256 | 10199.4901 | 6949.6334 | 2590.8659 | 52.71 | 57 | 15 | 2.6205 | 67.27 | 79.19
292 | 6 | 47 | 55243.1376 | 10024.687 | 6923.6652 | 3067.8111 | 86.71 | 105.35 | 59 | 34.1645 | 156.63 | 71.34
293 | 6 | 48 | 54993.0626 | 10444.2548 | 6946.0611 | 2756.3654 | 61.44 | 70.26 | 39 | 10.8253 | 92.71 | 81.5
294 | 6 | 49 | 55052.2268 | 10555.6934 | 7115.3553 | 2855.8026 | 65.15 | 75.59 | 47 | 14.0748 | 101.13 | 80.43
295 | 7 | 1 | 54594.6509 | 9603.5697 | 6837.7417 | 2614.316 | 56.4 | 62.06 | 19 | 6.701 | 75.51 | 76.84
296 | 7 | 2 | 54243.4732 | 9609.7393 | 6662.5383 | 2155.6516 | 50.56 | 53.7 | 9 | 2.1838 | 61.81 | 78.66
297 | 7 | 3 | 54674.2066 | 9909.2798 | 6868.106 | 2518.848 | 54.85 | 60.26 | 23 | 5.3022 | 72.98 | 77.38
298 | 7 | 4 | 54857.1293 | 10085.0179 | 6824.419 | 2632.6924 | 51.53 | 54.88 | 14 | 1.4336 | 63.03 | 79.43
299 | 7 | 5 | 54660.8193 | 9609.7393 | 6845.1677 | 2507.8309 | 54.07 | 58.89 | 19 | 4.6552 | 70.99 | 77.86
300 | 7 | 6 | 54786.9183 | 10085.0179 | 6907.9195 | 2632.6924 | 51.33 | 54.68 | 12 | 1.8329 | 62.63 | 78.43
301 | 7 | 7 | 54896.1569 | 9498.6478 | 6937.2627 | 2518.848 | 57.49 | 63.3 | 15 | 7.1667 | 78.21 | 76.1
302 | 7 | 8 | 55078.2466 | 10444.2548 | 6984.6863 | 2756.3654 | 57.84 | 64.64 | 25 | 7.2691 | 81.99 | 79.09
303 | 7 | 9 | 54685.4525 | 10555.6934 | 6847.2199 | 2778.0873 | 59.28 | 67.33 | 22 | 9.5855 | 89.43 | 81.04
304 | 7 | 10 | 55133.9389 | 10555.6934 | 6999.5019 | 2778.0873 | 55.7 | 61.17 | 25 | 5.2064 | 74.41 | 78.66
305 | 7 | 11 | 54791.0363 | 9547.5481 | 6816.1649 | 2518.848 | 54.21 | 58.44 | 18 | 4.2242 | 68.52 | 76.31
306 | 7 | 12 | 54834.7053 | 10199.4901 | 6933.1385 | 2632.6924 | 59.23 | 66.18 | 29 | 9.0355 | 82.83 | 74.9
307 | 7 | 13 | 54647.4231 | 9609.7393 | 6832.5788 | 2614.316 | 50.54 | 53.56 | 7 | 1.201 | 60.77 | 78.83
308 | 7 | 14 | 54697.0162 | 9609.7393 | 6827.8436 | 2424.0013 | 58.28 | 64.92 | 27 | 8.5993 | 80.31 | 75.36
309 | 7 | 15 | 54870.0963 | 10085.0179 | 6935.1453 | 2632.6924 | 54.02 | 58.63 | 22 | 3.9566 | 69.69 | 77.96
310 | 7 | 16 | 55005.0494 | 10085.0179 | 6991.213 | 2632.6924 | 54 | 58.61 | 16 | 4.137 | 69.77 | 77.92
311 | 7 | 17 | 54861.8112 | 10085.0179 | 6921.6713 | 2632.6924 | 54.13 | 58.88 | 17 | 4.3791 | 70.31 | 77.39
312 | 7 | 18 | 54505.2117 | 9609.7393 | 6752.9874 | 2518.848 | 49.43 | 51.98 | 5 | 0.78205 | 58.33 | 78.92
313 | 7 | 19 | 54866.6178 | 9609.7393 | 6874.0107 | 2518.848 | 53.04 | 57.04 | 16 | 3.4146 | 66.56 | 77.38
314 | 7 | 20 | 54780.1393 | 9609.7393 | 6905.2412 | 2424.0013 | 55.55 | 60.83 | 21 | 5.6736 | 74.12 | 77.67
315 | 7 | 21 | 55045.7194 | 10444.2548 | 6971.5469 | 2756.3654 | 63.62 | 73.62 | 30 | 13.1043 | 99.87 | 78.53
316 | 7 | 22 | 54925.1703 | 10555.6934 | 6947.6284 | 2778.0873 | 57.25 | 64.46 | 15 | 7.5089 | 82.9 | 80.79
317 | 7 | 23 | 54603.5275 | 9609.7393 | 6782.7006 | 2518.848 | 53.99 | 58.54 | 19 | 4.5317 | 69.55 | 76.83
318 | 7 | 24 | 54725.3094 | 10085.0179 | 6859.5324 | 2632.6924 | 52.5 | 56.26 | 12 | 3.2822 | 64.98 | 77.47
319 | 7 | 25 | 54685.5142 | 10085.0179 | 6819.5151 | 2632.6924 | 51.14 | 54.51 | 9 | 1.7883 | 62.75 | 79.25
320 | 7 | 26 | 54614.6456 | 9609.7393 | 6816.2241 | 2507.8309 | 49.53 | 52.38 | 11 | 1.2771 | 59.35 | 78.67
321 | 7 | 27 | 54584.0269 | 10444.2548 | 6804.316 | 2756.3654 | 54.95 | 60.71 | 22 | 5.8339 | 75.34 | 79.41
322 | 7 | 28 | 55219.5494 | 10229.6112 | 7116.9296 | 3067.8111 | 76.97 | 92.02 | 54 | 24.8114 | 131.52 | 76.17
323 | 7 | 29 | 54615.7369 | 10555.6934 | 6788.8746 | 2778.0873 | 54.26 | 59.21 | 18 | 4.4057 | 71.66 | 78.69
324 | 7 | 30 | 54338.6497 | 9609.7393 | 6689.7673 | 2245.3789 | 53.74 | 57.87 | 16 | 4.906 | 68.29 | 76.94
325 | 7 | 31 | 54810.6724 | 9498.6478 | 6848.3893 | 2424.0013 | 60.86 | 67.94 | 26 | 10.4502 | 84.27 | 71.59
326 | 7 | 32 | 55189.8817 | 9609.7393 | 7001.4184 | 2507.8309 | 53.95 | 58.36 | 22 | 3.5595 | 68.87 | 77.95
327 | 7 | 33 | 54564.7263 | 9444.7016 | 6725.8047 | 2274.2226 | 50.59 | 53.71 | 10 | 1.6144 | 61.09 | 78.49
328 | 7 | 34 | 54950.5891 | 9833.3612 | 6972.1689 | 2620.7496 | 62.62 | 71.19 | 28 | 12.0905 | 94.74 | 78.18
329 | 7 | 35 | 54920.2801 | 9609.7393 | 6927.0498 | 2518.848 | 57.8 | 64.14 | 21 | 7.9992 | 79.23 | 74.78
330 | 7 | 36 | 55057.4705 | 10085.0179 | 6955.0621 | 2632.6924 | 52.05 | 55.34 | 16 | 1.2431 | 63.17 | 79.14
331 | 7 | 37 | 54601.0405 | 9609.7393 | 6789.6704 | 2518.848 | 51.36 | 54.8 | 13 | 2.3081 | 63.37 | 78.17
332 | 7 | 38 | 54552.0599 | 9832.4757 | 6743.5872 | 2518.848 | 50.8 | 54 | 15 | 1.4263 | 61.87 | 79.47
333 | 7 | 39 | 54845.0032 | 9816.8778 | 6894.8774 | 2518.848 | 54.59 | 59.17 | 22 | 4.5127 | 70.32 | 77.36
334 | 7 | 40 | 55014.1569 | 10085.0179 | 6978.2622 | 2632.6924 | 53.96 | 58.41 | 18 | 3.7196 | 68.86 | 77.19
335 | 7 | 41 | 54771.7732 | 10555.6934 | 6894.7646 | 3067.8111 | 76.66 | 92.67 | 55 | 25.2154 | 138.17 | 79.88
336 | 7 | 42 | 54612.8404 | 9609.7393 | 6777.4982 | 2518.848 | 49.68 | 52.29 | 11 | 0.43356 | 58.59 | 79.43
337 | 7 | 43 | 54735.4513 | 9609.7393 | 6882.6582 | 2373.9627 | 54.62 | 59.06 | 17 | 4.4496 | 69.63 | 75.89
338 | 7 | 44 | 54779.7947 | 9609.7393 | 6797.328 | 2518.848 | 53.17 | 57.62 | 17 | 4.152 | 68.45 | 77.2
339 | 7 | 45 | 55212.3485 | 9816.8778 | 7021.9848 | 2507.8309 | 53.63 | 57.64 | 19 | 2.4237 | 66.99 | 78.17
340 | 7 | 46 | 54974.0256 | 10199.4901 | 6949.6334 | 2590.8659 | 57.86 | 64.51 | 26 | 7.2701 | 80.62 | 77.31
341 | 7 | 47 | 55243.1376 | 10024.687 | 6923.6652 | 3067.8111 | 86.1 | 104.6 | 69 | 32.9638 | 156.29 | 73.19
342 | 7 | 48 | 54993.0626 | 10444.2548 | 6946.0611 | 2756.3654 | 74.48 | 89.18 | 41 | 23.2354 | 126.28 | 77.68
343 | 7 | 49 | 55052.2268 | 10555.6934 | 7115.3553 | 2855.8026 | 72.41 | 86.3 | 63 | 20.9448 | 119.5 | 78.98
344 | 8 | 1 | 54594.6509 | 9603.5697 | 6837.7417 | 2614.316 | 49.45 | 52.03 | 7 | 0.48743 | 58.49 | 79.62
345 | 8 | 2 | 54243.4732 | 9609.7393 | 6662.5383 | 2155.6516 | 47.91 | 50.11 | 2 | 0.12595 | 55.73 | 80.09
346 | 8 | 3 | 54674.2066 | 9909.2798 | 6868.106 | 2518.848 | 50.24 | 53.31 | 9 | 1.3868 | 60.63 | 79.25
347 | 8 | 4 | 54857.1293 | 10085.0179 | 6824.419 | 2632.6924 | 50.21 | 53.09 | 9 | 0.73673 | 60.07 | 79.48
348 | 8 | 5 | 54660.8193 | 9609.7393 | 6845.1677 | 2507.8309 | 49.53 | 52.1 | 4 | 0.93349 | 58.6 | 79.41
349 | 8 | 6 | 54786.9183 | 10085.0179 | 6907.9195 | 2632.6924 | 49.19 | 51.73 | 5 | 0.15541 | 57.74 | 79.24
350 | 8 | 7 | 54896.1569 | 9498.6478 | 6937.2627 | 2518.848 | 49.7 | 52.25 | 4 | 0.10407 | 58.46 | 79.48
351 | 8 | 8 | 55078.2466 | 10444.2548 | 6984.6863 | 2756.3654 | 53.73 | 58.49 | 13 | 3.8583 | 71.12 | 80.11
352 | 8 | 9 | 54685.4525 | 10555.6934 | 6847.2199 | 2778.0873 | 64.09 | 74.04 | 21 | 14.9333 | 103.41 | 81.3
353 | 8 | 10 | 55133.9389 | 10555.6934 | 6999.5019 | 2778.0873 | 61.08 | 69.58 | 23 | 11.0677 | 91.32 | 77.91
354 | 8 | 11 | 54791.0363 | 9547.5481 | 6816.1649 | 2518.848 | 50.87 | 54.03 | 7 | 1.7722 | 61.53 | 78.19
355 | 8 | 12 | 54834.7053 | 10199.4901 | 6933.1385 | 2632.6924 | 57.51 | 63.76 | 25 | 7.7902 | 78.73 | 75.72
356 | 8 | 13 | 54647.4231 | 9609.7393 | 6832.5788 | 2614.316 | 49.21 | 51.78 | 3 | 0.46615 | 58.01 | 79.14
357 | 8 | 14 | 54697.0162 | 9609.7393 | 6827.8436 | 2424.0013 | 49.43 | 52.04 | 5 | 0.67212 | 58.25 | 79.18
358 | 8 | 15 | 54870.0963 | 10085.0179 | 6935.1453 | 2632.6924 | 52.33 | 56.62 | 10 | 3.1795 | 68.03 | 79.84
359 | 8 | 16 | 55005.0494 | 10085.0179 | 6991.213 | 2632.6924 | 51.79 | 55.17 | 14 | 2.1456 | 63.69 | 79.26
360 | 8 | 17 | 54861.8112 | 10085.0179 | 6921.6713 | 2632.6924 | 54.45 | 59.64 | 13 | 5.499 | 72.27 | 76.77
361 | 8 | 18 | 54505.2117 | 9609.7393 | 6752.9874 | 2518.848 | 49.98 | 52.67 | 7 | 1.6487 | 59.65 | 78.44
362 | 8 | 19 | 54866.6178 | 9609.7393 | 6874.0107 | 2518.848 | 49.23 | 51.73 | 7 | 0.26519 | 57.69 | 79.24
363 | 8 | 20 | 54780.1393 | 9609.7393 | 6905.2412 | 2424.0013 | 50.28 | 53.44 | 8 | 1.2232 | 60.78 | 78.78
364 | 8 | 21 | 55045.7194 | 10444.2548 | 6971.5469 | 2756.3654 | 57.18 | 64.1 | 19 | 7.0969 | 82 | 79.89
365 | 8 | 22 | 54925.1703 | 10555.6934 | 6947.6284 | 2778.0873 | 53.94 | 59.14 | 14 | 4.442 | 71.84 | 79.43
366 | 8 | 23 | 54603.5275 | 9609.7393 | 6782.7006 | 2518.848 | 55.45 | 60.6 | 22 | 6.3543 | 73.4 | 75.85
367 | 8 | 24 | 54725.3094 | 10085.0179 | 6859.5324 | 2632.6924 | 48.74 | 51.26 | 3 | 0.33981 | 57.31 | 79.31
368 | 8 | 25 | 54685.5142 | 10085.0179 | 6819.5151 | 2632.6924 | 52.23 | 56.08 | 14 | 3.0035 | 65.64 | 78.95
369 | 8 | 26 | 54614.6456 | 9609.7393 | 6816.2241 | 2507.8309 | 48.48 | 50.97 | 6 | 0.62904 | 57.39 | 79.4
370 | 8 | 27 | 54584.0269 | 10444.2548 | 6804.316 | 2756.3654 | 53.63 | 59.01 | 12 | 5.1083 | 72.99 | 80.27
371 | 8 | 28 | 55219.5494 | 10229.6112 | 7116.9296 | 3067.8111 | 63.14 | 71.91 | 28 | 11.7601 | 94.1 | 78.42
372 | 8 | 29 | 54615.7369 | 10555.6934 | 6788.8746 | 2778.0873 | 58.3 | 65 | 23 | 8.9481 | 81.85 | 76.11
373 | 8 | 30 | 54338.6497 | 9609.7393 | 6689.7673 | 2245.3789 | 50.97 | 54.16 | 10 | 2.5255 | 62.17 | 78.25
374 | 8 | 31 | 54810.6724 | 9498.6478 | 6848.3893 | 2424.0013 | 55.04 | 59.64 | 20 | 5.1711 | 70.01 | 76.15
375 | 8 | 32 | 55189.8817 | 9609.7393 | 7001.4184 | 2507.8309 | 50 | 52.87 | 6 | 0.65007 | 59.98 | 79.29
376 | 8 | 33 | 54564.7263 | 9444.7016 | 6725.8047 | 2274.2226 | 49.98 | 52.83 | 8 | 1.3225 | 59.72 | 79.3
377 | 8 | 34 | 54950.5891 | 9833.3612 | 6972.1689 | 2620.7496 | 76.29 | 91.64 | 40 | 26.1312 | 134.98 | 77.06
378 | 8 | 35 | 54920.2801 | 9609.7393 | 6927.0498 | 2518.848 | 54.12 | 58.92 | 14 | 4.9131 | 70.45 | 77.64
379 | 8 | 36 | 55057.4705 | 10085.0179 | 6955.0621 | 2632.6924 | 50.56 | 53.43 | 6 | 0.49764 | 60.26 | 79.24
380 | 8 | 37 | 54601.0405 | 9609.7393 | 6789.6704 | 2518.848 | 49.34 | 52.03 | 5 | 0.65551 | 58.59 | 79.12
381 | 8 | 38 | 54552.0599 | 9832.4757 | 6743.5872 | 2518.848 | 53.04 | 57.19 | 10 | 4.0736 | 67.2 | 78.36
382 | 8 | 39 | 54845.0032 | 9816.8778 | 6894.8774 | 2518.848 | 51.65 | 55.09 | 11 | 2.2737 | 63.15 | 78.25
383 | 8 | 40 | 55014.1569 | 10085.0179 | 6978.2622 | 2632.6924 | 53.89 | 58.26 | 13 | 4.0628 | 68.54 | 77.12
384 | 8 | 41 | 54771.7732 | 10555.6934 | 6894.7646 | 3067.8111 | 66.78 | 78.14 | 41 | 16.1846 | 106.31 | 74.76
385 | 8 | 42 | 54612.8404 | 9609.7393 | 6777.4982 | 2518.848 | 49.5 | 52.27 | 6 | 0.8371 | 59.1 | 79.28
386 | 8 | 43 | 54735.4513 | 9609.7393 | 6882.6582 | 2373.9627 | 55.03 | 59.84 | 16 | 5.2763 | 71.29 | 75.48
387 | 8 | 44 | 54779.7947 | 9609.7393 | 6797.328 | 2518.848 | 49.51 | 52.54 | 15 | 0.95635 | 59.78 | 79.35
388 | 8 | 45 | 55212.3485 | 9816.8778 | 7021.9848 | 2507.8309 | 55.66 | 60.75 | 20 | 5.1666 | 72.53 | 76
389 | 8 | 46 | 54974.0256 | 10199.4901 | 6949.6334 | 2590.8659 | 53.33 | 57.59 | 11 | 3.2534 | 67.66 | 77.47
390 | 8 | 47 | 55243.1376 | 10024.687 | 6923.6652 | 3067.8111 | 74.39 | 87.97 | 61 | 21.7624 | 125.7 | 76.69
391 | 8 | 48 | 54993.0626 | 10444.2548 | 6946.0611 | 2756.3654 | 68.23 | 79.93 | 37 | 17.6013 | 109.27 | 81.09
392 | 8 | 49 | 55052.2268 | 10555.6934 | 7115.3553 | 2855.8026 | 71.32 | 84.68 | 53 | 20.4385 | 116.37 | 79.29
393 | 9 | 1 | 54594.6509 | 9603.5697 | 6837.7417 | 2614.316 | 50.52 | 53.49 | 7 | 1.1388 | 60.81 | 79.14
394 | 9 | 2 | 54243.4732 | 9609.7393 | 6662.5383 | 2155.6516 | 48.12 | 50.27 | 1 | 0.023692 | 55.74 | 80.07
395 | 9 | 3 | 54674.2066 | 9909.2798 | 6868.106 | 2518.848 | 52.29 | 56.4 | 15 | 2.8412 | 66.26 | 78.6
396 | 9 | 4 | 54857.1293 | 10085.0179 | 6824.419 | 2632.6924 | 50.91 | 53.98 | 7 | 0.95131 | 61.47 | 79.67
397 | 9 | 5 | 54660.8193 | 9609.7393 | 6845.1677 | 2507.8309 | 49.03 | 51.47 | 3 | 0.22459 | 57.44 | 79.5
398 | 9 | 6 | 54786.9183 | 10085.0179 | 6907.9195 | 2632.6924 | 50.17 | 52.98 | 8 | 0.70358 | 59.64 | 79.02
399 | 9 | 7 | 54896.1569 | 9498.6478 | 6937.2627 | 2518.848 | 51 | 53.98 | 6 | 0.84371 | 61.16 | 79.54
400 | 9 | 8 | 55078.2466 | 10444.2548 | 6984.6863 | 2756.3654 | 59.13 | 66.39 | 20 | 8.5427 | 84.66 | 78.68
401 | 9 | 9 | 54685.4525 | 10555.6934 | 6847.2199 | 2778.0873 | 57.38 | 64.42 | 14 | 7.9223 | 84.17 | 81.89
402 | 9 | 10 | 55133.9389 | 10555.6934 | 6999.5019 | 2778.0873 | 59.99 | 67.95 | 26 | 9.6483 | 89.48 | 80.99
403 | 9 | 11 | 54791.0363 | 9547.5481 | 6816.1649 | 2518.848 | 52.47 | 56.18 | 15 | 2.6546 | 65.08 | 78.18
404 | 9 | 12 | 54834.7053 | 10199.4901 | 6933.1385 | 2632.6924 | 54.38 | 59.07 | 16 | 4.5725 | 70.25 | 77.23
405 | 9 | 13 | 54647.4231 | 9609.7393 | 6832.5788 | 2614.316 | 52.23 | 56.08 | 12 | 2.9973 | 65.01 | 77.51
406 | 9 | 14 | 54697.0162 | 9609.7393 | 6827.8436 | 2424.0013 | 50.96 | 54.08 | 14 | 1.6965 | 61.55 | 78.63
407 | 9 | 15 | 54870.0963 | 10085.0179 | 6935.1453 | 2632.6924 | 51.78 | 55.38 | 12 | 2.0727 | 64.42 | 79.51
408 | 9 | 16 | 55005.0494 | 10085.0179 | 6991.213 | 2632.6924 | 54.46 | 59.19 | 25 | 4.1822 | 70.99 | 78.91
409 | 9 | 17 | 54861.8112 | 10085.0179 | 6921.6713 | 2632.6924 | 54.42 | 59.48 | 16 | 4.9535 | 71.62 | 77.18
410 | 9 | 18 | 54505.2117 | 9609.7393 | 6752.9874 | 2518.848 | 50.81 | 54.12 | 7 | 2.1851 | 62.53 | 79.08
411 | 9 | 19 | 54866.6178 | 9609.7393 | 6874.0107 | 2518.848 | 51.31 | 54.62 | 8 | 1.9838 | 62.19 | 77.76
412 | 9 | 20 | 54780.1393 | 9609.7393 | 6905.2412 | 2424.0013 | 54.84 | 60.15 | 22 | 5.263 | 72.79 | 77.42
413 | 9 | 21 | 55045.7194 | 10444.2548 | 6971.5469 | 2756.3654 | 57.78 | 64.68 | 25 | 7.1221 | 81.88 | 78.91
414 | 9 | 22 | 54925.1703 | 10555.6934 | 6947.6284 | 2778.0873 | 54.76 | 59.89 | 21 | 4.8674 | 72.46 | 78.55
415 | 9 | 23 | 54603.5275 | 9609.7393 | 6782.7006 | 2518.848 | 61.46 | 69.5 | 22 | 12.2002 | 89.05 | 71.76
416 | 9 | 24 | 54725.3094 | 10085.0179 | 6859.5324 | 2632.6924 | 50.54 | 53.62 | 7 | 1.5123 | 60.84 | 78.26
417 | 9 | 25 | 54685.5142 | 10085.0179 | 6819.5151 | 2632.6924 | 50.64 | 53.83 | 9 | 1.1961 | 61.68 | 79.66
418 | 9 | 26 | 54614.6456 | 9609.7393 | 6816.2241 | 2507.8309 | 50.05 | 53.06 | 14 | 1.6465 | 60.29 | 78.32
419 | 9 | 27 | 54584.0269 | 10444.2548 | 6804.316 | 2756.3654 | 56.1 | 63.17 | 13 | 7.4353 | 81.72 | 80.34
420 | 9 | 28 | 55219.5494 | 10229.6112 | 7116.9296 | 3067.8111 | 59.32 | 66.22 | 33 | 7.6124 | 84.23 | 79.84
421 | 9 | 29 | 54615.7369 | 10555.6934 | 6788.8746 | 2778.0873 | 62.25 | 71.73 | 22 | 12.3952 | 97.45 | 79.99
422 | 9 | 30 | 54338.6497 | 9609.7393 | 6689.7673 | 2245.3789 | 51.19 | 54.42 | 14 | 2.5265 | 62.43 | 78.26
423 | 9 | 31 | 54810.6724 | 9498.6478 | 6848.3893 | 2424.0013 | 55.12 | 59.81 | 18 | 4.6336 | 70.75 | 76.37
424 | 9 | 32 | 55189.8817 | 9609.7393 | 7001.4184 | 2507.8309 | 54.6 | 59.5 | 24 | 4.1624 | 71.16 | 78.23
425 | 9 | 33 | 54564.7263 | 9444.7016 | 6725.8047 | 2274.2226 | 49.38 | 51.98 | 9 | 0.4014 | 58.25 | 79.66
426 | 9 | 34 | 54950.5891 | 9833.3612 | 6972.1689 | 2620.7496 | 74.49 | 88.55 | 41 | 23.6905 | 128.98 | 78.28
427 | 9 | 35 | 54920.2801 | 9609.7393 | 6927.0498 | 2518.848 | 54.83 | 60.07 | 14 | 5.1657 | 72.56 | 77.2
428 | 9 | 36 | 55057.4705 | 10085.0179 | 6955.0621 | 2632.6924 | 51.71 | 54.87 | 15 | 1.0444 | 62.2 | 79.05
429 | 9 | 37 | 54601.0405 | 9609.7393 | 6789.6704 | 2518.848 | 49.79 | 52.56 | 10 | 0.67338 | 59.4 | 79.41
430 | 9 | 38 | 54552.0599 | 9832.4757 | 6743.5872 | 2518.848 | 49.1 | 51.59 | 3 | 0.078771 | 57.72 | 80.11
431 | 9 | 39 | 54845.0032 | 9816.8778 | 6894.8774 | 2518.848 | 51.35 | 54.52 | 8 | 1.5724 | 61.89 | 78.38
432 | 9 | 40 | 55014.1569 | 10085.0179 | 6978.2622 | 2632.6924 | 52.51 | 56.23 | 15 | 2.1475 | 65.01 | 78.39
433 | 9 | 41 | 54771.7732 | 10555.6934 | 6894.7646 | 3067.8111 | 78.28 | 94.14 | 44 | 27.0781 | 133.61 | 67.18
434 | 9 | 42 | 54612.8404 | 9609.7393 | 6777.4982 | 2518.848 | 50.53 | 53.6 | 14 | 1.2927 | 61.16 | 79.24
435 | 9 | 43 | 54735.4513 | 9609.7393 | 6882.6582 | 2373.9627 | 57.54 | 63.83 | 20 | 7.5585 | 78.96 | 75.57
436 | 9 | 44 | 54779.7947 | 9609.7393 | 6797.328 | 2518.848 | 52.82 | 57.01 | 12 | 3.9144 | 67.09 | 76.83
437 | 9 | 45 | 55212.3485 | 9816.8778 | 7021.9848 | 2507.8309 | 56.41 | 61.57 | 20 | 5.3718 | 73.53 | 76.13
438 | 9 | 46 | 54974.0256 | 10199.4901 | 6949.6334 | 2590.8659 | 53.31 | 57.42 | 14 | 2.9245 | 66.98 | 77.57
439 | 9 | 47 | 55243.1376 | 10024.687 | 6923.6652 | 3067.8111 | 92.92 | 113.9 | 66 | 39.9652 | 172.63 | 67.3
440 | 9 | 48 | 54993.0626 | 10444.2548 | 6946.0611 | 2756.3654 | 60.59 | 68.76 | 27 | 9.968 | 89.69 | 80.92
441 | 9 | 49 | 55052.2268 | 10555.6934 | 7115.3553 | 2855.8026 | 80.36 | 97.64 | 76 | 28.6779 | 139.43 | 78.42
442 | 10 | 1 | 54594.6509 | 9603.5697 | 6837.7417 | 2614.316 | 49.47 | 51.94 | 7 | 0.19115 | 57.97 | 79.58
443 | 10 | 2 | 54243.4732 | 9609.7393 | 6662.5383 | 2155.6516 | 48.18 | 50.37 | 5 | 0.073687 | 56.03 | 80.2
444 | 10 | 3 | 54674.2066 | 9909.2798 | 6868.106 | 2518.848 | 51.26 | 54.96 | 10 | 2.1361 | 63.91 | 79.15
445 | 10 | 4 | 54857.1293 | 10085.0179 | 6824.419 | 2632.6924 | 50.54 | 53.57 | 9 | 0.93823 | 60.88 | 79.54
446 | 10 | 5 | 54660.8193 | 9609.7393 | 6845.1677 | 2507.8309 | 49.59 | 52.31 | 8 | 0.76935 | 59.18 | 79.54
447 | 10 | 6 | 54786.9183 | 10085.0179 | 6907.9195 | 2632.6924 | 49.77 | 52.42 | 7 | 0.37872 | 58.65 | 79.25
448 | 10 | 7 | 54896.1569 | 9498.6478 | 6937.2627 | 2518.848 | 53.42 | 57.55 | 9 | 3.4813 | 67.71 | 79.29
449 | 10 | 8 | 55078.2466 | 10444.2548 | 6984.6863 | 2756.3654 | 54.85 | 60.26 | 10 | 4.7283 | 73.98 | 79.65
450 | 10 | 9 | 54685.4525 | 10555.6934 | 6847.2199 | 2778.0873 | 57.43 | 64.49 | 12 | 8.0641 | 84.22 | 80.68
451 | 10 | 10 | 55133.9389 | 10555.6934 | 6999.5019 | 2778.0873 | 58.28 | 64.58 | 31 | 7.8687 | 80.6 | 78.12
452 | 10 | 11 | 54791.0363 | 9547.5481 | 6816.1649 | 2518.848 | 51.71 | 55.15 | 11 | 2.0932 | 63.44 | 78.65
453 | 10 | 12 | 54834.7053 | 10199.4901 | 6933.1385 | 2632.6924 | 54.42 | 59.59 | 21 | 4.4507 | 72.45 | 79.52
454 | 10 | 13 | 54647.4231 | 9609.7393 | 6832.5788 | 2614.316 | 51.21 | 54.54 | 6 | 2.2332 | 62.35 | 77.64
455 | 10 | 14 | 54697.0162 | 9609.7393 | 6827.8436 | 2424.0013 | 49.24 | 51.62 | 3 | 0.101 | 57.26 | 79.22
456 | 10 | 15 | 54870.0963 | 10085.0179 | 6935.1453 | 2632.6924 | 50.44 | 53.44 | 11 | 0.78671 | 60.89 | 79.73
457 | 10 | 16 | 55005.0494 | 10085.0179 | 6991.213 | 2632.6924 | 51.41 | 54.71 | 9 | 1.6096 | 62.51 | 78.82
458 | 10 | 17 | 54861.8112 | 10085.0179 | 6921.6713 | 2632.6924 | 55.71 | 61.53 | 13 | 6.4668 | 76.21 | 77.49
459 | 10 | 18 | 54505.2117 | 9609.7393 | 6752.9874 | 2518.848 | 48.65 | 50.96 | 4 | 0.18512 | 56.75 | 79.51
460 | 10 | 19 | 54866.6178 | 9609.7393 | 6874.0107 | 2518.848 | 49.26 | 51.65 | 2 | 0.050281 | 57.36 | 79.34
461 | 10 | 20 | 54780.1393 | 9609.7393 | 6905.2412 | 2424.0013 | 50.37 | 53.39 | 7 | 0.91153 | 60.42 | 79
462 | 10 | 21 | 55045.7194 | 10444.2548 | 6971.5469 | 2756.3654 | 57.15 | 63.75 | 19 | 6.7098 | 80.57 | 79.36
463 | 10 | 22 | 54925.1703 | 10555.6934 | 6947.6284 | 2778.0873 | 52.18 | 56.03 | 11 | 2.8023 | 66.14 | 79.71
464 | 10 | 23 | 54603.5275 | 9609.7393 | 6782.7006 | 2518.848 | 58.59 | 65.35 | 16 | 9.2981 | 82.09 | 74.02
465 | 10 | 24 | 54725.3094 | 10085.0179 | 6859.5324 | 2632.6924 | 50.79 | 54.04 | 9 | 1.8633 | 62.3 | 79.56
466 | 10 | 25 | 54685.5142 | 10085.0179 | 6819.5151 | 2632.6924 | 49.44 | 52.13 | 7 | 0.27541 | 58.67 | 80.01
467 | 10 | 26 | 54614.6456 | 9609.7393 | 6816.2241 | 2507.8309 | 48.22 | 50.5 | 5 | 0.16538 | 56.15 | 79.29
468 | 10 | 27 | 54584.0269 | 10444.2548 | 6804.316 | 2756.3654 | 50.04 | 53.4 | 6 | 1.4037 | 61.85 | 80.24
469 | 10 | 28 | 55219.5494 | 10229.6112 | 7116.9296 | 3067.8111 | 70.47 | 82.98 | 32 | 18.7616 | 119.77 | 83.65
470 | 10 | 29 | 54615.7369 | 10555.6934 | 6788.8746 | 2778.0873 | 54.05 | 59.2 | 10 | 4.6873 | 72.84 | 79.75
471 | 10 | 30 | 54338.6497 | 9609.7393 | 6689.7673 | 2245.3789 | 51.79 | 55.27 | 10 | 3.367 | 63.76 | 77.96
472 | 10 | 31 | 54810.6724 | 9498.6478 | 6848.3893 | 2424.0013 | 55.88 | 61.03 | 22 | 5.733 | 73.48 | 76.43
473 | 10 | 32 | 55189.8817 | 9609.7393 | 7001.4184 | 2507.8309 | 51.42 | 54.77 | 12 | 1.5158 | 63.36 | 79.65
474 | 10 | 33 | 54564.7263 | 9444.7016 | 6725.8047 | 2274.2226 | 49.69 | 52.4 | 2 | 0.86786 | 59.1 | 79.16
475 | 10 | 34 | 54950.5891 | 9833.3612 | 6972.1689 | 2620.7496 | 72.88 | 86.29 | 39 | 22.5487 | 124.16 | 76.8
476 | 10 | 35 | 54920.2801 | 9609.7393 | 6927.0498 | 2518.848 | 50.87 | 54.15 | 10 | 1.47 | 61.91 | 78.83
477 | 10 | 36 | 55057.4705 | 10085.0179 | 6955.0621 | 2632.6924 | 52.54 | 56.19 | 13 | 2.1985 | 64.96 | 78.9
478 | 10 | 37 | 54601.0405 | 9609.7393 | 6789.6704 | 2518.848 | 48.81 | 51.26 | 4 | 0.13303 | 57.27 | 79.53
479 | 10 | 38 | 54552.0599 | 9832.4757 | 6743.5872 | 2518.848 | 49.83 | 52.7 | 6 | 0.77902 | 59.95 | 79.97
480 | 10 | 39 | 54845.0032 | 9816.8778 | 6894.8774 | 2518.848 | 53.01 | 56.83 | 11 | 3.1763 | 65.6 | 77.96
481 | 10 | 40 | 55014.1569 | 10085.0179 | 6978.2622 | 2632.6924 | 56.68 | 62.41 | 14 | 6.7603 | 75.45 | 76.63
482 | 10 | 41 | 54771.7732 | 10555.6934 | 6894.7646 | 3067.8111 | 80.63 | 98.23 | 46 | 29.6478 | 146.51 | 74.99
483 | 10 | 42 | 54612.8404 | 9609.7393 | 6777.4982 | 2518.848 | 48.86 | 51.21 | 2 | 0.028091 | 56.89 | 79.57
484 | 10 | 43 | 54735.4513 | 9609.7393 | 6882.6582 | 2373.9627 | 55.28 | 60.3 | 15 | 5.5122 | 72.57 | 77.57
485 | 10 | 44 | 54779.7947 | 9609.7393 | 6797.328 | 2518.848 | 49.85 | 52.91 | 12 | 1.0921 | 60.31 | 79.3
486 | 10 | 45 | 55212.3485 | 9816.8778 | 7021.9848 | 2507.8309 | 56.55 | 61.89 | 18 | 5.736 | 74.56 | 77.62
487 | 10 | 46 | 54974.0256 | 10199.4901 | 6949.6334 | 2590.8659 | 54.76 | 59.77 | 18 | 4.3646 | 71.96 | 78.35
488 | 10 | 47 | 55243.1376 | 10024.687 | 6923.6652 | 3067.8111 | 73.21 | 86.3 | 44 | 20.7133 | 124.23 | 80.5
489 | 10 | 48 | 54993.0626 | 10444.2548 | 6946.0611 | 2756.3654 | 64.5 | 75.2 | 37 | 13.6712 | 102.82 | 82.8
490 | 10 | 49 | 55052.2268 | 10555.6934 | 7115.3553 | 2855.8026 | 70.71 | 83.8 | 48 | 19.4651 | 114.96 | 79.77
491 | 11 | 1 | 54594.6509 | 9603.5697 | 6837.7417 | 2614.316 | 51.29 | 54.73 | 11 | 1.892 | 62.98 | 78.82
492 | 11 | 2 | 54243.4732 | 9609.7393 | 6662.5383 | 2155.6516 | 48.77 | 51.31 | 7 | 0.82917 | 57.68 | 79.41
493 | 11 | 3 | 54674.2066 | 9909.2798 | 6868.106 | 2518.848 | 52.22 | 56.37 | 14 | 2.7885 | 66.08 | 78.57
494 | 11 | 4 | 54857.1293 | 10085.0179 | 6824.419 | 2632.6924 | 52.54 | 56.28 | 16 | 2.7061 | 64.95 | 78.49
495 | 11 | 5 | 54660.8193 | 9609.7393 | 6845.1677 | 2507.8309 | 51.53 | 55.26 | 15 | 2.6189 | 64.51 | 78.49
496 | 11 | 6 | 54786.9183 | 10085.0179 | 6907.9195 | 2632.6924 | 51.11 | 54.5 | 18 | 1.4735 | 62.81 | 79.69
497 | 11 | 7 | 54896.1569 | 9498.6478 | 6937.2627 | 2518.848 | 52.91 | 56.95 | 19 | 2.8923 | 66.63 | 78.85
498 | 11 | 8 | 55078.2466 | 10444.2548 | 6984.6863 | 2756.3654 | 56.38 | 62.38 | 16 | 6.1526 | 77.64 | 79.29
499 | 11 | 9 | 54685.4525 | 10555.6934 | 6847.2199 | 2778.0873 | 61.95 | 71.12 | 26 | 12.3081 | 97.53 | 81.41
500 | 11 | 10 | 55133.9389 | 10555.6934 | 6999.5019 | 2778.0873 | 53.76 | 58.36 | 23 | 3.5037 | 69.41 | 78.96
501 | 11 | 11 | 54791.0363 | 9547.5481 | 6816.1649 | 2518.848 | 50.09 | 52.96 | 3 | 0.75806 | 60.03 | 79.35
502 | 11 | 12 | 54834.7053 | 10199.4901 | 6933.1385 | 2632.6924 | 57.47 | 64.17 | 24 | 7.7069 | 81.18 | 77.52
503 | 11 | 13 | 54647.4231 | 9609.7393 | 6832.5788 | 2614.316 | 51.98 | 55.72 | 11 | 2.6647 | 64.62 | 77.82
504 | 11 | 14 | 54697.0162 | 9609.7393 | 6827.8436 | 2424.0013 | 52.57 | 56.75 | 11 | 3.4602 | 66.19 | 77.16
505 | 11 | 15 | 54870.0963 | 10085.0179 | 6935.1453 | 2632.6924 | 50.62 | 53.78 | 17 | 0.9303 | 61.6 | 79.77
506 | 11 | 16 | 55005.0494 | 10085.0179 | 6991.213 | 2632.6924 | 54.38 | 58.96 | 12 | 4.5016 | 69.52 | 76.87
507 | 11 | 17 | 54861.8112 | 10085.0179 | 6921.6713 | 2632.6924 | 52.65 | 56.88 | 21 | 3.2389 | 66.89 | 77.85
508 | 11 | 18 | 54505.2117 | 9609.7393 | 6752.9874 | 2518.848 | 55.42 | 60.54 | 12 | 6.7691 | 72.91 | 73.71
509 | 11 | 19 | 54866.6178 | 9609.7393 | 6874.0107 | 2518.848 | 50.46 | 53.58 | 5 | 1.486 | 60.87 | 78.41
510 | 11 | 20 | 54780.1393 | 9609.7393 | 6905.2412 | 2424.0013 | 51.52 | 55.03 | 16 | 2.0187 | 62.95 | 78.37
511 | 11 | 21 | 55045.7194 | 10444.2548 | 6971.5469 | 2756.3654 | 67.44 | 78.91 | 41 | 16.4464 | 109.36 | 77.51
512 | 11 | 22 | 54925.1703 | 10555.6934 | 6947.6284 | 2778.0873 | 56.4 | 63.25 | 22 | 6.666 | 80.47 | 80.5
513 | 11 | 23 | 54603.5275 | 9609.7393 | 6782.7006 | 2518.848 | 56.14 | 61.63 | 20 | 6.8188 | 75.07 | 75.39
514 | 11 | 24 | 54725.3094 | 10085.0179 | 6859.5324 | 2632.6924 | 56.01 | 61.34 | 15 | 7.0984 | 73.89 | 76.26
515 | 11 | 25 | 54685.5142 | 10085.0179 | 6819.5151 | 2632.6924 | 52.1 | 55.89 | 14 | 2.7428 | 65.23 | 78.17
516 | 11 | 26 | 54614.6456 | 9609.7393 | 6816.2241 | 2507.8309 | 49.06 | 51.75 | 10 | 0.85844 | 58.43 | 79.01
517 | 11 | 27 | 54584.0269 | 10444.2548 | 6804.316 | 2756.3654 | 57.15 | 64.3 | 16 | 8.3998 | 83.56 | 80.05
518 | 11 | 28 | 55219.5494 | 10229.6112 | 7116.9296 | 3067.8111 | 60.8 | 68.05 | 40 | 8.6667 | 86.24 | 78.57
519 | 11 | 29 | 54615.7369 | 10555.6934 | 6788.8746 | 2778.0873 | 59.48 | 67.54 | 22 | 9.8702 | 88.15 | 78.34
520 | 11 | 30 | 54338.6497 | 9609.7393 | 6689.7673 | 2245.3789 | 48.68 | 51.06 | 5 | 0.36168 | 57.03 | 79.59
521 | 11 | 31 | 54810.6724 | 9498.6478 | 6848.3893 | 2424.0013 | 58.67 | 64.83 | 24 | 8.2392 | 78.79 | 73.56
522 | 11 | 32 | 55189.8817 | 9609.7393 | 7001.4184 | 2507.8309 | 53.08 | 57.27 | 14 | 3.1992 | 67.09 | 77.68
523 | 11 | 33 | 54564.7263 | 9444.7016 | 6725.8047 | 2274.2226 | 48.92 | 51.45 | 5 | 0.17643 | 57.5 | 79.87
524 | 11 | 34 | 54950.5891 | 9833.3612 | 6972.1689 | 2620.7496 | 74.08 | 87.81 | 40 | 23.3527 | 126.97 | 76.94
525 | 11 | 35 | 54920.2801 | 9609.7393 | 6927.0498 | 2518.848 | 52.22 | 56.18 | 14 | 2.6285 | 65.46 | 78.23
526 | 11 | 36 | 55057.4705 | 10085.0179 | 6955.0621 | 2632.6924 | 55.39 | 60.23 | 25 | 4.6828 | 71.87 | 78.26
527 | 11 | 37 | 54601.0405 | 9609.7393 | 6789.6704 | 2518.848 | 49.55 | 52.25 | 12 | 0.40599 | 58.72 | 79.45
528 | 11 | 38 | 54552.0599 | 9832.4757 | 6743.5872 | 2518.848 | 52.53 | 56.57 | 16 | 3.0245 | 66.3 | 78.88
529 | 11 | 39 | 54845.0032 | 9816.8778 | 6894.8774 | 2518.848 | 55.8 | 60.89 | 16 | 5.8163 | 72.81 | 75.9
530 | 11 | 40 | 55014.1569 | 10085.0179 | 6978.2622 | 2632.6924 | 52.65 | 56.59 | 16 | 2.5448 | 65.72 | 77.83
531 | 11 | 41 | 54771.7732 | 10555.6934 | 6894.7646 | 3067.8111 | 72.96 | 86.7 | 41 | 22.0327 | 122.67 | 73.36
532 | 11 | 42 | 54612.8404 | 9609.7393 | 6777.4982 | 2518.848 | 50.59 | 53.66 | 12 | 1.6712 | 60.86 | 78.86
533 | 11 | 43 | 54735.4513 | 9609.7393 | 6882.6582 | 2373.9627 | 55.87 | 60.97 | 28 | 5.6307 | 73.05 | 76.07
534 | 11 | 44 | 54779.7947 | 9609.7393 | 6797.328 | 2518.848 | 53.45 | 58.24 | 11 | 4.9863 | 69.95 | 76.57
535 | 11 | 45 | 55212.3485 | 9816.8778 | 7021.9848 | 2507.8309 | 54.56 | 59.27 | 32 | 3.5281 | 70.28 | 78.14
536 | 11 | 46 | 54974.0256 | 10199.4901 | 6949.6334 | 2590.8659 | 59.57 | 66.94 | 29 | 8.8945 | 85.09 | 76.21
537 | 11 | 47 | 55243.1376 | 10024.687 | 6923.6652 | 3067.8111 | 77.34 | 92.11 | 65 | 24.4329 | 134.6 | 77.32
538 | 11 | 48 | 54993.0626 | 10444.2548 | 6946.0611 | 2756.3654 | 65.84 | 77.17 | 36 | 14.8073 | 105.98 | 79.88
539 | 11 | 49 | 55052.2268 | 10555.6934 | 7115.3553 | 2855.8026 | 73.27 | 86.87 | 60 | 21.8499 | 119.41 | 75.22