## Notes
Notes
Simulation number |  | The sequential simulation identifier of each annual simulation - numbered between 1 and 561. Each simulation is modelled at the hourly resolution level - giving 8,760 hourly simulated outputs.
Unplanned outage set |  | Identifier of the hourly unplanned outage set used in the given simulation - numbered between 1 and 11. A stochastic availability model is used to develop the 11 annual simulations of hourly dispatchable power station availability.
Weather set |  | Identifier of the hourly demand and renewable energy resources trace set used in the given simulation - numbered between 1 and 51. A stochastic demand and renewable energy resource model is used to develop 51 weather influenced annual simulations of hourly demand (system and customer load) and renewable energy resource traces.
Energy and demand (as generated) | Annual regional energy (GWh) | The annual regional scheduled and semi-scheduled energy requirements for the given region and given weather set - taken as the sum of the 8,760 hourly simulated regional loads.
| Annual regional peak demand (MW) | The annual regional scheduled and semi-scheduled maximum demand for the given region and given weather set.
| Annual energy - NSLP + Small interval meter load (GWh) | The annual energy requirements for the given NSLP + Small interval meter load and given weather set.
| Annual peak demand - NSLP + Small interval meter load (MW) | The annual peak demand for the given NSLP + Small interval meter load and given weather set.
Spot Price (nominal at the regional reference node) | Annual regional time weighted spot price ($/MWh) | The simple average of the hourly simulated spot prices for the given region and simulation number.
| Annual regional load weighted spot price ($/MWh) | The load weighted average of the hourly simulated spot prices for the given region and simulation number - using the corresponding hourly regional loads as the weights.
| Number of hours spot prices above $300 | The number of simulated hourly prices in a given simulation that exceed $300/MWh for the given region and simulation number.
| Contribution of spot prices above $300 to annual average spot price ($/MWh) | The contribution to the annual time weighted spot price of simulated hourly prices in a given simulation that exceed $300/MWh for the given region and simulation number.
| Annual load weighted spot price - NSLP + Small interval meter load ($/MWh) | The load weighted average of the hourly simulated spot prices for the given NSLP + Small interval meter load and simulation number - using the corresponding hourly NSLP loads as the weights.
Hedged price (nominal at the regional reference node) | Annual hedged price - NSLP + Small interval meter load ($/MWh) | Sum of the hourly spot purchase costs, contract purchase costs (adopting a fixed quarterly hedging strategy and estimated contract prices), and hedge difference payments, divided by the annual energy to derive a price in $/MWh terms for a given NSLP + Small interval meter load and simulation number.

## Data
Summary of results for 561 market simulations for 2023-24 - Queensland
Simulation number | Unplanned outage set | Weather set | Energy and demand (as generated) |  |  |  | Spot Price (nominal at the regional reference node) |  |  |  |  | Hedged price (nominal at the regional reference node)
|  |  | Annual regional energy (GWh) | Annual regional peak demand (MW) | Annual energy - Energex NSLP + Small interval meter load(GWh) | Annual peak demand - Energex NSLP + Small interval meter load (MW) | Annual regional time weighted spot price ($/MWh) | Annual regional Load weighted spot price ($/MWh) | Number of hours spot prices above $300 | Contribution of spot prices above $300 to annual average spot price ($/MWh) | Annual load weighted spot price - Energex NSLP + Small interval meter load ($/MWh) | Annual hedged price - Energex NSLP + Small interval meter load ($/MWh)
1 | 1 | 1 | 54534.6203 | 10112.6156 | 6355.4193 | 2207.6571 | 119.33 | 141.7 | 334 | 24.9127 | 186.28 | 168.2
2 | 1 | 2 | 54284.0554 | 10403.1319 | 6301.4163 | 2451.3155 | 113.33 | 132.88 | 310 | 21.1005 | 172.27 | 168.57
3 | 1 | 3 | 54758.1042 | 10583.0015 | 6455.6842 | 2533.0906 | 119.08 | 141.6 | 322 | 24.5209 | 186.66 | 165.65
4 | 1 | 4 | 55042.8709 | 10583.0015 | 6527.1569 | 2533.0906 | 125.64 | 150.67 | 341 | 29.8756 | 200.69 | 164.37
5 | 1 | 5 | 54788.3095 | 10403.1319 | 6414.4498 | 2615.8387 | 116.88 | 137.25 | 325 | 22.4428 | 178.19 | 166.35
6 | 1 | 6 | 54791.0863 | 10227.1668 | 6465.5348 | 2618.0606 | 119.79 | 142.89 | 280 | 25.2253 | 185 | 159.72
7 | 1 | 7 | 55007.7062 | 10583.0015 | 6522.0195 | 2618.0606 | 120.21 | 142.34 | 377 | 23.0508 | 186.23 | 169.03
8 | 1 | 8 | 54994.6686 | 10922.9371 | 6473.0453 | 2735.9848 | 128.02 | 151.55 | 344 | 32.1585 | 202.14 | 164.2
9 | 1 | 9 | 54643.042 | 10940.0692 | 6433.8263 | 2839.3293 | 119.35 | 143.46 | 337 | 23.6623 | 193.57 | 172.96
10 | 1 | 10 | 55194.0836 | 10922.9371 | 6616.9974 | 2735.9848 | 132.41 | 161.16 | 338 | 38.1627 | 218.87 | 155.43
11 | 1 | 11 | 54579.0074 | 10583.0015 | 6376.6597 | 2618.0606 | 128.67 | 155.19 | 287 | 34.6241 | 211.36 | 162.98
12 | 1 | 12 | 54730.5561 | 10583.0015 | 6470.9653 | 2752.985 | 120.96 | 144.9 | 346 | 25.9555 | 191.93 | 162.59
13 | 1 | 13 | 54678.0722 | 10461.7348 | 6413.3363 | 2561.7167 | 124.67 | 150 | 343 | 30.296 | 201.3 | 161.87
14 | 1 | 14 | 54787.4919 | 10583.0015 | 6446.4241 | 2357.4184 | 131.05 | 159.29 | 335 | 37.1513 | 217.71 | 160.57
15 | 1 | 15 | 54958.6944 | 10922.9371 | 6501.2015 | 2735.9848 | 130.19 | 157.08 | 332 | 35.2826 | 207.72 | 153.68
16 | 1 | 16 | 54958.8625 | 10922.9371 | 6549.073 | 2735.9848 | 130.06 | 157.91 | 356 | 34.2349 | 212.22 | 159.34
17 | 1 | 17 | 54996.3308 | 10922.9371 | 6477.7811 | 2735.9848 | 118.31 | 140.96 | 308 | 23.4407 | 185.99 | 166.47
18 | 1 | 18 | 54741.1435 | 10287.9064 | 6417.9249 | 2533.0906 | 122.65 | 145.51 | 322 | 28.5639 | 194.19 | 167.79
19 | 1 | 19 | 54657.1994 | 10403.1319 | 6359.3601 | 2337.5833 | 114.1 | 134.92 | 296 | 21.9249 | 175.16 | 165.91
20 | 1 | 20 | 54832.5678 | 10403.1319 | 6471.5629 | 2533.0906 | 139.13 | 170.43 | 340 | 44.4961 | 230.63 | 145.14
21 | 1 | 21 | 54789.8342 | 10891.9108 | 6438.5015 | 2840.8277 | 122.45 | 147.14 | 360 | 27.1796 | 198.13 | 169.77
22 | 1 | 22 | 54806.8498 | 10818.5075 | 6444.6055 | 2547.3851 | 119.79 | 143.71 | 304 | 25.9805 | 191.33 | 165.26
23 | 1 | 23 | 54670.5769 | 10583.0015 | 6417.7205 | 2533.0906 | 113.76 | 133.77 | 324 | 19.1197 | 171.49 | 166.9
24 | 1 | 24 | 54673.3998 | 10304.2735 | 6348.5764 | 2618.0606 | 119.01 | 143.02 | 284 | 25.9905 | 188.98 | 160.94
25 | 1 | 25 | 54645.2262 | 10583.0015 | 6380.0181 | 2618.0606 | 124.2 | 147.64 | 317 | 29.8208 | 193.97 | 159.43
26 | 1 | 26 | 54854.5079 | 10922.9371 | 6475.7972 | 2840.8277 | 125.41 | 151 | 340 | 31.174 | 204.16 | 165
27 | 1 | 27 | 54673.9761 | 10818.5075 | 6357.1869 | 2547.3851 | 117.19 | 138.18 | 317 | 22.3905 | 179.87 | 167.58
28 | 1 | 28 | 55050.9198 | 10922.9371 | 6599.4941 | 2840.8277 | 150.47 | 190.34 | 392 | 53.0135 | 271.11 | 152.39
29 | 1 | 29 | 54526.1796 | 10940.0692 | 6383.7774 | 2839.3293 | 132.56 | 160.98 | 330 | 39.1035 | 221.33 | 155.15
30 | 1 | 30 | 54289.1365 | 10181.6976 | 6271.7033 | 2533.0906 | 108.79 | 126.12 | 272 | 15.436 | 160.46 | 171.18
31 | 1 | 31 | 54482.7946 | 10283.2642 | 6294.0109 | 2615.8387 | 126.58 | 153.42 | 319 | 32.5001 | 206.25 | 155.28
32 | 1 | 32 | 55013.8329 | 10922.9371 | 6499.8604 | 2735.9848 | 124.29 | 150.79 | 313 | 30.2499 | 203.94 | 163.94
33 | 1 | 33 | 54675.7574 | 10583.0015 | 6374.885 | 2633.9297 | 124.3 | 150.5 | 302 | 30.9902 | 202.35 | 158.16
34 | 1 | 34 | 54730.7956 | 10922.9371 | 6428.4497 | 2752.985 | 123.03 | 150.04 | 334 | 28.419 | 207.02 | 168.78
35 | 1 | 35 | 54797.8134 | 10816.6 | 6395.0965 | 2620.1537 | 115.47 | 137.3 | 306 | 21.3425 | 181.15 | 170.79
36 | 1 | 36 | 54932.7541 | 10403.1319 | 6505.835 | 2618.0606 | 132.14 | 160.76 | 349 | 36.4813 | 216.89 | 155.16
37 | 1 | 37 | 54788.4018 | 10583.0015 | 6374.9229 | 2561.7167 | 107.8 | 125.65 | 309 | 14.2824 | 159.29 | 171.31
38 | 1 | 38 | 54578.2694 | 10922.9371 | 6374.7186 | 2735.9848 | 124.03 | 149.5 | 306 | 30.4956 | 199.83 | 159.7
39 | 1 | 39 | 54872.7133 | 10583.0015 | 6480.5475 | 2618.0606 | 119.18 | 142.26 | 338 | 24.1161 | 188.6 | 168.33
40 | 1 | 40 | 54854.4969 | 10583.0015 | 6458.6881 | 2618.0606 | 143.47 | 177.32 | 366 | 47.4893 | 245.26 | 147.82
41 | 1 | 41 | 54802.4796 | 10940.0692 | 6422.3867 | 2839.3293 | 126.54 | 151.64 | 338 | 29.5985 | 202.35 | 158.88
42 | 1 | 42 | 54575.7142 | 10403.1319 | 6353.3152 | 2271.4026 | 123.11 | 147.72 | 296 | 29.9639 | 193.77 | 154.96
43 | 1 | 43 | 54650.0924 | 10352.7731 | 6336.5753 | 2633.9297 | 126.29 | 152.54 | 322 | 30.8164 | 204.64 | 159.85
44 | 1 | 44 | 54460.5058 | 10583.0015 | 6290.2587 | 2380.7214 | 118.42 | 143.95 | 293 | 27.5728 | 196.27 | 163.39
45 | 1 | 45 | 55005.8582 | 10583.0015 | 6540.5141 | 2380.7214 | 123.95 | 147.59 | 349 | 27.422 | 194.09 | 164.43
46 | 1 | 46 | 54863.3957 | 10891.9108 | 6446.4765 | 2840.8277 | 126.66 | 152.39 | 347 | 30.5376 | 203.49 | 158.12
47 | 1 | 47 | 55034.2155 | 10922.9371 | 6550.0426 | 2735.9848 | 136.84 | 169.16 | 385 | 39.4572 | 231.79 | 157.25
48 | 1 | 48 | 54753.1126 | 10225.087 | 6445.976 | 2618.0606 | 136.67 | 167.24 | 368 | 41.0198 | 226.49 | 144.91
49 | 1 | 49 | 54730.545 | 10940.0692 | 6491.5036 | 2909.2896 | 140.15 | 175.8 | 360 | 43.5514 | 250.68 | 155.27
50 | 1 | 50 | 55311.2015 | 10922.9371 | 6558.4248 | 2840.8277 | 169.07 | 214.79 | 412 | 70.9454 | 309.84 | 130.73
51 | 1 | 51 | 55153.197 | 10644.0641 | 6589.3586 | 2593.278 | 137.03 | 166.04 | 354 | 39.5813 | 222.19 | 156.43
52 | 2 | 1 | 54534.6203 | 10112.6156 | 6355.4193 | 2207.6571 | 127.67 | 152.36 | 313 | 33.5785 | 204 | 163.46
53 | 2 | 2 | 54284.0554 | 10403.1319 | 6301.4163 | 2451.3155 | 119.27 | 141.56 | 304 | 27.935 | 187.41 | 163.57
54 | 2 | 3 | 54758.1042 | 10583.0015 | 6455.6842 | 2533.0906 | 127.37 | 155.18 | 361 | 32.4558 | 214.37 | 169.25
55 | 2 | 4 | 55042.8709 | 10583.0015 | 6527.1569 | 2533.0906 | 121.76 | 144.42 | 332 | 26.1647 | 188.04 | 161.52
56 | 2 | 5 | 54788.3095 | 10403.1319 | 6414.4498 | 2615.8387 | 115.4 | 135.29 | 314 | 21.2488 | 177.18 | 172.78
57 | 2 | 6 | 54791.0863 | 10227.1668 | 6465.5348 | 2618.0606 | 125.37 | 150.46 | 261 | 31.1409 | 198.47 | 157.66
58 | 2 | 7 | 55007.7062 | 10583.0015 | 6522.0195 | 2618.0606 | 133.54 | 159.11 | 345 | 36.4121 | 211.06 | 156.03
59 | 2 | 8 | 54994.6686 | 10922.9371 | 6473.0453 | 2735.9848 | 135.04 | 162.4 | 354 | 39.5478 | 223.18 | 162.21
60 | 2 | 9 | 54643.042 | 10940.0692 | 6433.8263 | 2839.3293 | 124.07 | 147.96 | 338 | 29.2652 | 197.45 | 165.78
61 | 2 | 10 | 55194.0836 | 10922.9371 | 6616.9974 | 2735.9848 | 125.66 | 151.02 | 344 | 30.863 | 202.23 | 166.99
62 | 2 | 11 | 54579.0074 | 10583.0015 | 6376.6597 | 2618.0606 | 123.27 | 147.15 | 316 | 28.9443 | 198.34 | 166.76
63 | 2 | 12 | 54730.5561 | 10583.0015 | 6470.9653 | 2752.985 | 123.07 | 148.18 | 349 | 28.4319 | 200.42 | 168.84
64 | 2 | 13 | 54678.0722 | 10461.7348 | 6413.3363 | 2561.7167 | 126.65 | 152.57 | 349 | 31.714 | 206.68 | 165.74
65 | 2 | 14 | 54787.4919 | 10583.0015 | 6446.4241 | 2357.4184 | 131.87 | 159.43 | 345 | 38.3025 | 216.4 | 160.7
66 | 2 | 15 | 54958.6944 | 10922.9371 | 6501.2015 | 2735.9848 | 122.94 | 145.68 | 322 | 27.9081 | 193.39 | 166.11
67 | 2 | 16 | 54958.8625 | 10922.9371 | 6549.073 | 2735.9848 | 126.28 | 151.94 | 379 | 30.8024 | 200.97 | 158.78
68 | 2 | 17 | 54996.3308 | 10922.9371 | 6477.7811 | 2735.9848 | 125.52 | 151.26 | 311 | 30.6328 | 202.87 | 160.14
69 | 2 | 18 | 54741.1435 | 10287.9064 | 6417.9249 | 2533.0906 | 131.57 | 157.52 | 331 | 37.3278 | 216.08 | 164.82
70 | 2 | 19 | 54657.1994 | 10403.1319 | 6359.3601 | 2337.5833 | 103.76 | 120.04 | 277 | 11.2065 | 151.65 | 177.1
71 | 2 | 20 | 54832.5678 | 10403.1319 | 6471.5629 | 2533.0906 | 124.75 | 149.63 | 358 | 29.2015 | 201.33 | 169.54
72 | 2 | 21 | 54789.8342 | 10891.9108 | 6438.5015 | 2840.8277 | 128.34 | 152.72 | 335 | 33.1099 | 201.95 | 158.46
73 | 2 | 22 | 54806.8498 | 10818.5075 | 6444.6055 | 2547.3851 | 119.62 | 143.52 | 316 | 26.2042 | 193.11 | 169.34
74 | 2 | 23 | 54670.5769 | 10583.0015 | 6417.7205 | 2533.0906 | 114.82 | 134.53 | 281 | 20.5047 | 175.37 | 172.18
75 | 2 | 24 | 54673.3998 | 10304.2735 | 6348.5764 | 2618.0606 | 116.98 | 139.79 | 258 | 24.6369 | 184.69 | 163.04
76 | 2 | 25 | 54645.2262 | 10583.0015 | 6380.0181 | 2618.0606 | 119.69 | 141.24 | 334 | 25.5319 | 186.2 | 169.48
77 | 2 | 26 | 54854.5079 | 10922.9371 | 6475.7972 | 2840.8277 | 126.16 | 153.1 | 304 | 32.4638 | 211.59 | 169.84
78 | 2 | 27 | 54673.9761 | 10818.5075 | 6357.1869 | 2547.3851 | 134.67 | 163.69 | 321 | 40.3606 | 227.11 | 159.44
79 | 2 | 28 | 55050.9198 | 10922.9371 | 6599.4941 | 2840.8277 | 154.22 | 192.49 | 392 | 57.3797 | 273.37 | 151.07
80 | 2 | 29 | 54526.1796 | 10940.0692 | 6383.7774 | 2839.3293 | 130.37 | 157.8 | 305 | 36.866 | 214.89 | 158.98
81 | 2 | 30 | 54289.1365 | 10181.6976 | 6271.7033 | 2533.0906 | 112.28 | 130.26 | 304 | 18.8206 | 168.8 | 174.4
82 | 2 | 31 | 54482.7946 | 10283.2642 | 6294.0109 | 2615.8387 | 127.03 | 152.82 | 292 | 33.34 | 206.17 | 159.2
83 | 2 | 32 | 55013.8329 | 10922.9371 | 6499.8604 | 2735.9848 | 126 | 154.33 | 312 | 33.1094 | 214.7 | 168.69
84 | 2 | 33 | 54675.7574 | 10583.0015 | 6374.885 | 2633.9297 | 122.06 | 147.35 | 297 | 29.1508 | 199.82 | 166.04
85 | 2 | 34 | 54730.7956 | 10922.9371 | 6428.4497 | 2752.985 | 130.37 | 159.29 | 324 | 36.1844 | 223.02 | 168.48
86 | 2 | 35 | 54797.8134 | 10816.6 | 6395.0965 | 2620.1537 | 117.02 | 139.29 | 306 | 23.5327 | 186.04 | 169.55
87 | 2 | 36 | 54932.7541 | 10403.1319 | 6505.835 | 2618.0606 | 127.07 | 155.76 | 341 | 31.2537 | 211.3 | 161.52
88 | 2 | 37 | 54788.4018 | 10583.0015 | 6374.9229 | 2561.7167 | 114.99 | 135.63 | 279 | 22.3063 | 176.07 | 164.78
89 | 2 | 38 | 54578.2694 | 10922.9371 | 6374.7186 | 2735.9848 | 116.26 | 139.54 | 307 | 23.0387 | 186.86 | 172.19
90 | 2 | 39 | 54872.7133 | 10583.0015 | 6480.5475 | 2618.0606 | 122.14 | 145.2 | 295 | 27.2498 | 190.31 | 161.43
91 | 2 | 40 | 54854.4969 | 10583.0015 | 6458.6881 | 2618.0606 | 130.8 | 157.65 | 359 | 34.3144 | 211.08 | 158.44
92 | 2 | 41 | 54802.4796 | 10940.0692 | 6422.3867 | 2839.3293 | 128.72 | 154.31 | 304 | 32.7345 | 206.18 | 157.31
93 | 2 | 42 | 54575.7142 | 10403.1319 | 6353.3152 | 2271.4026 | 120.3 | 142.94 | 283 | 26.958 | 187.28 | 163.12
94 | 2 | 43 | 54650.0924 | 10352.7731 | 6336.5753 | 2633.9297 | 125.65 | 149.93 | 318 | 30.7716 | 200.34 | 162.05
95 | 2 | 44 | 54460.5058 | 10583.0015 | 6290.2587 | 2380.7214 | 118.79 | 144.53 | 273 | 27.6843 | 196.21 | 161.21
96 | 2 | 45 | 55005.8582 | 10583.0015 | 6540.5141 | 2380.7214 | 140.84 | 172.8 | 374 | 44.2323 | 238.09 | 152.53
97 | 2 | 46 | 54863.3957 | 10891.9108 | 6446.4765 | 2840.8277 | 142.69 | 174.93 | 359 | 47.1126 | 244.47 | 150.06
98 | 2 | 47 | 55034.2155 | 10922.9371 | 6550.0426 | 2735.9848 | 133.85 | 163.85 | 350 | 36.7276 | 224.72 | 161.4
99 | 2 | 48 | 54753.1126 | 10225.087 | 6445.976 | 2618.0606 | 126.12 | 152.26 | 354 | 29.8625 | 204.53 | 160.55
100 | 2 | 49 | 54730.545 | 10940.0692 | 6491.5036 | 2909.2896 | 134.59 | 167.83 | 377 | 38.7139 | 238.25 | 163.71
101 | 2 | 50 | 55311.2015 | 10922.9371 | 6558.4248 | 2840.8277 | 170.89 | 218.08 | 405 | 72.6189 | 318.82 | 134.57
102 | 2 | 51 | 55153.197 | 10644.0641 | 6589.3586 | 2593.278 | 127.65 | 153.58 | 323 | 31.1802 | 204.66 | 165.89
103 | 3 | 1 | 54534.6203 | 10112.6156 | 6355.4193 | 2207.6571 | 121.08 | 143.84 | 326 | 26.2854 | 190.17 | 168.89
104 | 3 | 2 | 54284.0554 | 10403.1319 | 6301.4163 | 2451.3155 | 115.33 | 135.51 | 324 | 21.6518 | 177 | 169.57
105 | 3 | 3 | 54758.1042 | 10583.0015 | 6455.6842 | 2533.0906 | 124.98 | 150.71 | 311 | 30.8806 | 205.14 | 164.25
106 | 3 | 4 | 55042.8709 | 10583.0015 | 6527.1569 | 2533.0906 | 118.35 | 139.29 | 326 | 22.0255 | 179.94 | 166.82
107 | 3 | 5 | 54788.3095 | 10403.1319 | 6414.4498 | 2615.8387 | 110.42 | 127.41 | 302 | 15.9646 | 161.81 | 174.29
108 | 3 | 6 | 54791.0863 | 10227.1668 | 6465.5348 | 2618.0606 | 112.47 | 130.76 | 274 | 17.3058 | 164.49 | 167.76
109 | 3 | 7 | 55007.7062 | 10583.0015 | 6522.0195 | 2618.0606 | 122.17 | 144.72 | 344 | 25.2813 | 188.98 | 165.56
110 | 3 | 8 | 54994.6686 | 10922.9371 | 6473.0453 | 2735.9848 | 127.89 | 154.94 | 339 | 32.3846 | 215 | 170.47
111 | 3 | 9 | 54643.042 | 10940.0692 | 6433.8263 | 2839.3293 | 119.73 | 142.96 | 337 | 24.0917 | 191.78 | 172.45
112 | 3 | 10 | 55194.0836 | 10922.9371 | 6616.9974 | 2735.9848 | 131.39 | 160.5 | 312 | 35.8611 | 218.64 | 159.6
113 | 3 | 11 | 54579.0074 | 10583.0015 | 6376.6597 | 2618.0606 | 128.15 | 154.16 | 318 | 33.1486 | 209.66 | 166.18
114 | 3 | 12 | 54730.5561 | 10583.0015 | 6470.9653 | 2752.985 | 132.41 | 162.99 | 319 | 37.1154 | 226.94 | 162.46
115 | 3 | 13 | 54678.0722 | 10461.7348 | 6413.3363 | 2561.7167 | 121.5 | 144.66 | 329 | 26.7575 | 190.02 | 162.88
116 | 3 | 14 | 54787.4919 | 10583.0015 | 6446.4241 | 2357.4184 | 125.11 | 149.66 | 305 | 31.4954 | 200.56 | 163.2
117 | 3 | 15 | 54958.6944 | 10922.9371 | 6501.2015 | 2735.9848 | 122.23 | 146.14 | 308 | 27.2257 | 194.24 | 163.72
118 | 3 | 16 | 54958.8625 | 10922.9371 | 6549.073 | 2735.9848 | 114.94 | 133.62 | 351 | 19.0233 | 170.56 | 172.14
119 | 3 | 17 | 54996.3308 | 10922.9371 | 6477.7811 | 2735.9848 | 120.85 | 145.29 | 323 | 25.0679 | 195.95 | 169.72
120 | 3 | 18 | 54741.1435 | 10287.9064 | 6417.9249 | 2533.0906 | 114.08 | 133.63 | 297 | 20.377 | 173.49 | 169.28
121 | 3 | 19 | 54657.1994 | 10403.1319 | 6359.3601 | 2337.5833 | 109.32 | 128.98 | 239 | 16.569 | 166.32 | 170.68
122 | 3 | 20 | 54832.5678 | 10403.1319 | 6471.5629 | 2533.0906 | 124.86 | 148.48 | 335 | 29.5301 | 196.71 | 165.15
123 | 3 | 21 | 54789.8342 | 10891.9108 | 6438.5015 | 2840.8277 | 127.53 | 153.07 | 327 | 31.772 | 204.27 | 161.91
124 | 3 | 22 | 54806.8498 | 10818.5075 | 6444.6055 | 2547.3851 | 107.33 | 126.45 | 296 | 13.6312 | 165.89 | 179.91
125 | 3 | 23 | 54670.5769 | 10583.0015 | 6417.7205 | 2533.0906 | 125.09 | 150.79 | 328 | 30.1311 | 202.99 | 163.94
126 | 3 | 24 | 54673.3998 | 10304.2735 | 6348.5764 | 2618.0606 | 118.07 | 141.95 | 281 | 25.0308 | 189.5 | 165.62
127 | 3 | 25 | 54645.2262 | 10583.0015 | 6380.0181 | 2618.0606 | 112.93 | 130.68 | 310 | 18.3855 | 166.18 | 170.65
128 | 3 | 26 | 54854.5079 | 10922.9371 | 6475.7972 | 2840.8277 | 123.08 | 147.65 | 299 | 28.3692 | 200.57 | 171.5
129 | 3 | 27 | 54673.9761 | 10818.5075 | 6357.1869 | 2547.3851 | 124.06 | 147.61 | 321 | 29.5012 | 196.02 | 160.69
130 | 3 | 28 | 55050.9198 | 10922.9371 | 6599.4941 | 2840.8277 | 137.91 | 170.46 | 353 | 40.755 | 238.7 | 162.94
131 | 3 | 29 | 54526.1796 | 10940.0692 | 6383.7774 | 2839.3293 | 131.2 | 157.56 | 310 | 37.0719 | 211.76 | 157.61
132 | 3 | 30 | 54289.1365 | 10181.6976 | 6271.7033 | 2533.0906 | 109.38 | 127.71 | 304 | 15.1483 | 165.31 | 175.63
133 | 3 | 31 | 54482.7946 | 10283.2642 | 6294.0109 | 2615.8387 | 131.92 | 160.12 | 295 | 37.4606 | 217.58 | 153.5
134 | 3 | 32 | 55013.8329 | 10922.9371 | 6499.8604 | 2735.9848 | 131.25 | 162.87 | 276 | 37.6542 | 230.14 | 166.27
135 | 3 | 33 | 54675.7574 | 10583.0015 | 6374.885 | 2633.9297 | 105.88 | 123.8 | 309 | 12.0711 | 158.54 | 175.9
136 | 3 | 34 | 54730.7956 | 10922.9371 | 6428.4497 | 2752.985 | 127.58 | 157.43 | 306 | 32.7892 | 223.28 | 172.17
137 | 3 | 35 | 54797.8134 | 10816.6 | 6395.0965 | 2620.1537 | 121.73 | 145.11 | 311 | 28.044 | 190.58 | 157.2
138 | 3 | 36 | 54932.7541 | 10403.1319 | 6505.835 | 2618.0606 | 113.6 | 135.03 | 324 | 17.6058 | 174.95 | 169.96
139 | 3 | 37 | 54788.4018 | 10583.0015 | 6374.9229 | 2561.7167 | 116.28 | 137.55 | 293 | 22.3931 | 177.51 | 160
140 | 3 | 38 | 54578.2694 | 10922.9371 | 6374.7186 | 2735.9848 | 125.38 | 151.97 | 318 | 31.9804 | 208.15 | 165
141 | 3 | 39 | 54872.7133 | 10583.0015 | 6480.5475 | 2618.0606 | 126.86 | 152.91 | 325 | 31.469 | 205.46 | 162.4
142 | 3 | 40 | 54854.4969 | 10583.0015 | 6458.6881 | 2618.0606 | 131.52 | 159.46 | 363 | 34.9093 | 213.48 | 154.63
143 | 3 | 41 | 54802.4796 | 10940.0692 | 6422.3867 | 2839.3293 | 127.51 | 153.5 | 327 | 30.7947 | 210.83 | 167.17
144 | 3 | 42 | 54575.7142 | 10403.1319 | 6353.3152 | 2271.4026 | 117.32 | 137.81 | 302 | 23.0771 | 178.11 | 164.28
145 | 3 | 43 | 54650.0924 | 10352.7731 | 6336.5753 | 2633.9297 | 121.66 | 145.14 | 302 | 26.5777 | 192.68 | 162.72
146 | 3 | 44 | 54460.5058 | 10583.0015 | 6290.2587 | 2380.7214 | 121.26 | 148.9 | 262 | 29.6518 | 205.78 | 163.82
147 | 3 | 45 | 55005.8582 | 10583.0015 | 6540.5141 | 2380.7214 | 124.98 | 150.62 | 359 | 27.3791 | 202.4 | 168.72
148 | 3 | 46 | 54863.3957 | 10891.9108 | 6446.4765 | 2840.8277 | 127.78 | 154.39 | 336 | 30.6454 | 209.4 | 163.1
149 | 3 | 47 | 55034.2155 | 10922.9371 | 6550.0426 | 2735.9848 | 131.51 | 159.51 | 362 | 34.9115 | 215.23 | 158.58
150 | 3 | 48 | 54753.1126 | 10225.087 | 6445.976 | 2618.0606 | 122.05 | 145.98 | 324 | 26.3106 | 193.43 | 163.42
151 | 3 | 49 | 54730.545 | 10940.0692 | 6491.5036 | 2909.2896 | 139.94 | 174.73 | 360 | 43.0027 | 247.77 | 156.28
152 | 3 | 50 | 55311.2015 | 10922.9371 | 6558.4248 | 2840.8277 | 150.25 | 188.86 | 428 | 51.8339 | 270.51 | 151.14
153 | 3 | 51 | 55153.197 | 10644.0641 | 6589.3586 | 2593.278 | 137.09 | 166.36 | 330 | 39.8554 | 224.57 | 156.27
154 | 4 | 1 | 54534.6203 | 10112.6156 | 6355.4193 | 2207.6571 | 132.4 | 159.92 | 357 | 38.1338 | 211.71 | 148.58
155 | 4 | 2 | 54284.0554 | 10403.1319 | 6301.4163 | 2451.3155 | 122.91 | 146.6 | 311 | 30.8174 | 195.47 | 161.26
156 | 4 | 3 | 54758.1042 | 10583.0015 | 6455.6842 | 2533.0906 | 138.69 | 168.93 | 318 | 44.2728 | 233.87 | 154.67
157 | 4 | 4 | 55042.8709 | 10583.0015 | 6527.1569 | 2533.0906 | 130.79 | 156.7 | 332 | 35.1465 | 206.68 | 151.76
158 | 4 | 5 | 54788.3095 | 10403.1319 | 6414.4498 | 2615.8387 | 128.63 | 152.51 | 310 | 34.7228 | 202.36 | 157.08
159 | 4 | 6 | 54791.0863 | 10227.1668 | 6465.5348 | 2618.0606 | 125.14 | 147.39 | 305 | 30.125 | 190.36 | 157.22
160 | 4 | 7 | 55007.7062 | 10583.0015 | 6522.0195 | 2618.0606 | 136.25 | 162.19 | 325 | 39.8641 | 212.54 | 148.11
161 | 4 | 8 | 54994.6686 | 10922.9371 | 6473.0453 | 2735.9848 | 146.91 | 176.93 | 356 | 50.96 | 243.74 | 153.17
162 | 4 | 9 | 54643.042 | 10940.0692 | 6433.8263 | 2839.3293 | 130.53 | 156.31 | 340 | 34.942 | 212.08 | 164.36
163 | 4 | 10 | 55194.0836 | 10922.9371 | 6616.9974 | 2735.9848 | 153.44 | 190.21 | 339 | 58.2271 | 266.74 | 148.59
164 | 4 | 11 | 54579.0074 | 10583.0015 | 6376.6597 | 2618.0606 | 132.42 | 159.94 | 324 | 37.23 | 214.76 | 152.72
165 | 4 | 12 | 54730.5561 | 10583.0015 | 6470.9653 | 2752.985 | 134.25 | 162.29 | 325 | 39.0664 | 218.26 | 152.78
166 | 4 | 13 | 54678.0722 | 10461.7348 | 6413.3363 | 2561.7167 | 128.64 | 152.47 | 339 | 33.7212 | 199.76 | 156.65
167 | 4 | 14 | 54787.4919 | 10583.0015 | 6446.4241 | 2357.4184 | 132.21 | 157.77 | 333 | 38.631 | 211.96 | 155.61
168 | 4 | 15 | 54958.6944 | 10922.9371 | 6501.2015 | 2735.9848 | 119.39 | 141.28 | 304 | 24.6944 | 186.31 | 167.74
169 | 4 | 16 | 54958.8625 | 10922.9371 | 6549.073 | 2735.9848 | 146.99 | 178.39 | 369 | 51.5374 | 242.73 | 145.49
170 | 4 | 17 | 54996.3308 | 10922.9371 | 6477.7811 | 2735.9848 | 130.74 | 156.39 | 309 | 35.7862 | 205.62 | 147.63
171 | 4 | 18 | 54741.1435 | 10287.9064 | 6417.9249 | 2533.0906 | 125.79 | 148.45 | 330 | 31.7531 | 198.48 | 163.24
172 | 4 | 19 | 54657.1994 | 10403.1319 | 6359.3601 | 2337.5833 | 126.11 | 150.58 | 257 | 33.104 | 196.04 | 146.99
173 | 4 | 20 | 54832.5678 | 10403.1319 | 6471.5629 | 2533.0906 | 139.59 | 168.01 | 365 | 44.1071 | 224.68 | 147.29
174 | 4 | 21 | 54789.8342 | 10891.9108 | 6438.5015 | 2840.8277 | 140.73 | 170.65 | 328 | 45.8047 | 231.99 | 149.62
175 | 4 | 22 | 54806.8498 | 10818.5075 | 6444.6055 | 2547.3851 | 122.35 | 145.43 | 308 | 28.1159 | 191.72 | 162.06
176 | 4 | 23 | 54670.5769 | 10583.0015 | 6417.7205 | 2533.0906 | 112.08 | 129.41 | 322 | 17.3784 | 163.2 | 168.76
177 | 4 | 24 | 54673.3998 | 10304.2735 | 6348.5764 | 2618.0606 | 119.45 | 143.53 | 291 | 26.3651 | 191.64 | 162.41
178 | 4 | 25 | 54645.2262 | 10583.0015 | 6380.0181 | 2618.0606 | 133.93 | 160.24 | 334 | 39.6122 | 213.17 | 150.76
179 | 4 | 26 | 54854.5079 | 10922.9371 | 6475.7972 | 2840.8277 | 151.46 | 186.71 | 318 | 57.3086 | 263.69 | 147.22
180 | 4 | 27 | 54673.9761 | 10818.5075 | 6357.1869 | 2547.3851 | 141.5 | 171.05 | 319 | 47.4338 | 235.43 | 150.08
181 | 4 | 28 | 55050.9198 | 10922.9371 | 6599.4941 | 2840.8277 | 151.72 | 186.16 | 384 | 54.258 | 258.75 | 149.4
182 | 4 | 29 | 54526.1796 | 10940.0692 | 6383.7774 | 2839.3293 | 133.76 | 160.95 | 301 | 40.5395 | 217.71 | 153.83
183 | 4 | 30 | 54289.1365 | 10181.6976 | 6271.7033 | 2533.0906 | 121.08 | 142.42 | 309 | 27.2869 | 187.2 | 163.04
184 | 4 | 31 | 54482.7946 | 10283.2642 | 6294.0109 | 2615.8387 | 143.07 | 173.76 | 320 | 48.6579 | 234.27 | 136.23
185 | 4 | 32 | 55013.8329 | 10922.9371 | 6499.8604 | 2735.9848 | 145.74 | 181.37 | 303 | 51.8846 | 251.57 | 140.23
186 | 4 | 33 | 54675.7574 | 10583.0015 | 6374.885 | 2633.9297 | 117.26 | 139.87 | 304 | 24.2797 | 183.23 | 162.43
187 | 4 | 34 | 54730.7956 | 10922.9371 | 6428.4497 | 2752.985 | 132.81 | 162.36 | 308 | 38.3692 | 222.9 | 157.11
188 | 4 | 35 | 54797.8134 | 10816.6 | 6395.0965 | 2620.1537 | 132.53 | 161.18 | 307 | 38.6887 | 219.65 | 153.23
189 | 4 | 36 | 54932.7541 | 10403.1319 | 6505.835 | 2618.0606 | 145.07 | 179.27 | 314 | 49.6801 | 246.87 | 144.43
190 | 4 | 37 | 54788.4018 | 10583.0015 | 6374.9229 | 2561.7167 | 131.09 | 157.12 | 303 | 37.3026 | 209.84 | 152.03
191 | 4 | 38 | 54578.2694 | 10922.9371 | 6374.7186 | 2735.9848 | 130.17 | 158.33 | 305 | 36.6689 | 215.35 | 156.92
192 | 4 | 39 | 54872.7133 | 10583.0015 | 6480.5475 | 2618.0606 | 125.27 | 148.32 | 301 | 29.7571 | 192.95 | 159.16
193 | 4 | 40 | 54854.4969 | 10583.0015 | 6458.6881 | 2618.0606 | 133.08 | 160.75 | 349 | 37.0597 | 211.21 | 146.75
194 | 4 | 41 | 54802.4796 | 10940.0692 | 6422.3867 | 2839.3293 | 139.88 | 169.89 | 332 | 42.9978 | 230.55 | 146.47
195 | 4 | 42 | 54575.7142 | 10403.1319 | 6353.3152 | 2271.4026 | 134.26 | 160.66 | 286 | 40.6561 | 212.15 | 146.22
196 | 4 | 43 | 54650.0924 | 10352.7731 | 6336.5753 | 2633.9297 | 128.39 | 153.99 | 316 | 32.7266 | 206.39 | 157.65
197 | 4 | 44 | 54460.5058 | 10583.0015 | 6290.2587 | 2380.7214 | 128.65 | 157.12 | 295 | 37.0111 | 214.02 | 150.35
198 | 4 | 45 | 55005.8582 | 10583.0015 | 6540.5141 | 2380.7214 | 133.94 | 161.18 | 331 | 38.0438 | 215.25 | 151.99
199 | 4 | 46 | 54863.3957 | 10891.9108 | 6446.4765 | 2840.8277 | 146.71 | 181.15 | 360 | 50.8615 | 256.03 | 148.67
200 | 4 | 47 | 55034.2155 | 10922.9371 | 6550.0426 | 2735.9848 | 144.13 | 177.52 | 373 | 46.4713 | 244.69 | 151.01
201 | 4 | 48 | 54753.1126 | 10225.087 | 6445.976 | 2618.0606 | 143.22 | 175.24 | 341 | 47.471 | 239.15 | 141.34
202 | 4 | 49 | 54730.545 | 10940.0692 | 6491.5036 | 2909.2896 | 137.55 | 170.87 | 341 | 41.5997 | 242.23 | 160.12
203 | 4 | 50 | 55311.2015 | 10922.9371 | 6558.4248 | 2840.8277 | 176.61 | 227.32 | 453 | 77.8705 | 336.97 | 132.88
204 | 4 | 51 | 55153.197 | 10644.0641 | 6589.3586 | 2593.278 | 140.71 | 169.98 | 359 | 44.1394 | 225.43 | 146.31
205 | 5 | 1 | 54534.6203 | 10112.6156 | 6355.4193 | 2207.6571 | 129.64 | 155.64 | 330 | 35.18 | 208.27 | 156.91
206 | 5 | 2 | 54284.0554 | 10403.1319 | 6301.4163 | 2451.3155 | 118.81 | 141.73 | 297 | 26.9073 | 188.29 | 164.84
207 | 5 | 3 | 54758.1042 | 10583.0015 | 6455.6842 | 2533.0906 | 128.94 | 157.61 | 340 | 35.1023 | 216.77 | 159.08
208 | 5 | 4 | 55042.8709 | 10583.0015 | 6527.1569 | 2533.0906 | 126.81 | 151.81 | 325 | 31.5517 | 200.72 | 156.6
209 | 5 | 5 | 54788.3095 | 10403.1319 | 6414.4498 | 2615.8387 | 117.1 | 137.89 | 325 | 22.599 | 176.36 | 162.2
210 | 5 | 6 | 54791.0863 | 10227.1668 | 6465.5348 | 2618.0606 | 120.8 | 143.49 | 292 | 26.4033 | 185.48 | 158.96
211 | 5 | 7 | 55007.7062 | 10583.0015 | 6522.0195 | 2618.0606 | 133.09 | 159.81 | 338 | 36.2547 | 211.77 | 152.85
212 | 5 | 8 | 54994.6686 | 10922.9371 | 6473.0453 | 2735.9848 | 133.87 | 160.41 | 360 | 38.5126 | 215.07 | 153.8
213 | 5 | 9 | 54643.042 | 10940.0692 | 6433.8263 | 2839.3293 | 137.78 | 167.75 | 357 | 42.5022 | 229.77 | 152.66
214 | 5 | 10 | 55194.0836 | 10922.9371 | 6616.9974 | 2735.9848 | 130.65 | 160.45 | 307 | 36.2688 | 220.75 | 160.93
215 | 5 | 11 | 54579.0074 | 10583.0015 | 6376.6597 | 2618.0606 | 130.46 | 157.3 | 318 | 35.5895 | 212.52 | 156.96
216 | 5 | 12 | 54730.5561 | 10583.0015 | 6470.9653 | 2752.985 | 143.5 | 178.31 | 327 | 48.9291 | 248.1 | 144.32
217 | 5 | 13 | 54678.0722 | 10461.7348 | 6413.3363 | 2561.7167 | 129.08 | 156.79 | 340 | 34.2053 | 213.58 | 159.12
218 | 5 | 14 | 54787.4919 | 10583.0015 | 6446.4241 | 2357.4184 | 134.5 | 164.51 | 379 | 40.1965 | 222.25 | 150.34
219 | 5 | 15 | 54958.6944 | 10922.9371 | 6501.2015 | 2735.9848 | 129.16 | 155.14 | 301 | 34.1711 | 206.86 | 157.74
220 | 5 | 16 | 54958.8625 | 10922.9371 | 6549.073 | 2735.9848 | 136.83 | 166.46 | 375 | 40.8433 | 226.03 | 156.79
221 | 5 | 17 | 54996.3308 | 10922.9371 | 6477.7811 | 2735.9848 | 135.94 | 167.83 | 318 | 40.8409 | 233.39 | 155.34
222 | 5 | 18 | 54741.1435 | 10287.9064 | 6417.9249 | 2533.0906 | 129.44 | 154.81 | 306 | 35.8963 | 209.37 | 159.74
223 | 5 | 19 | 54657.1994 | 10403.1319 | 6359.3601 | 2337.5833 | 121.38 | 144.29 | 289 | 28.8192 | 185.7 | 151.06
224 | 5 | 20 | 54832.5678 | 10403.1319 | 6471.5629 | 2533.0906 | 131.31 | 157 | 355 | 36.2047 | 208.64 | 155.89
225 | 5 | 21 | 54789.8342 | 10891.9108 | 6438.5015 | 2840.8277 | 146.89 | 181.31 | 351 | 52.0987 | 249.57 | 141.76
226 | 5 | 22 | 54806.8498 | 10818.5075 | 6444.6055 | 2547.3851 | 117.86 | 138.79 | 309 | 24.4456 | 181.32 | 165.91
227 | 5 | 23 | 54670.5769 | 10583.0015 | 6417.7205 | 2533.0906 | 119.49 | 140.03 | 334 | 24.4548 | 185.07 | 171.68
228 | 5 | 24 | 54673.3998 | 10304.2735 | 6348.5764 | 2618.0606 | 117.66 | 140.97 | 267 | 25.0706 | 185.85 | 160.72
229 | 5 | 25 | 54645.2262 | 10583.0015 | 6380.0181 | 2618.0606 | 121.76 | 144.4 | 313 | 27.7055 | 192.46 | 165.19
230 | 5 | 26 | 54854.5079 | 10922.9371 | 6475.7972 | 2840.8277 | 130.4 | 158.98 | 307 | 36.6371 | 217.35 | 157.97
231 | 5 | 27 | 54673.9761 | 10818.5075 | 6357.1869 | 2547.3851 | 133.47 | 162.03 | 321 | 39.5479 | 219.48 | 151.13
232 | 5 | 28 | 55050.9198 | 10922.9371 | 6599.4941 | 2840.8277 | 155.43 | 196.49 | 406 | 57.2381 | 281.25 | 148.05
233 | 5 | 29 | 54526.1796 | 10940.0692 | 6383.7774 | 2839.3293 | 135.18 | 164.72 | 309 | 41.8106 | 223.12 | 147.19
234 | 5 | 30 | 54289.1365 | 10181.6976 | 6271.7033 | 2533.0906 | 126.63 | 150.82 | 282 | 34.1088 | 201.74 | 156.74
235 | 5 | 31 | 54482.7946 | 10283.2642 | 6294.0109 | 2615.8387 | 119.25 | 142.79 | 326 | 24.7648 | 187.79 | 161.8
236 | 5 | 32 | 55013.8329 | 10922.9371 | 6499.8604 | 2735.9848 | 135.4 | 166.98 | 306 | 41.3198 | 232.12 | 157.62
237 | 5 | 33 | 54675.7574 | 10583.0015 | 6374.885 | 2633.9297 | 130.38 | 160.49 | 317 | 37.3705 | 222 | 155.59
238 | 5 | 34 | 54730.7956 | 10922.9371 | 6428.4497 | 2752.985 | 130.48 | 159.73 | 312 | 36.8235 | 224.2 | 163.92
239 | 5 | 35 | 54797.8134 | 10816.6 | 6395.0965 | 2620.1537 | 119.33 | 141.94 | 311 | 26.0736 | 185.89 | 161.68
240 | 5 | 36 | 54932.7541 | 10403.1319 | 6505.835 | 2618.0606 | 138.17 | 168.99 | 360 | 41.716 | 226.58 | 145.43
241 | 5 | 37 | 54788.4018 | 10583.0015 | 6374.9229 | 2561.7167 | 116.05 | 136.8 | 294 | 22.7239 | 176.37 | 160.74
242 | 5 | 38 | 54578.2694 | 10922.9371 | 6374.7186 | 2735.9848 | 124.58 | 151.67 | 312 | 32.2795 | 206.31 | 160.1
243 | 5 | 39 | 54872.7133 | 10583.0015 | 6480.5475 | 2618.0606 | 124.28 | 147.55 | 309 | 29.173 | 192.02 | 157.06
244 | 5 | 40 | 54854.4969 | 10583.0015 | 6458.6881 | 2618.0606 | 139.6 | 171.02 | 324 | 43.8251 | 231.26 | 144.08
245 | 5 | 41 | 54802.4796 | 10940.0692 | 6422.3867 | 2839.3293 | 127.23 | 154.18 | 336 | 30.7896 | 211.04 | 160.33
246 | 5 | 42 | 54575.7142 | 10403.1319 | 6353.3152 | 2271.4026 | 119.17 | 140.6 | 295 | 26.158 | 181.78 | 158.19
247 | 5 | 43 | 54650.0924 | 10352.7731 | 6336.5753 | 2633.9297 | 128.13 | 155.35 | 345 | 32.1839 | 210.1 | 156.21
248 | 5 | 44 | 54460.5058 | 10583.0015 | 6290.2587 | 2380.7214 | 122.6 | 149.75 | 292 | 31.2243 | 204.39 | 158.24
249 | 5 | 45 | 55005.8582 | 10583.0015 | 6540.5141 | 2380.7214 | 146.28 | 181.93 | 370 | 49.4845 | 253.36 | 147.94
250 | 5 | 46 | 54863.3957 | 10891.9108 | 6446.4765 | 2840.8277 | 146.44 | 179.84 | 356 | 50.6898 | 249.92 | 141.87
251 | 5 | 47 | 55034.2155 | 10922.9371 | 6550.0426 | 2735.9848 | 133.4 | 164.94 | 357 | 36.9744 | 227.36 | 158.83
252 | 5 | 48 | 54753.1126 | 10225.087 | 6445.976 | 2618.0606 | 127.42 | 154.68 | 327 | 31.2535 | 208.11 | 158.15
253 | 5 | 49 | 54730.545 | 10940.0692 | 6491.5036 | 2909.2896 | 149.44 | 190.66 | 371 | 53.2537 | 281.24 | 155.21
254 | 5 | 50 | 55311.2015 | 10922.9371 | 6558.4248 | 2840.8277 | 178.85 | 233.78 | 406 | 79.6098 | 352.99 | 140.28
255 | 5 | 51 | 55153.197 | 10644.0641 | 6589.3586 | 2593.278 | 152.8 | 188.4 | 317 | 56.3717 | 259.52 | 143.34
256 | 6 | 1 | 54534.6203 | 10112.6156 | 6355.4193 | 2207.6571 | 132.89 | 159.22 | 310 | 38.5359 | 212.81 | 156.4
257 | 6 | 2 | 54284.0554 | 10403.1319 | 6301.4163 | 2451.3155 | 121.6 | 144.97 | 316 | 29.0547 | 192.3 | 161.49
258 | 6 | 3 | 54758.1042 | 10583.0015 | 6455.6842 | 2533.0906 | 141.25 | 173.63 | 352 | 46.6951 | 241.42 | 153.08
259 | 6 | 4 | 55042.8709 | 10583.0015 | 6527.1569 | 2533.0906 | 118.62 | 137.93 | 304 | 22.4023 | 176.52 | 167.09
260 | 6 | 5 | 54788.3095 | 10403.1319 | 6414.4498 | 2615.8387 | 119.88 | 140.86 | 315 | 25.5596 | 185.38 | 167.73
261 | 6 | 6 | 54791.0863 | 10227.1668 | 6465.5348 | 2618.0606 | 126.97 | 150.84 | 303 | 32.1668 | 198.32 | 158.74
262 | 6 | 7 | 55007.7062 | 10583.0015 | 6522.0195 | 2618.0606 | 132.54 | 157.15 | 349 | 35.0207 | 206.1 | 156.99
263 | 6 | 8 | 54994.6686 | 10922.9371 | 6473.0453 | 2735.9848 | 135.8 | 164.49 | 353 | 39.1101 | 227.15 | 162.8
264 | 6 | 9 | 54643.042 | 10940.0692 | 6433.8263 | 2839.3293 | 133.41 | 161.8 | 304 | 37.4073 | 219.76 | 159.88
265 | 6 | 10 | 55194.0836 | 10922.9371 | 6616.9974 | 2735.9848 | 129.79 | 157.39 | 348 | 33.7929 | 214.29 | 164.93
266 | 6 | 11 | 54579.0074 | 10583.0015 | 6376.6597 | 2618.0606 | 130.98 | 158.05 | 287 | 36.049 | 211.39 | 155.16
267 | 6 | 12 | 54730.5561 | 10583.0015 | 6470.9653 | 2752.985 | 128.37 | 154.89 | 331 | 32.5128 | 210.66 | 167.83
268 | 6 | 13 | 54678.0722 | 10461.7348 | 6413.3363 | 2561.7167 | 139.88 | 170.41 | 333 | 44.7319 | 233.86 | 155.91
269 | 6 | 14 | 54787.4919 | 10583.0015 | 6446.4241 | 2357.4184 | 128.82 | 153.77 | 329 | 34.3824 | 204.84 | 159.33
270 | 6 | 15 | 54958.6944 | 10922.9371 | 6501.2015 | 2735.9848 | 124.77 | 149.24 | 328 | 29.0254 | 199.34 | 165.17
271 | 6 | 16 | 54958.8625 | 10922.9371 | 6549.073 | 2735.9848 | 133.24 | 160.92 | 354 | 37.4335 | 217.21 | 159.88
272 | 6 | 17 | 54996.3308 | 10922.9371 | 6477.7811 | 2735.9848 | 138.46 | 167.33 | 319 | 43.5413 | 227.4 | 152.45
273 | 6 | 18 | 54741.1435 | 10287.9064 | 6417.9249 | 2533.0906 | 141.59 | 171.04 | 319 | 47.3522 | 238.41 | 159.47
274 | 6 | 19 | 54657.1994 | 10403.1319 | 6359.3601 | 2337.5833 | 120.27 | 144.52 | 294 | 27.5303 | 192.21 | 159.24
275 | 6 | 20 | 54832.5678 | 10403.1319 | 6471.5629 | 2533.0906 | 147.93 | 180.64 | 364 | 52.1197 | 250.87 | 152.61
276 | 6 | 21 | 54789.8342 | 10891.9108 | 6438.5015 | 2840.8277 | 133.37 | 161.64 | 389 | 37.4377 | 219.78 | 158.36
277 | 6 | 22 | 54806.8498 | 10818.5075 | 6444.6055 | 2547.3851 | 121.21 | 143.67 | 309 | 27.3077 | 190.42 | 166.96
278 | 6 | 23 | 54670.5769 | 10583.0015 | 6417.7205 | 2533.0906 | 121.8 | 143.88 | 317 | 27.0641 | 188.81 | 165.22
279 | 6 | 24 | 54673.3998 | 10304.2735 | 6348.5764 | 2618.0606 | 123.64 | 149.49 | 265 | 30.5134 | 202.64 | 164.21
280 | 6 | 25 | 54645.2262 | 10583.0015 | 6380.0181 | 2618.0606 | 133.89 | 159.04 | 311 | 38.9971 | 209.6 | 150.9
281 | 6 | 26 | 54854.5079 | 10922.9371 | 6475.7972 | 2840.8277 | 136.05 | 166.86 | 335 | 41.7347 | 233.1 | 161.06
282 | 6 | 27 | 54673.9761 | 10818.5075 | 6357.1869 | 2547.3851 | 132.56 | 159.94 | 340 | 37.5281 | 218.7 | 158.88
283 | 6 | 28 | 55050.9198 | 10922.9371 | 6599.4941 | 2840.8277 | 165.63 | 206.38 | 389 | 68.4325 | 293.26 | 142.99
284 | 6 | 29 | 54526.1796 | 10940.0692 | 6383.7774 | 2839.3293 | 127.77 | 153.67 | 311 | 33.7297 | 208.39 | 164.95
285 | 6 | 30 | 54289.1365 | 10181.6976 | 6271.7033 | 2533.0906 | 117.06 | 137.65 | 300 | 23.3911 | 179.34 | 166.24
286 | 6 | 31 | 54482.7946 | 10283.2642 | 6294.0109 | 2615.8387 | 126.18 | 151.57 | 314 | 31.7782 | 202.74 | 158.95
287 | 6 | 32 | 55013.8329 | 10922.9371 | 6499.8604 | 2735.9848 | 139.47 | 170.29 | 291 | 45.7873 | 230.54 | 144.11
288 | 6 | 33 | 54675.7574 | 10583.0015 | 6374.885 | 2633.9297 | 131.73 | 159.92 | 301 | 38.0542 | 217.83 | 157.7
289 | 6 | 34 | 54730.7956 | 10922.9371 | 6428.4497 | 2752.985 | 129.86 | 157.29 | 353 | 34.3949 | 215.14 | 162.07
290 | 6 | 35 | 54797.8134 | 10816.6 | 6395.0965 | 2620.1537 | 129.71 | 156.09 | 329 | 35.2436 | 210.56 | 158.31
291 | 6 | 36 | 54932.7541 | 10403.1319 | 6505.835 | 2618.0606 | 144.35 | 179.14 | 313 | 48.9188 | 244.85 | 138.82
292 | 6 | 37 | 54788.4018 | 10583.0015 | 6374.9229 | 2561.7167 | 128.32 | 153.4 | 309 | 34.5223 | 202.13 | 152.78
293 | 6 | 38 | 54578.2694 | 10922.9371 | 6374.7186 | 2735.9848 | 135.24 | 164.89 | 297 | 41.3661 | 223.93 | 151.59
294 | 6 | 39 | 54872.7133 | 10583.0015 | 6480.5475 | 2618.0606 | 127.06 | 152.45 | 330 | 31.4988 | 202.54 | 159.42
295 | 6 | 40 | 54854.4969 | 10583.0015 | 6458.6881 | 2618.0606 | 137.49 | 166.67 | 355 | 40.5 | 222.51 | 149.04
296 | 6 | 41 | 54802.4796 | 10940.0692 | 6422.3867 | 2839.3293 | 138.51 | 167.59 | 313 | 42.5609 | 227.66 | 147.72
297 | 6 | 42 | 54575.7142 | 10403.1319 | 6353.3152 | 2271.4026 | 118.63 | 139.39 | 304 | 24.9367 | 177.37 | 159.04
298 | 6 | 43 | 54650.0924 | 10352.7731 | 6336.5753 | 2633.9297 | 159.89 | 200.96 | 370 | 63.33 | 288 | 136.44
299 | 6 | 44 | 54460.5058 | 10583.0015 | 6290.2587 | 2380.7214 | 132.37 | 163.09 | 276 | 40.6555 | 225.75 | 148.53
300 | 6 | 45 | 55005.8582 | 10583.0015 | 6540.5141 | 2380.7214 | 125.75 | 149.53 | 349 | 28.0758 | 197.08 | 163.92
301 | 6 | 46 | 54863.3957 | 10891.9108 | 6446.4765 | 2840.8277 | 144.17 | 178.91 | 374 | 47.6718 | 251.34 | 148.49
302 | 6 | 47 | 55034.2155 | 10922.9371 | 6550.0426 | 2735.9848 | 133.16 | 161.97 | 383 | 35.5805 | 217.79 | 154.38
303 | 6 | 48 | 54753.1126 | 10225.087 | 6445.976 | 2618.0606 | 139.63 | 170.46 | 372 | 43.1308 | 232.49 | 148.69
304 | 6 | 49 | 54730.545 | 10940.0692 | 6491.5036 | 2909.2896 | 148.33 | 188.29 | 391 | 52.1976 | 274.4 | 153.68
305 | 6 | 50 | 55311.2015 | 10922.9371 | 6558.4248 | 2840.8277 | 151.97 | 192.29 | 426 | 53.0064 | 279.56 | 154.69
306 | 6 | 51 | 55153.197 | 10644.0641 | 6589.3586 | 2593.278 | 140.53 | 170.44 | 334 | 42.7345 | 228.94 | 151.26
307 | 7 | 1 | 54534.6203 | 10112.6156 | 6355.4193 | 2207.6571 | 120.79 | 142.12 | 329 | 26.7609 | 185.06 | 165.63
308 | 7 | 2 | 54284.0554 | 10403.1319 | 6301.4163 | 2451.3155 | 113.76 | 133.66 | 290 | 21.7017 | 175.64 | 170.56
309 | 7 | 3 | 54758.1042 | 10583.0015 | 6455.6842 | 2533.0906 | 137.46 | 168.05 | 324 | 43.3598 | 231.51 | 151.09
310 | 7 | 4 | 55042.8709 | 10583.0015 | 6527.1569 | 2533.0906 | 121.19 | 143.92 | 336 | 25.3036 | 188.41 | 164.46
311 | 7 | 5 | 54788.3095 | 10403.1319 | 6414.4498 | 2615.8387 | 126.55 | 150.56 | 299 | 32.6729 | 199.83 | 159.8
312 | 7 | 6 | 54791.0863 | 10227.1668 | 6465.5348 | 2618.0606 | 118.1 | 138.43 | 305 | 23.101 | 175.8 | 161.61
313 | 7 | 7 | 55007.7062 | 10583.0015 | 6522.0195 | 2618.0606 | 129.15 | 154.24 | 325 | 32.5987 | 201.8 | 151.45
314 | 7 | 8 | 54994.6686 | 10922.9371 | 6473.0453 | 2735.9848 | 133.41 | 162.36 | 306 | 38.5693 | 225.41 | 163.88
315 | 7 | 9 | 54643.042 | 10940.0692 | 6433.8263 | 2839.3293 | 117.99 | 140.74 | 314 | 22.5944 | 188.05 | 172.26
316 | 7 | 10 | 55194.0836 | 10922.9371 | 6616.9974 | 2735.9848 | 132.67 | 161.43 | 323 | 37.5443 | 219.72 | 160.05
317 | 7 | 11 | 54579.0074 | 10583.0015 | 6376.6597 | 2618.0606 | 121.22 | 144.95 | 311 | 26.7371 | 195.33 | 170.36
318 | 7 | 12 | 54730.5561 | 10583.0015 | 6470.9653 | 2752.985 | 148.98 | 183.89 | 343 | 53.6944 | 256.89 | 145.81
319 | 7 | 13 | 54678.0722 | 10461.7348 | 6413.3363 | 2561.7167 | 131.34 | 158.46 | 305 | 37.1407 | 214.48 | 156.36
320 | 7 | 14 | 54787.4919 | 10583.0015 | 6446.4241 | 2357.4184 | 129.21 | 155.12 | 311 | 35.831 | 207.93 | 159.6
321 | 7 | 15 | 54958.6944 | 10922.9371 | 6501.2015 | 2735.9848 | 121.15 | 143.44 | 300 | 26.4784 | 190.56 | 170.12
322 | 7 | 16 | 54958.8625 | 10922.9371 | 6549.073 | 2735.9848 | 119.03 | 141.38 | 323 | 23.9547 | 185.16 | 168.18
323 | 7 | 17 | 54996.3308 | 10922.9371 | 6477.7811 | 2735.9848 | 117.07 | 139.49 | 326 | 22.376 | 183.63 | 165.62
324 | 7 | 18 | 54741.1435 | 10287.9064 | 6417.9249 | 2533.0906 | 113.91 | 132.9 | 310 | 19.1209 | 172.87 | 173.33
325 | 7 | 19 | 54657.1994 | 10403.1319 | 6359.3601 | 2337.5833 | 126.36 | 153.01 | 285 | 33.6485 | 204.31 | 153.72
326 | 7 | 20 | 54832.5678 | 10403.1319 | 6471.5629 | 2533.0906 | 124.71 | 148.68 | 335 | 29.0081 | 196.2 | 164.32
327 | 7 | 21 | 54789.8342 | 10891.9108 | 6438.5015 | 2840.8277 | 147.26 | 182.75 | 328 | 52.1659 | 256.42 | 147.51
328 | 7 | 22 | 54806.8498 | 10818.5075 | 6444.6055 | 2547.3851 | 117.84 | 139.63 | 286 | 24.5565 | 183.98 | 165.81
329 | 7 | 23 | 54670.5769 | 10583.0015 | 6417.7205 | 2533.0906 | 118.73 | 140.55 | 293 | 24.1253 | 184.25 | 165
330 | 7 | 24 | 54673.3998 | 10304.2735 | 6348.5764 | 2618.0606 | 119.4 | 143.89 | 275 | 26.5023 | 193.37 | 165.57
331 | 7 | 25 | 54645.2262 | 10583.0015 | 6380.0181 | 2618.0606 | 120.26 | 141.46 | 300 | 26.4404 | 182.96 | 159.65
332 | 7 | 26 | 54854.5079 | 10922.9371 | 6475.7972 | 2840.8277 | 141.35 | 174.12 | 309 | 47.4414 | 244.64 | 155.96
333 | 7 | 27 | 54673.9761 | 10818.5075 | 6357.1869 | 2547.3851 | 121 | 142.98 | 292 | 26.6483 | 189.49 | 167.52
334 | 7 | 28 | 55050.9198 | 10922.9371 | 6599.4941 | 2840.8277 | 160.89 | 201.96 | 370 | 64.0974 | 290.31 | 144.27
335 | 7 | 29 | 54526.1796 | 10940.0692 | 6383.7774 | 2839.3293 | 124.98 | 149.52 | 279 | 32.179 | 201.34 | 163.54
336 | 7 | 30 | 54289.1365 | 10181.6976 | 6271.7033 | 2533.0906 | 112.52 | 131.85 | 276 | 19.6656 | 169.65 | 167.04
337 | 7 | 31 | 54482.7946 | 10283.2642 | 6294.0109 | 2615.8387 | 129.25 | 156.92 | 329 | 34.9108 | 213.65 | 156.59
338 | 7 | 32 | 55013.8329 | 10922.9371 | 6499.8604 | 2735.9848 | 127.06 | 157.19 | 269 | 33.9548 | 218.37 | 163.29
339 | 7 | 33 | 54675.7574 | 10583.0015 | 6374.885 | 2633.9297 | 129.65 | 157.58 | 300 | 36.6113 | 212.48 | 152.72
340 | 7 | 34 | 54730.7956 | 10922.9371 | 6428.4497 | 2752.985 | 129.33 | 158 | 316 | 34.8769 | 220.47 | 167.8
341 | 7 | 35 | 54797.8134 | 10816.6 | 6395.0965 | 2620.1537 | 122.43 | 147.35 | 284 | 28.4509 | 199.08 | 167.09
342 | 7 | 36 | 54932.7541 | 10403.1319 | 6505.835 | 2618.0606 | 134.14 | 163.43 | 352 | 37.8513 | 216.96 | 147.68
343 | 7 | 37 | 54788.4018 | 10583.0015 | 6374.9229 | 2561.7167 | 114.34 | 134.21 | 272 | 21.3964 | 171.22 | 160.12
344 | 7 | 38 | 54578.2694 | 10922.9371 | 6374.7186 | 2735.9848 | 127.17 | 154.33 | 275 | 34.7043 | 209.99 | 159.28
345 | 7 | 39 | 54872.7133 | 10583.0015 | 6480.5475 | 2618.0606 | 124.87 | 147.54 | 317 | 29.5385 | 194.14 | 166
346 | 7 | 40 | 54854.4969 | 10583.0015 | 6458.6881 | 2618.0606 | 125.25 | 150.19 | 343 | 29.61 | 199.48 | 161.47
347 | 7 | 41 | 54802.4796 | 10940.0692 | 6422.3867 | 2839.3293 | 137.81 | 169.37 | 327 | 41.3095 | 237.33 | 156.64
348 | 7 | 42 | 54575.7142 | 10403.1319 | 6353.3152 | 2271.4026 | 123.17 | 146.81 | 278 | 30.0887 | 193.4 | 158.65
349 | 7 | 43 | 54650.0924 | 10352.7731 | 6336.5753 | 2633.9297 | 130.35 | 158.79 | 311 | 35.0823 | 215.7 | 153.67
350 | 7 | 44 | 54460.5058 | 10583.0015 | 6290.2587 | 2380.7214 | 142.43 | 180.47 | 259 | 51.622 | 259.78 | 142.43
351 | 7 | 45 | 55005.8582 | 10583.0015 | 6540.5141 | 2380.7214 | 119.9 | 142.11 | 334 | 23.1619 | 184.26 | 164.23
352 | 7 | 46 | 54863.3957 | 10891.9108 | 6446.4765 | 2840.8277 | 137.34 | 169.81 | 348 | 41.3103 | 238.83 | 157.71
353 | 7 | 47 | 55034.2155 | 10922.9371 | 6550.0426 | 2735.9848 | 134.64 | 162.88 | 349 | 37.3609 | 216.94 | 152.67
354 | 7 | 48 | 54753.1126 | 10225.087 | 6445.976 | 2618.0606 | 134.39 | 163.59 | 324 | 38.8615 | 223.18 | 153.71
355 | 7 | 49 | 54730.545 | 10940.0692 | 6491.5036 | 2909.2896 | 151.96 | 192.27 | 347 | 55.3006 | 277.49 | 147
356 | 7 | 50 | 55311.2015 | 10922.9371 | 6558.4248 | 2840.8277 | 152.29 | 192.13 | 396 | 53.7389 | 275.41 | 144.82
357 | 7 | 51 | 55153.197 | 10644.0641 | 6589.3586 | 2593.278 | 131.02 | 156.71 | 313 | 34.0323 | 207.77 | 161.22
358 | 8 | 1 | 54534.6203 | 10112.6156 | 6355.4193 | 2207.6571 | 126.06 | 151.21 | 381 | 30.8014 | 203.15 | 166.73
359 | 8 | 2 | 54284.0554 | 10403.1319 | 6301.4163 | 2451.3155 | 110.75 | 128.7 | 305 | 18.4647 | 165.53 | 172.86
360 | 8 | 3 | 54758.1042 | 10583.0015 | 6455.6842 | 2533.0906 | 128.61 | 155.38 | 330 | 34.8677 | 212.29 | 161.93
361 | 8 | 4 | 55042.8709 | 10583.0015 | 6527.1569 | 2533.0906 | 121.3 | 144.17 | 339 | 25.2307 | 187.63 | 163.25
362 | 8 | 5 | 54788.3095 | 10403.1319 | 6414.4498 | 2615.8387 | 116.7 | 136.51 | 348 | 22.2263 | 176.22 | 166.67
363 | 8 | 6 | 54791.0863 | 10227.1668 | 6465.5348 | 2618.0606 | 118.85 | 140.7 | 285 | 23.7419 | 183.59 | 166.91
364 | 8 | 7 | 55007.7062 | 10583.0015 | 6522.0195 | 2618.0606 | 125.02 | 148.83 | 338 | 28.3469 | 198.3 | 167.82
365 | 8 | 8 | 54994.6686 | 10922.9371 | 6473.0453 | 2735.9848 | 134.86 | 163.1 | 355 | 39.095 | 225.02 | 163.38
366 | 8 | 9 | 54643.042 | 10940.0692 | 6433.8263 | 2839.3293 | 129.86 | 155.65 | 361 | 34.1949 | 208.17 | 161.28
367 | 8 | 10 | 55194.0836 | 10922.9371 | 6616.9974 | 2735.9848 | 143.46 | 176.92 | 327 | 48.0585 | 246.83 | 154.01
368 | 8 | 11 | 54579.0074 | 10583.0015 | 6376.6597 | 2618.0606 | 121.95 | 146.44 | 314 | 26.9868 | 196.92 | 167.46
369 | 8 | 12 | 54730.5561 | 10583.0015 | 6470.9653 | 2752.985 | 129.21 | 156.39 | 317 | 34.6594 | 214.33 | 163.78
370 | 8 | 13 | 54678.0722 | 10461.7348 | 6413.3363 | 2561.7167 | 135.91 | 167.45 | 351 | 40.7132 | 231.98 | 156.61
371 | 8 | 14 | 54787.4919 | 10583.0015 | 6446.4241 | 2357.4184 | 128.49 | 154.37 | 326 | 34.5634 | 208.14 | 157.99
372 | 8 | 15 | 54958.6944 | 10922.9371 | 6501.2015 | 2735.9848 | 121 | 143.7 | 331 | 24.9546 | 190.35 | 169.63
373 | 8 | 16 | 54958.8625 | 10922.9371 | 6549.073 | 2735.9848 | 123.65 | 148.27 | 356 | 28.0013 | 196.32 | 165.18
374 | 8 | 17 | 54996.3308 | 10922.9371 | 6477.7811 | 2735.9848 | 132.71 | 161.1 | 322 | 37.3667 | 219.12 | 156.82
375 | 8 | 18 | 54741.1435 | 10287.9064 | 6417.9249 | 2533.0906 | 120.18 | 141.41 | 327 | 26.2455 | 186.05 | 165.89
376 | 8 | 19 | 54657.1994 | 10403.1319 | 6359.3601 | 2337.5833 | 112.61 | 133.36 | 308 | 19.2437 | 172.76 | 167.83
377 | 8 | 20 | 54832.5678 | 10403.1319 | 6471.5629 | 2533.0906 | 127.81 | 152.95 | 367 | 32.3274 | 202.84 | 159.31
378 | 8 | 21 | 54789.8342 | 10891.9108 | 6438.5015 | 2840.8277 | 127.84 | 152.91 | 361 | 31.4494 | 204.68 | 163.62
379 | 8 | 22 | 54806.8498 | 10818.5075 | 6444.6055 | 2547.3851 | 119.08 | 142.3 | 297 | 25.8668 | 189.59 | 169.09
380 | 8 | 23 | 54670.5769 | 10583.0015 | 6417.7205 | 2533.0906 | 115.92 | 135.36 | 308 | 21.463 | 177.09 | 172.28
381 | 8 | 24 | 54673.3998 | 10304.2735 | 6348.5764 | 2618.0606 | 121.27 | 145.06 | 279 | 28.2427 | 193.31 | 160.56
382 | 8 | 25 | 54645.2262 | 10583.0015 | 6380.0181 | 2618.0606 | 122.62 | 145.86 | 342 | 28.7257 | 193.85 | 165.32
383 | 8 | 26 | 54854.5079 | 10922.9371 | 6475.7972 | 2840.8277 | 132.79 | 162.79 | 367 | 38.3909 | 227.19 | 165.25
384 | 8 | 27 | 54673.9761 | 10818.5075 | 6357.1869 | 2547.3851 | 119.44 | 142.55 | 346 | 24.8192 | 189.92 | 167.47
385 | 8 | 28 | 55050.9198 | 10922.9371 | 6599.4941 | 2840.8277 | 142.39 | 176.45 | 400 | 44.6795 | 247.3 | 160.4
386 | 8 | 29 | 54526.1796 | 10940.0692 | 6383.7774 | 2839.3293 | 124.19 | 148.41 | 317 | 30.5511 | 196.47 | 160.96
387 | 8 | 30 | 54289.1365 | 10181.6976 | 6271.7033 | 2533.0906 | 103.82 | 119.85 | 319 | 9.924 | 152.56 | 180.84
388 | 8 | 31 | 54482.7946 | 10283.2642 | 6294.0109 | 2615.8387 | 119.54 | 142.79 | 323 | 24.5653 | 192.21 | 171.35
389 | 8 | 32 | 55013.8329 | 10922.9371 | 6499.8604 | 2735.9848 | 127.42 | 157.65 | 307 | 33.2625 | 221.15 | 168.35
390 | 8 | 33 | 54675.7574 | 10583.0015 | 6374.885 | 2633.9297 | 111.17 | 132.03 | 295 | 18.0714 | 172.91 | 171.77
391 | 8 | 34 | 54730.7956 | 10922.9371 | 6428.4497 | 2752.985 | 131.11 | 162.19 | 344 | 36.3038 | 229.13 | 166.36
392 | 8 | 35 | 54797.8134 | 10816.6 | 6395.0965 | 2620.1537 | 118.54 | 141.27 | 342 | 23.8908 | 185.93 | 166.26
393 | 8 | 36 | 54932.7541 | 10403.1319 | 6505.835 | 2618.0606 | 133.4 | 163.53 | 369 | 37.4531 | 220.54 | 150.21
394 | 8 | 37 | 54788.4018 | 10583.0015 | 6374.9229 | 2561.7167 | 114.86 | 135.61 | 321 | 20.8181 | 176.27 | 166.01
395 | 8 | 38 | 54578.2694 | 10922.9371 | 6374.7186 | 2735.9848 | 117.23 | 140.19 | 315 | 23.757 | 187.24 | 171.22
396 | 8 | 39 | 54872.7133 | 10583.0015 | 6480.5475 | 2618.0606 | 119.84 | 141.6 | 330 | 24.4897 | 184.53 | 166.84
397 | 8 | 40 | 54854.4969 | 10583.0015 | 6458.6881 | 2618.0606 | 121.36 | 144.47 | 355 | 24.9201 | 189.79 | 165.31
398 | 8 | 41 | 54802.4796 | 10940.0692 | 6422.3867 | 2839.3293 | 132.45 | 159.5 | 349 | 35.9446 | 217.46 | 160.25
399 | 8 | 42 | 54575.7142 | 10403.1319 | 6353.3152 | 2271.4026 | 123.46 | 147.6 | 296 | 29.1391 | 194.17 | 156.47
400 | 8 | 43 | 54650.0924 | 10352.7731 | 6336.5753 | 2633.9297 | 131.38 | 160.69 | 349 | 36.2669 | 219.06 | 151.26
401 | 8 | 44 | 54460.5058 | 10583.0015 | 6290.2587 | 2380.7214 | 129.96 | 158.74 | 277 | 38.337 | 218.18 | 150.97
402 | 8 | 45 | 55005.8582 | 10583.0015 | 6540.5141 | 2380.7214 | 127.16 | 154.49 | 363 | 30.267 | 209.81 | 164.97
403 | 8 | 46 | 54863.3957 | 10891.9108 | 6446.4765 | 2840.8277 | 131.16 | 158.05 | 354 | 34.8864 | 214.85 | 161.59
404 | 8 | 47 | 55034.2155 | 10922.9371 | 6550.0426 | 2735.9848 | 123.81 | 149.01 | 358 | 26.4062 | 198.73 | 165.29
405 | 8 | 48 | 54753.1126 | 10225.087 | 6445.976 | 2618.0606 | 121.09 | 144.53 | 342 | 25.6231 | 190.09 | 161.49
406 | 8 | 49 | 54730.545 | 10940.0692 | 6491.5036 | 2909.2896 | 138 | 171.46 | 332 | 42.1219 | 241.62 | 155.84
407 | 8 | 50 | 55311.2015 | 10922.9371 | 6558.4248 | 2840.8277 | 152.98 | 192.55 | 418 | 54.6545 | 275.71 | 145.44
408 | 8 | 51 | 55153.197 | 10644.0641 | 6589.3586 | 2593.278 | 125.97 | 150.9 | 343 | 28.8817 | 197.93 | 159.74
409 | 9 | 1 | 54534.6203 | 10112.6156 | 6355.4193 | 2207.6571 | 118.52 | 139.07 | 298 | 24.337 | 182.7 | 171.63
410 | 9 | 2 | 54284.0554 | 10403.1319 | 6301.4163 | 2451.3155 | 111.93 | 131.43 | 298 | 19.12 | 172.67 | 175.22
411 | 9 | 3 | 54758.1042 | 10583.0015 | 6455.6842 | 2533.0906 | 134.29 | 163.23 | 351 | 39.3945 | 224.89 | 159.14
412 | 9 | 4 | 55042.8709 | 10583.0015 | 6527.1569 | 2533.0906 | 119.47 | 141.2 | 326 | 23.2368 | 184.45 | 168.44
413 | 9 | 5 | 54788.3095 | 10403.1319 | 6414.4498 | 2615.8387 | 119.15 | 141.09 | 304 | 25.1883 | 184.3 | 162.34
414 | 9 | 6 | 54791.0863 | 10227.1668 | 6465.5348 | 2618.0606 | 113.32 | 131.98 | 291 | 18.2407 | 165.86 | 165.55
415 | 9 | 7 | 55007.7062 | 10583.0015 | 6522.0195 | 2618.0606 | 122.99 | 145.04 | 349 | 26.2368 | 189.32 | 164.43
416 | 9 | 8 | 54994.6686 | 10922.9371 | 6473.0453 | 2735.9848 | 134.02 | 163.09 | 347 | 38.3835 | 227.66 | 165.52
417 | 9 | 9 | 54643.042 | 10940.0692 | 6433.8263 | 2839.3293 | 120.74 | 144.08 | 330 | 25.6481 | 191.25 | 164.67
418 | 9 | 10 | 55194.0836 | 10922.9371 | 6616.9974 | 2735.9848 | 118.56 | 141.58 | 302 | 23.8642 | 189.34 | 171.87
419 | 9 | 11 | 54579.0074 | 10583.0015 | 6376.6597 | 2618.0606 | 131.7 | 160.87 | 291 | 37.6217 | 222.98 | 161.86
420 | 9 | 12 | 54730.5561 | 10583.0015 | 6470.9653 | 2752.985 | 119.32 | 142.51 | 333 | 24.5561 | 190.73 | 170.44
421 | 9 | 13 | 54678.0722 | 10461.7348 | 6413.3363 | 2561.7167 | 119.46 | 141.93 | 342 | 24.5104 | 187.01 | 166.19
422 | 9 | 14 | 54787.4919 | 10583.0015 | 6446.4241 | 2357.4184 | 123.39 | 147.89 | 319 | 29.3833 | 199.12 | 165.76
423 | 9 | 15 | 54958.6944 | 10922.9371 | 6501.2015 | 2735.9848 | 121.61 | 143.18 | 298 | 26.5271 | 187.27 | 167.37
424 | 9 | 16 | 54958.8625 | 10922.9371 | 6549.073 | 2735.9848 | 128.25 | 153.78 | 351 | 32.8774 | 205.48 | 162.97
425 | 9 | 17 | 54996.3308 | 10922.9371 | 6477.7811 | 2735.9848 | 130.19 | 158.74 | 333 | 34.835 | 218 | 160.28
426 | 9 | 18 | 54741.1435 | 10287.9064 | 6417.9249 | 2533.0906 | 123.87 | 147.2 | 296 | 30.3667 | 199.29 | 169.34
427 | 9 | 19 | 54657.1994 | 10403.1319 | 6359.3601 | 2337.5833 | 110.88 | 130.84 | 298 | 17.4833 | 168.98 | 170.4
428 | 9 | 20 | 54832.5678 | 10403.1319 | 6471.5629 | 2533.0906 | 122.73 | 146.25 | 326 | 27.4774 | 196.45 | 172.5
429 | 9 | 21 | 54789.8342 | 10891.9108 | 6438.5015 | 2840.8277 | 127.64 | 152.93 | 315 | 32.6712 | 205.66 | 163.86
430 | 9 | 22 | 54806.8498 | 10818.5075 | 6444.6055 | 2547.3851 | 112.61 | 132.52 | 322 | 19.0024 | 172.62 | 172.13
431 | 9 | 23 | 54670.5769 | 10583.0015 | 6417.7205 | 2533.0906 | 113.46 | 133.77 | 275 | 19.245 | 176.59 | 173.61
432 | 9 | 24 | 54673.3998 | 10304.2735 | 6348.5764 | 2618.0606 | 114.1 | 136.29 | 261 | 20.849 | 180.32 | 169.07
433 | 9 | 25 | 54645.2262 | 10583.0015 | 6380.0181 | 2618.0606 | 121.16 | 142.8 | 307 | 26.5839 | 189.61 | 168.57
434 | 9 | 26 | 54854.5079 | 10922.9371 | 6475.7972 | 2840.8277 | 133.19 | 161.93 | 313 | 39.1375 | 222.42 | 158.95
435 | 9 | 27 | 54673.9761 | 10818.5075 | 6357.1869 | 2547.3851 | 119.55 | 142.64 | 327 | 24.6318 | 192.42 | 171.95
436 | 9 | 28 | 55050.9198 | 10922.9371 | 6599.4941 | 2840.8277 | 149.7 | 186.59 | 368 | 51.8851 | 265.81 | 155.62
437 | 9 | 29 | 54526.1796 | 10940.0692 | 6383.7774 | 2839.3293 | 113.8 | 134.5 | 312 | 19.5894 | 177 | 173.39
438 | 9 | 30 | 54289.1365 | 10181.6976 | 6271.7033 | 2533.0906 | 112.5 | 131.55 | 281 | 19.005 | 170.97 | 173.22
439 | 9 | 31 | 54482.7946 | 10283.2642 | 6294.0109 | 2615.8387 | 119.83 | 142.49 | 290 | 25.4654 | 188.56 | 165.92
440 | 9 | 32 | 55013.8329 | 10922.9371 | 6499.8604 | 2735.9848 | 126.18 | 154.57 | 290 | 31.9891 | 213.67 | 167.51
441 | 9 | 33 | 54675.7574 | 10583.0015 | 6374.885 | 2633.9297 | 129.93 | 158.41 | 281 | 36.4861 | 219.15 | 160.78
442 | 9 | 34 | 54730.7956 | 10922.9371 | 6428.4497 | 2752.985 | 128.38 | 156.45 | 315 | 33.4497 | 216.38 | 165.68
443 | 9 | 35 | 54797.8134 | 10816.6 | 6395.0965 | 2620.1537 | 128.01 | 153.79 | 299 | 34.5099 | 203.87 | 153.83
444 | 9 | 36 | 54932.7541 | 10403.1319 | 6505.835 | 2618.0606 | 127.41 | 155.56 | 305 | 31.9522 | 210.59 | 159.49
445 | 9 | 37 | 54788.4018 | 10583.0015 | 6374.9229 | 2561.7167 | 117.43 | 138.84 | 304 | 23.9167 | 182.35 | 167.77
446 | 9 | 38 | 54578.2694 | 10922.9371 | 6374.7186 | 2735.9848 | 123.46 | 148.6 | 292 | 31.0483 | 199.77 | 161.62
447 | 9 | 39 | 54872.7133 | 10583.0015 | 6480.5475 | 2618.0606 | 122.28 | 144.5 | 296 | 26.9063 | 189.7 | 165.33
448 | 9 | 40 | 54854.4969 | 10583.0015 | 6458.6881 | 2618.0606 | 130.09 | 158.11 | 344 | 33.8856 | 214.23 | 158.65
449 | 9 | 41 | 54802.4796 | 10940.0692 | 6422.3867 | 2839.3293 | 140.18 | 172.35 | 354 | 43.2838 | 241.69 | 154.18
450 | 9 | 42 | 54575.7142 | 10403.1319 | 6353.3152 | 2271.4026 | 115.91 | 137.31 | 298 | 22.0932 | 178.92 | 165.32
451 | 9 | 43 | 54650.0924 | 10352.7731 | 6336.5753 | 2633.9297 | 131.76 | 159.99 | 316 | 35.9075 | 219.59 | 161.35
452 | 9 | 44 | 54460.5058 | 10583.0015 | 6290.2587 | 2380.7214 | 120.72 | 147.43 | 277 | 29.079 | 202.35 | 161.5
453 | 9 | 45 | 55005.8582 | 10583.0015 | 6540.5141 | 2380.7214 | 122.37 | 146.48 | 338 | 25.3288 | 194.52 | 168.86
454 | 9 | 46 | 54863.3957 | 10891.9108 | 6446.4765 | 2840.8277 | 130.28 | 158.77 | 351 | 33.9761 | 219.87 | 162.63
455 | 9 | 47 | 55034.2155 | 10922.9371 | 6550.0426 | 2735.9848 | 137.68 | 170.71 | 348 | 40.6751 | 238.31 | 155.94
456 | 9 | 48 | 54753.1126 | 10225.087 | 6445.976 | 2618.0606 | 134.19 | 163.01 | 344 | 37.8294 | 221.51 | 155.43
457 | 9 | 49 | 54730.545 | 10940.0692 | 6491.5036 | 2909.2896 | 161.55 | 208.72 | 373 | 66.0048 | 311.89 | 143.18
458 | 9 | 50 | 55311.2015 | 10922.9371 | 6558.4248 | 2840.8277 | 166.25 | 214.39 | 381 | 67.728 | 317.56 | 142.18
459 | 9 | 51 | 55153.197 | 10644.0641 | 6589.3586 | 2593.278 | 142.98 | 175.42 | 376 | 45.3986 | 240.24 | 154.54
460 | 10 | 1 | 54534.6203 | 10112.6156 | 6355.4193 | 2207.6571 | 116.47 | 136.46 | 302 | 22.5842 | 176.25 | 168.83
461 | 10 | 2 | 54284.0554 | 10403.1319 | 6301.4163 | 2451.3155 | 122.63 | 145.41 | 289 | 30.9345 | 193.67 | 162.8
462 | 10 | 3 | 54758.1042 | 10583.0015 | 6455.6842 | 2533.0906 | 136.4 | 164.86 | 331 | 41.7974 | 225.4 | 156.66
463 | 10 | 4 | 55042.8709 | 10583.0015 | 6527.1569 | 2533.0906 | 121.47 | 144.24 | 318 | 25.9224 | 188.8 | 165.16
464 | 10 | 5 | 54788.3095 | 10403.1319 | 6414.4498 | 2615.8387 | 128.47 | 151.99 | 307 | 34.5414 | 200.9 | 156.7
465 | 10 | 6 | 54791.0863 | 10227.1668 | 6465.5348 | 2618.0606 | 128.51 | 151.95 | 296 | 33.6163 | 199.34 | 159.29
466 | 10 | 7 | 55007.7062 | 10583.0015 | 6522.0195 | 2618.0606 | 123.61 | 145.21 | 313 | 26.8408 | 189.01 | 165.64
467 | 10 | 8 | 54994.6686 | 10922.9371 | 6473.0453 | 2735.9848 | 147.09 | 177.16 | 353 | 50.9569 | 242.22 | 150.09
468 | 10 | 9 | 54643.042 | 10940.0692 | 6433.8263 | 2839.3293 | 129.97 | 156.04 | 316 | 34.7899 | 211.29 | 161.83
469 | 10 | 10 | 55194.0836 | 10922.9371 | 6616.9974 | 2735.9848 | 129.95 | 155.91 | 345 | 34.4728 | 207.91 | 158.07
470 | 10 | 11 | 54579.0074 | 10583.0015 | 6376.6597 | 2618.0606 | 124.97 | 150.38 | 292 | 30.7497 | 205.93 | 170.26
471 | 10 | 12 | 54730.5561 | 10583.0015 | 6470.9653 | 2752.985 | 132.57 | 161.19 | 321 | 37.2979 | 223.72 | 166.19
472 | 10 | 13 | 54678.0722 | 10461.7348 | 6413.3363 | 2561.7167 | 120.03 | 141.44 | 311 | 25.9838 | 188.22 | 172.24
473 | 10 | 14 | 54787.4919 | 10583.0015 | 6446.4241 | 2357.4184 | 139.3 | 166.97 | 311 | 45.1848 | 227.56 | 154.37
474 | 10 | 15 | 54958.6944 | 10922.9371 | 6501.2015 | 2735.9848 | 128 | 151.37 | 341 | 33.7403 | 198.38 | 155.9
475 | 10 | 16 | 54958.8625 | 10922.9371 | 6549.073 | 2735.9848 | 139.77 | 170.57 | 350 | 44.4196 | 233.91 | 154.2
476 | 10 | 17 | 54996.3308 | 10922.9371 | 6477.7811 | 2735.9848 | 126.3 | 149.7 | 313 | 32.0028 | 198.25 | 160.8
477 | 10 | 18 | 54741.1435 | 10287.9064 | 6417.9249 | 2533.0906 | 114.93 | 133.5 | 297 | 20.9599 | 173.41 | 172.93
478 | 10 | 19 | 54657.1994 | 10403.1319 | 6359.3601 | 2337.5833 | 115.44 | 137.62 | 280 | 23.0434 | 180.11 | 163.63
479 | 10 | 20 | 54832.5678 | 10403.1319 | 6471.5629 | 2533.0906 | 127.65 | 151.55 | 344 | 32.3662 | 201.56 | 163.3
480 | 10 | 21 | 54789.8342 | 10891.9108 | 6438.5015 | 2840.8277 | 129.15 | 155.46 | 336 | 33.9625 | 209.8 | 161.45
481 | 10 | 22 | 54806.8498 | 10818.5075 | 6444.6055 | 2547.3851 | 125.36 | 148.91 | 290 | 31.708 | 201.02 | 168.18
482 | 10 | 23 | 54670.5769 | 10583.0015 | 6417.7205 | 2533.0906 | 117.77 | 136.9 | 320 | 23.147 | 177.33 | 170.45
483 | 10 | 24 | 54673.3998 | 10304.2735 | 6348.5764 | 2618.0606 | 119.47 | 143.6 | 278 | 27.2624 | 191.61 | 161
484 | 10 | 25 | 54645.2262 | 10583.0015 | 6380.0181 | 2618.0606 | 123.54 | 145.89 | 323 | 29.1227 | 192.76 | 164.54
485 | 10 | 26 | 54854.5079 | 10922.9371 | 6475.7972 | 2840.8277 | 132.33 | 159.37 | 316 | 37.8147 | 221.6 | 168.59
486 | 10 | 27 | 54673.9761 | 10818.5075 | 6357.1869 | 2547.3851 | 124.87 | 147.39 | 332 | 31.0409 | 196.23 | 166.78
487 | 10 | 28 | 55050.9198 | 10922.9371 | 6599.4941 | 2840.8277 | 145.79 | 180.97 | 375 | 48.1995 | 258.3 | 165.35
488 | 10 | 29 | 54526.1796 | 10940.0692 | 6383.7774 | 2839.3293 | 140.78 | 174.08 | 313 | 47.6317 | 244.02 | 149.27
489 | 10 | 30 | 54289.1365 | 10181.6976 | 6271.7033 | 2533.0906 | 116.86 | 136.71 | 313 | 23.2888 | 178.47 | 169.31
490 | 10 | 31 | 54482.7946 | 10283.2642 | 6294.0109 | 2615.8387 | 121.98 | 145.65 | 308 | 28.1454 | 195.27 | 164.7
491 | 10 | 32 | 55013.8329 | 10922.9371 | 6499.8604 | 2735.9848 | 119.75 | 143.58 | 306 | 25.3777 | 191.7 | 167.91
492 | 10 | 33 | 54675.7574 | 10583.0015 | 6374.885 | 2633.9297 | 106.75 | 125.08 | 279 | 13.9736 | 160.89 | 174.11
493 | 10 | 34 | 54730.7956 | 10922.9371 | 6428.4497 | 2752.985 | 137.14 | 166.68 | 332 | 42.803 | 229.47 | 155.79
494 | 10 | 35 | 54797.8134 | 10816.6 | 6395.0965 | 2620.1537 | 119.14 | 140.58 | 310 | 25.7909 | 184.96 | 165.48
495 | 10 | 36 | 54932.7541 | 10403.1319 | 6505.835 | 2618.0606 | 123.79 | 148.02 | 309 | 28.0996 | 194.95 | 162.27
496 | 10 | 37 | 54788.4018 | 10583.0015 | 6374.9229 | 2561.7167 | 113.05 | 133.08 | 294 | 20.0548 | 173.43 | 167.68
497 | 10 | 38 | 54578.2694 | 10922.9371 | 6374.7186 | 2735.9848 | 128.44 | 155.78 | 281 | 35.525 | 211.64 | 159.76
498 | 10 | 39 | 54872.7133 | 10583.0015 | 6480.5475 | 2618.0606 | 137.46 | 165.4 | 317 | 42.6897 | 222.09 | 150.71
499 | 10 | 40 | 54854.4969 | 10583.0015 | 6458.6881 | 2618.0606 | 130.09 | 157.25 | 335 | 34.3516 | 212.54 | 160.44
500 | 10 | 41 | 54802.4796 | 10940.0692 | 6422.3867 | 2839.3293 | 132.1 | 158.81 | 330 | 35.8996 | 215.77 | 159.6
501 | 10 | 42 | 54575.7142 | 10403.1319 | 6353.3152 | 2271.4026 | 128.08 | 152.29 | 288 | 34.9157 | 202.03 | 157.74
502 | 10 | 43 | 54650.0924 | 10352.7731 | 6336.5753 | 2633.9297 | 130.41 | 156.67 | 327 | 34.9528 | 212.14 | 159.16
503 | 10 | 44 | 54460.5058 | 10583.0015 | 6290.2587 | 2380.7214 | 119.12 | 142.27 | 277 | 27.4157 | 189.11 | 159.25
504 | 10 | 45 | 55005.8582 | 10583.0015 | 6540.5141 | 2380.7214 | 121.56 | 145.27 | 360 | 24.5388 | 191.27 | 167.15
505 | 10 | 46 | 54863.3957 | 10891.9108 | 6446.4765 | 2840.8277 | 132.56 | 161 | 349 | 36.1781 | 223.69 | 164.55
506 | 10 | 47 | 55034.2155 | 10922.9371 | 6550.0426 | 2735.9848 | 145.63 | 180.68 | 367 | 48.5613 | 254.2 | 156.4
507 | 10 | 48 | 54753.1126 | 10225.087 | 6445.976 | 2618.0606 | 139.91 | 169.68 | 320 | 44.1775 | 231.72 | 149.59
508 | 10 | 49 | 54730.545 | 10940.0692 | 6491.5036 | 2909.2896 | 132.39 | 164.41 | 340 | 36.7565 | 232.08 | 161.15
509 | 10 | 50 | 55311.2015 | 10922.9371 | 6558.4248 | 2840.8277 | 163.11 | 208.89 | 379 | 64.4711 | 304.34 | 138.33
510 | 10 | 51 | 55153.197 | 10644.0641 | 6589.3586 | 2593.278 | 142.68 | 174.24 | 337 | 46.1371 | 237.77 | 153.54
511 | 11 | 1 | 54534.6203 | 10112.6156 | 6355.4193 | 2207.6571 | 139.05 | 168.97 | 323 | 45.3041 | 231.83 | 152.42
512 | 11 | 2 | 54284.0554 | 10403.1319 | 6301.4163 | 2451.3155 | 116.64 | 138.6 | 304 | 24.7659 | 185.7 | 170.75
513 | 11 | 3 | 54758.1042 | 10583.0015 | 6455.6842 | 2533.0906 | 131.68 | 160.6 | 358 | 37.1772 | 221.48 | 160.31
514 | 11 | 4 | 55042.8709 | 10583.0015 | 6527.1569 | 2533.0906 | 124.5 | 148.75 | 339 | 28.7275 | 194.46 | 156.71
515 | 11 | 5 | 54788.3095 | 10403.1319 | 6414.4498 | 2615.8387 | 119.55 | 142.53 | 329 | 25.5215 | 188.42 | 165.19
516 | 11 | 6 | 54791.0863 | 10227.1668 | 6465.5348 | 2618.0606 | 122.22 | 145.67 | 288 | 27.6799 | 188.77 | 155.73
517 | 11 | 7 | 55007.7062 | 10583.0015 | 6522.0195 | 2618.0606 | 130.29 | 155.41 | 356 | 33.2133 | 206.23 | 160.74
518 | 11 | 8 | 54994.6686 | 10922.9371 | 6473.0453 | 2735.9848 | 139.88 | 167.41 | 334 | 44.5131 | 224.41 | 150.62
519 | 11 | 9 | 54643.042 | 10940.0692 | 6433.8263 | 2839.3293 | 129.09 | 155.92 | 334 | 33.9368 | 213.73 | 166.34
520 | 11 | 10 | 55194.0836 | 10922.9371 | 6616.9974 | 2735.9848 | 143.96 | 179.35 | 327 | 49.3259 | 252.15 | 155.13
521 | 11 | 11 | 54579.0074 | 10583.0015 | 6376.6597 | 2618.0606 | 126.05 | 150.27 | 319 | 31.3632 | 202.41 | 164.95
522 | 11 | 12 | 54730.5561 | 10583.0015 | 6470.9653 | 2752.985 | 123.18 | 147.64 | 324 | 28.2213 | 198.43 | 167.25
523 | 11 | 13 | 54678.0722 | 10461.7348 | 6413.3363 | 2561.7167 | 128.05 | 152.47 | 344 | 33.5958 | 203.68 | 160.22
524 | 11 | 14 | 54787.4919 | 10583.0015 | 6446.4241 | 2357.4184 | 139.04 | 169.7 | 357 | 45.9389 | 234.12 | 150.61
525 | 11 | 15 | 54958.6944 | 10922.9371 | 6501.2015 | 2735.9848 | 141.87 | 172.89 | 361 | 46.7227 | 233.49 | 145.81
526 | 11 | 16 | 54958.8625 | 10922.9371 | 6549.073 | 2735.9848 | 137.63 | 168.1 | 375 | 41.8253 | 230.87 | 157.97
527 | 11 | 17 | 54996.3308 | 10922.9371 | 6477.7811 | 2735.9848 | 129.75 | 156.99 | 312 | 35.2004 | 209.22 | 150.41
528 | 11 | 18 | 54741.1435 | 10287.9064 | 6417.9249 | 2533.0906 | 132.68 | 158.41 | 314 | 38.7027 | 215.38 | 161.5
529 | 11 | 19 | 54657.1994 | 10403.1319 | 6359.3601 | 2337.5833 | 115.12 | 137.42 | 263 | 22.5453 | 178.46 | 162.94
530 | 11 | 20 | 54832.5678 | 10403.1319 | 6471.5629 | 2533.0906 | 135.57 | 163.45 | 356 | 40.0679 | 220.7 | 154.89
531 | 11 | 21 | 54789.8342 | 10891.9108 | 6438.5015 | 2840.8277 | 142.01 | 171.79 | 374 | 46.5873 | 233.01 | 147.55
532 | 11 | 22 | 54806.8498 | 10818.5075 | 6444.6055 | 2547.3851 | 128.01 | 155.33 | 312 | 34.4792 | 212.34 | 162.38
533 | 11 | 23 | 54670.5769 | 10583.0015 | 6417.7205 | 2533.0906 | 123.16 | 146.49 | 336 | 28.4342 | 193.23 | 162.67
534 | 11 | 24 | 54673.3998 | 10304.2735 | 6348.5764 | 2618.0606 | 126.57 | 153.72 | 258 | 33.9532 | 207.88 | 155.92
535 | 11 | 25 | 54645.2262 | 10583.0015 | 6380.0181 | 2618.0606 | 119.28 | 140.52 | 328 | 25.1882 | 182.99 | 164.63
536 | 11 | 26 | 54854.5079 | 10922.9371 | 6475.7972 | 2840.8277 | 129.72 | 155.21 | 337 | 35.9482 | 209.36 | 160.85
537 | 11 | 27 | 54673.9761 | 10818.5075 | 6357.1869 | 2547.3851 | 124.12 | 147.34 | 306 | 29.5262 | 195.79 | 165.34
538 | 11 | 28 | 55050.9198 | 10922.9371 | 6599.4941 | 2840.8277 | 158.48 | 197.79 | 389 | 61.4105 | 280.65 | 147.32
539 | 11 | 29 | 54526.1796 | 10940.0692 | 6383.7774 | 2839.3293 | 131.78 | 157.95 | 317 | 38.5839 | 210.08 | 148.81
540 | 11 | 30 | 54289.1365 | 10181.6976 | 6271.7033 | 2533.0906 | 128.77 | 154.23 | 293 | 35.5446 | 206.96 | 153.58
541 | 11 | 31 | 54482.7946 | 10283.2642 | 6294.0109 | 2615.8387 | 137.78 | 167.66 | 301 | 43.6917 | 228.02 | 147.94
542 | 11 | 32 | 55013.8329 | 10922.9371 | 6499.8604 | 2735.9848 | 122.8 | 149.52 | 296 | 29.3138 | 200.91 | 161.39
543 | 11 | 33 | 54675.7574 | 10583.0015 | 6374.885 | 2633.9297 | 137.64 | 169.31 | 290 | 44.4408 | 230.11 | 143.39
544 | 11 | 34 | 54730.7956 | 10922.9371 | 6428.4497 | 2752.985 | 130.62 | 158.24 | 337 | 35.6247 | 214.39 | 157.96
545 | 11 | 35 | 54797.8134 | 10816.6 | 6395.0965 | 2620.1537 | 132.29 | 160.14 | 320 | 39.3257 | 215.9 | 152.56
546 | 11 | 36 | 54932.7541 | 10403.1319 | 6505.835 | 2618.0606 | 132.46 | 160.12 | 330 | 36.8022 | 211.35 | 148.98
547 | 11 | 37 | 54788.4018 | 10583.0015 | 6374.9229 | 2561.7167 | 122.2 | 145.9 | 314 | 29.2224 | 188.83 | 152.51
548 | 11 | 38 | 54578.2694 | 10922.9371 | 6374.7186 | 2735.9848 | 132.09 | 160.97 | 327 | 38.9817 | 215.08 | 146.77
549 | 11 | 39 | 54872.7133 | 10583.0015 | 6480.5475 | 2618.0606 | 140.18 | 171.34 | 314 | 45.2669 | 231.1 | 141.97
550 | 11 | 40 | 54854.4969 | 10583.0015 | 6458.6881 | 2618.0606 | 144.01 | 178.13 | 387 | 47.4336 | 244.5 | 144.41
551 | 11 | 41 | 54802.4796 | 10940.0692 | 6422.3867 | 2839.3293 | 119.41 | 142.31 | 339 | 22.8941 | 190.41 | 169.08
552 | 11 | 42 | 54575.7142 | 10403.1319 | 6353.3152 | 2271.4026 | 119.25 | 140.44 | 303 | 25.8103 | 181.13 | 162.14
553 | 11 | 43 | 54650.0924 | 10352.7731 | 6336.5753 | 2633.9297 | 135.58 | 165.64 | 341 | 40.4568 | 225.79 | 146.62
554 | 11 | 44 | 54460.5058 | 10583.0015 | 6290.2587 | 2380.7214 | 115.86 | 139.22 | 270 | 24.7038 | 186.63 | 165.2
555 | 11 | 45 | 55005.8582 | 10583.0015 | 6540.5141 | 2380.7214 | 135.62 | 165.66 | 369 | 39.2189 | 226.78 | 158.89
556 | 11 | 46 | 54863.3957 | 10891.9108 | 6446.4765 | 2840.8277 | 135.25 | 165.67 | 365 | 39.4442 | 229.51 | 154.98
557 | 11 | 47 | 55034.2155 | 10922.9371 | 6550.0426 | 2735.9848 | 139.54 | 170.53 | 380 | 42.0121 | 230.73 | 148.09
558 | 11 | 48 | 54753.1126 | 10225.087 | 6445.976 | 2618.0606 | 143.51 | 177.91 | 363 | 47.7341 | 246.74 | 143.25
559 | 11 | 49 | 54730.545 | 10940.0692 | 6491.5036 | 2909.2896 | 129.22 | 158.3 | 358 | 33.1624 | 218.01 | 161.93
560 | 11 | 50 | 55311.2015 | 10922.9371 | 6558.4248 | 2840.8277 | 150.38 | 190.44 | 398 | 52.4042 | 274.45 | 151.29
561 | 11 | 51 | 55153.197 | 10644.0641 | 6589.3586 | 2593.278 | 124.53 | 148.29 | 371 | 28.0025 | 194.34 | 164.05