## Notes
Notes
Simulation number |  | The sequential simulation identifier of each annual simulation - numbered between 1 and 561. Each simulation is modelled at the hourly resolution level - giving 8,760 hourly simulated outputs.
Unplanned outage set |  | Identifier of the hourly unplanned outage set used in the given simulation - numbered between 1 and 11. A stochastic availability model is used to develop the 11 annual simulations of hourly dispatchable power station availability.
Weather set |  | Identifier of the hourly demand and renewable energy resources trace set used in the given simulation - numbered between 1 and 51. A stochastic demand and renewable energy resource model is used to develop 51 weather influenced annual simulations of hourly demand (system and customer load) and renewable energy resource traces.
Energy and demand (as generated) | Annual regional energy (GWh) | The annual regional scheduled and semi-scheduled energy requirements for the given region and given weather set - taken as the sum of the 8,760 hourly simulated regional loads.
| Annual regional peak demand (MW) | The annual regional scheduled and semi-scheduled maximum demand for the given region and given weather set.
| Annual energy - NSLP + Small interval meter load (GWh) | The annual energy requirements for the given NSLP + Small interval meter load and given weather set.
| Annual peak demand - NSLP + Small interval meter load (MW) | The annual peak demand for the given NSLP + Small interval meter load and given weather set.
Spot Price (nominal at the regional reference node) | Annual regional time weighted spot price ($/MWh) | The simple average of the hourly simulated spot prices for the given region and simulation number.
| Annual regional load weighted spot price ($/MWh) | The load weighted average of the hourly simulated spot prices for the given region and simulation number - using the corresponding hourly regional loads as the weights.
| Number of hours spot prices above $300 | The number of simulated hourly prices in a given simulation that exceed $300/MWh for the given region and simulation number.
| Contribution of spot prices above $300 to annual average spot price ($/MWh) | The contribution to the annual time weighted spot price of simulated hourly prices in a given simulation that exceed $300/MWh for the given region and simulation number.
| Annual load weighted spot price - NSLP + Small interval meter load ($/MWh) | The load weighted average of the hourly simulated spot prices for the given NSLP + Small interval meter load and simulation number - using the corresponding hourly NSLP loads as the weights.
Hedged price (nominal at the regional reference node) | Annual hedged price - NSLP + Small interval meter load ($/MWh) | Sum of the hourly spot purchase costs, contract purchase costs (adopting a fixed quarterly hedging strategy and estimated contract prices), and hedge difference payments, divided by the annual energy to derive a price in $/MWh terms for a given NSLP + Small interval meter load and simulation number.

## Data
Summary of results for 561 market simulations for 2023-24 - Queensland
Simulation number | Unplanned outage set | Weather set | Energy and demand (as generated) |  |  |  | Spot Price (nominal at the regional reference node) |  |  |  |  | Hedged price (nominal at the regional reference node)
|  |  | Annual regional energy (GWh) | Annual regional peak demand (MW) | Annual energy - Energex NSLP + Small interval meter load(GWh) | Annual peak demand - Energex NSLP + Small interval meter load (MW) | Annual regional time weighted spot price ($/MWh) | Annual regional Load weighted spot price ($/MWh) | Number of hours spot prices above $300 | Contribution of spot prices above $300 to annual average spot price ($/MWh) | Annual load weighted spot price - Energex NSLP + Small interval meter load ($/MWh) | Annual hedged price - Energex NSLP + Small interval meter load ($/MWh)
1 | 1 | 1 | 54534.6203 | 10112.6156 | 6355.4193 | 2207.6571 | 79.92 | 93.88 | 103 | 18.169 | 123.43 | 156.03
2 | 1 | 2 | 54284.0554 | 10403.1319 | 6301.4163 | 2451.3155 | 77.6 | 91.3 | 98 | 17.0379 | 121.04 | 158.34
3 | 1 | 3 | 54758.1042 | 10583.0015 | 6455.6842 | 2533.0906 | 80.14 | 95.6 | 93 | 18.8779 | 128.41 | 155.12
4 | 1 | 4 | 55042.8709 | 10583.0015 | 6527.1569 | 2533.0906 | 86.92 | 104.81 | 101 | 24.5437 | 142 | 149.36
5 | 1 | 5 | 54788.3095 | 10403.1319 | 6414.4498 | 2615.8387 | 80.18 | 94.94 | 94 | 18.6413 | 125.56 | 152.56
6 | 1 | 6 | 54791.0863 | 10227.1668 | 6465.5348 | 2618.0606 | 84.9 | 102.62 | 89 | 23.1908 | 135.81 | 144.16
7 | 1 | 7 | 55007.7062 | 10583.0015 | 6522.0195 | 2618.0606 | 83.58 | 98.87 | 106 | 20.2562 | 130.57 | 151.17
8 | 1 | 8 | 54994.6686 | 10922.9371 | 6473.0453 | 2735.9848 | 89.43 | 107.22 | 131 | 26.6911 | 147.48 | 152.16
9 | 1 | 9 | 54643.042 | 10940.0692 | 6433.8263 | 2839.3293 | 80.84 | 97.47 | 95 | 18.736 | 132.33 | 155.75
10 | 1 | 10 | 55194.0836 | 10922.9371 | 6616.9974 | 2735.9848 | 80.61 | 96.41 | 120 | 18.1038 | 128.69 | 153.7
11 | 1 | 11 | 54579.0074 | 10583.0015 | 6376.6597 | 2618.0606 | 81.11 | 96.19 | 93 | 19.8115 | 128.58 | 155.26
12 | 1 | 12 | 54730.5561 | 10583.0015 | 6470.9653 | 2752.985 | 81.46 | 96.99 | 128 | 19.0264 | 130.32 | 156.16
13 | 1 | 13 | 54678.0722 | 10461.7348 | 6413.3363 | 2561.7167 | 81.44 | 96.77 | 116 | 19.5345 | 129.98 | 154.03
14 | 1 | 14 | 54787.4919 | 10583.0015 | 6446.4241 | 2357.4184 | 84.02 | 101.08 | 120 | 22.4116 | 137.01 | 153.09
15 | 1 | 15 | 54958.6944 | 10922.9371 | 6501.2015 | 2735.9848 | 87.15 | 104.27 | 119 | 24.799 | 139.95 | 149.88
16 | 1 | 16 | 54958.8625 | 10922.9371 | 6549.073 | 2735.9848 | 85.48 | 102.46 | 122 | 22.8147 | 137.88 | 152.45
17 | 1 | 17 | 54996.3308 | 10922.9371 | 6477.7811 | 2735.9848 | 78.75 | 94.1 | 110 | 16.9354 | 126.59 | 157.04
18 | 1 | 18 | 54741.1435 | 10287.9064 | 6417.9249 | 2533.0906 | 86.9 | 103.42 | 98 | 25.7948 | 142.04 | 153.52
19 | 1 | 19 | 54657.1994 | 10403.1319 | 6359.3601 | 2337.5833 | 77.16 | 91.11 | 78 | 16.9882 | 119.6 | 153.69
20 | 1 | 20 | 54832.5678 | 10403.1319 | 6471.5629 | 2533.0906 | 87.6 | 105.23 | 120 | 24.9601 | 141.63 | 149.37
21 | 1 | 21 | 54789.8342 | 10891.9108 | 6438.5015 | 2840.8277 | 83.06 | 99.63 | 97 | 21.4193 | 133.62 | 151.69
22 | 1 | 22 | 54806.8498 | 10818.5075 | 6444.6055 | 2547.3851 | 80.96 | 96.19 | 108 | 19.4092 | 128.31 | 153.57
23 | 1 | 23 | 54670.5769 | 10583.0015 | 6417.7205 | 2533.0906 | 71.99 | 83.85 | 74 | 10.6249 | 107.16 | 157.66
24 | 1 | 24 | 54673.3998 | 10304.2735 | 6348.5764 | 2618.0606 | 81.18 | 98.15 | 92 | 20.1875 | 132.37 | 151.74
25 | 1 | 25 | 54645.2262 | 10583.0015 | 6380.0181 | 2618.0606 | 84.87 | 100.4 | 110 | 23.1997 | 134.01 | 151.46
26 | 1 | 26 | 54854.5079 | 10922.9371 | 6475.7972 | 2840.8277 | 93.25 | 114.39 | 127 | 31.4325 | 162.4 | 151.52
27 | 1 | 27 | 54673.9761 | 10818.5075 | 6357.1869 | 2547.3851 | 84.35 | 100.37 | 93 | 22.8103 | 135.6 | 151.68
28 | 1 | 28 | 55050.9198 | 10922.9371 | 6599.4941 | 2840.8277 | 101.85 | 126.65 | 163 | 37.6774 | 178.75 | 142
29 | 1 | 29 | 54526.1796 | 10940.0692 | 6383.7774 | 2839.3293 | 85.68 | 103.33 | 104 | 24.6837 | 141.69 | 152.09
30 | 1 | 30 | 54289.1365 | 10181.6976 | 6271.7033 | 2533.0906 | 72.24 | 83.44 | 70 | 12.1964 | 107.25 | 157.88
31 | 1 | 31 | 54482.7946 | 10283.2642 | 6294.0109 | 2615.8387 | 83.88 | 100.46 | 89 | 22.8229 | 135.6 | 150.26
32 | 1 | 32 | 55013.8329 | 10922.9371 | 6499.8604 | 2735.9848 | 81.87 | 99.16 | 89 | 20.7146 | 135.73 | 154.55
33 | 1 | 33 | 54675.7574 | 10583.0015 | 6374.885 | 2633.9297 | 75.65 | 90.19 | 92 | 15.3477 | 119.31 | 154.41
34 | 1 | 34 | 54730.7956 | 10922.9371 | 6428.4497 | 2752.985 | 81.36 | 97.93 | 91 | 20.1367 | 134.06 | 155.53
35 | 1 | 35 | 54797.8134 | 10816.6 | 6395.0965 | 2620.1537 | 79.22 | 93.76 | 96 | 17.7608 | 124.53 | 155.44
36 | 1 | 36 | 54932.7541 | 10403.1319 | 6505.835 | 2618.0606 | 79.63 | 95.01 | 96 | 17.2059 | 125.74 | 154.04
37 | 1 | 37 | 54788.4018 | 10583.0015 | 6374.9229 | 2561.7167 | 76.21 | 89.11 | 88 | 14.957 | 114.71 | 152.82
38 | 1 | 38 | 54578.2694 | 10922.9371 | 6374.7186 | 2735.9848 | 88.78 | 108.42 | 99 | 28.0908 | 150.23 | 147.92
39 | 1 | 39 | 54872.7133 | 10583.0015 | 6480.5475 | 2618.0606 | 84.39 | 100.71 | 92 | 22.5759 | 135.26 | 150.42
40 | 1 | 40 | 54854.4969 | 10583.0015 | 6458.6881 | 2618.0606 | 82.83 | 99.42 | 89 | 20.6185 | 133.84 | 152.07
41 | 1 | 41 | 54802.4796 | 10940.0692 | 6422.3867 | 2839.3293 | 84.21 | 100.2 | 107 | 21.3616 | 134.73 | 152.22
42 | 1 | 42 | 54575.7142 | 10403.1319 | 6353.3152 | 2271.4026 | 83.81 | 100.16 | 94 | 22.8896 | 131.95 | 145.33
43 | 1 | 43 | 54650.0924 | 10352.7731 | 6336.5753 | 2633.9297 | 80.22 | 95.72 | 90 | 18.2974 | 127.81 | 153.32
44 | 1 | 44 | 54460.5058 | 10583.0015 | 6290.2587 | 2380.7214 | 85.73 | 105.64 | 99 | 26.2187 | 147.99 | 146.3
45 | 1 | 45 | 55005.8582 | 10583.0015 | 6540.5141 | 2380.7214 | 88.41 | 105.63 | 115 | 25.1426 | 142.35 | 150.21
46 | 1 | 46 | 54863.3957 | 10891.9108 | 6446.4765 | 2840.8277 | 83.73 | 99.66 | 112 | 20.774 | 132.22 | 150.95
47 | 1 | 47 | 55034.2155 | 10922.9371 | 6550.0426 | 2735.9848 | 87.41 | 106.6 | 112 | 24.2768 | 145.6 | 148.76
48 | 1 | 48 | 54753.1126 | 10225.087 | 6445.976 | 2618.0606 | 81.58 | 97.3 | 94 | 19.0158 | 128.99 | 150.5
49 | 1 | 49 | 54730.545 | 10940.0692 | 6491.5036 | 2909.2896 | 89.13 | 111.95 | 105 | 26.9168 | 161.52 | 151.27
50 | 1 | 50 | 55311.2015 | 10922.9371 | 6558.4248 | 2840.8277 | 111.69 | 144.09 | 174 | 47.0867 | 215.09 | 140.06
51 | 1 | 51 | 55153.197 | 10644.0641 | 6589.3586 | 2593.278 | 97.11 | 119.71 | 137 | 33.336 | 165.83 | 144.51
52 | 2 | 1 | 54534.6203 | 10112.6156 | 6355.4193 | 2207.6571 | 84.16 | 99.54 | 95 | 22.8408 | 134.05 | 154.63
53 | 2 | 2 | 54284.0554 | 10403.1319 | 6301.4163 | 2451.3155 | 79.22 | 94.05 | 96 | 18.6031 | 127.09 | 157.83
54 | 2 | 3 | 54758.1042 | 10583.0015 | 6455.6842 | 2533.0906 | 84.8 | 102.67 | 104 | 23.4418 | 141.83 | 152.41
55 | 2 | 4 | 55042.8709 | 10583.0015 | 6527.1569 | 2533.0906 | 81.07 | 95.79 | 89 | 18.6874 | 126.27 | 152.96
56 | 2 | 5 | 54788.3095 | 10403.1319 | 6414.4498 | 2615.8387 | 78.93 | 92.22 | 96 | 17.0333 | 120.12 | 155.09
57 | 2 | 6 | 54791.0863 | 10227.1668 | 6465.5348 | 2618.0606 | 79.19 | 93.85 | 75 | 17.6398 | 122.96 | 152.44
58 | 2 | 7 | 55007.7062 | 10583.0015 | 6522.0195 | 2618.0606 | 82.65 | 97.21 | 102 | 19.7 | 128.43 | 153.58
59 | 2 | 8 | 54994.6686 | 10922.9371 | 6473.0453 | 2735.9848 | 91.07 | 111.2 | 119 | 27.9093 | 158.75 | 157.35
60 | 2 | 9 | 54643.042 | 10940.0692 | 6433.8263 | 2839.3293 | 85.3 | 103.26 | 100 | 23.3209 | 140.92 | 152.53
61 | 2 | 10 | 55194.0836 | 10922.9371 | 6616.9974 | 2735.9848 | 80.58 | 97.04 | 84 | 18.4999 | 131.85 | 155.98
62 | 2 | 11 | 54579.0074 | 10583.0015 | 6376.6597 | 2618.0606 | 76.88 | 90.99 | 86 | 15.9092 | 122.07 | 159.8
63 | 2 | 12 | 54730.5561 | 10583.0015 | 6470.9653 | 2752.985 | 87.07 | 105.57 | 120 | 24.9655 | 146.47 | 153.3
64 | 2 | 13 | 54678.0722 | 10461.7348 | 6413.3363 | 2561.7167 | 87.85 | 107.25 | 110 | 26.2992 | 148.98 | 151.78
65 | 2 | 14 | 54787.4919 | 10583.0015 | 6446.4241 | 2357.4184 | 85.44 | 102.03 | 116 | 23.9557 | 137.51 | 152.14
66 | 2 | 15 | 54958.6944 | 10922.9371 | 6501.2015 | 2735.9848 | 89.62 | 107.28 | 113 | 27.1636 | 146.45 | 150.35
67 | 2 | 16 | 54958.8625 | 10922.9371 | 6549.073 | 2735.9848 | 85.42 | 103.71 | 110 | 22.9192 | 142.24 | 153
68 | 2 | 17 | 54996.3308 | 10922.9371 | 6477.7811 | 2735.9848 | 86.79 | 105.5 | 111 | 25.0724 | 146.34 | 152.16
69 | 2 | 18 | 54741.1435 | 10287.9064 | 6417.9249 | 2533.0906 | 89.11 | 106.65 | 97 | 27.5905 | 148.48 | 154.18
70 | 2 | 19 | 54657.1994 | 10403.1319 | 6359.3601 | 2337.5833 | 76.08 | 89.89 | 72 | 16.2782 | 118.48 | 153.88
71 | 2 | 20 | 54832.5678 | 10403.1319 | 6471.5629 | 2533.0906 | 91.36 | 110.59 | 122 | 29.047 | 152.85 | 151.84
72 | 2 | 21 | 54789.8342 | 10891.9108 | 6438.5015 | 2840.8277 | 81.18 | 96.57 | 101 | 19.5932 | 130.41 | 155.47
73 | 2 | 22 | 54806.8498 | 10818.5075 | 6444.6055 | 2547.3851 | 85.11 | 102.37 | 92 | 23.9707 | 140.08 | 152.23
74 | 2 | 23 | 54670.5769 | 10583.0015 | 6417.7205 | 2533.0906 | 76.39 | 88.84 | 72 | 15.2709 | 115.52 | 157.07
75 | 2 | 24 | 54673.3998 | 10304.2735 | 6348.5764 | 2618.0606 | 76.46 | 91.21 | 72 | 16.4135 | 121.49 | 154.57
76 | 2 | 25 | 54645.2262 | 10583.0015 | 6380.0181 | 2618.0606 | 85.28 | 100.21 | 106 | 23.3806 | 133.51 | 153.48
77 | 2 | 26 | 54854.5079 | 10922.9371 | 6475.7972 | 2840.8277 | 89.75 | 109.98 | 119 | 27.8403 | 155.94 | 155.25
78 | 2 | 27 | 54673.9761 | 10818.5075 | 6357.1869 | 2547.3851 | 88.28 | 106.86 | 95 | 26.6204 | 148.46 | 150.99
79 | 2 | 28 | 55050.9198 | 10922.9371 | 6599.4941 | 2840.8277 | 100.54 | 124.63 | 158 | 36.8335 | 178.48 | 150.07
80 | 2 | 29 | 54526.1796 | 10940.0692 | 6383.7774 | 2839.3293 | 85.76 | 103.24 | 88 | 25.1736 | 142.58 | 154.55
81 | 2 | 30 | 54289.1365 | 10181.6976 | 6271.7033 | 2533.0906 | 72.74 | 84.62 | 59 | 12.5802 | 111.22 | 161.18
82 | 2 | 31 | 54482.7946 | 10283.2642 | 6294.0109 | 2615.8387 | 79.17 | 94 | 92 | 18.0068 | 124.43 | 153.28
83 | 2 | 32 | 55013.8329 | 10922.9371 | 6499.8604 | 2735.9848 | 85.2 | 105.77 | 92 | 23.903 | 150.35 | 156.45
84 | 2 | 33 | 54675.7574 | 10583.0015 | 6374.885 | 2633.9297 | 77.97 | 93.76 | 83 | 17.6573 | 126.27 | 155.4
85 | 2 | 34 | 54730.7956 | 10922.9371 | 6428.4497 | 2752.985 | 89.42 | 111.01 | 98 | 27.9732 | 158.91 | 152.11
86 | 2 | 35 | 54797.8134 | 10816.6 | 6395.0965 | 2620.1537 | 82.25 | 97.99 | 102 | 20.7874 | 133.05 | 156.06
87 | 2 | 36 | 54932.7541 | 10403.1319 | 6505.835 | 2618.0606 | 78.74 | 94.32 | 87 | 16.4953 | 125.37 | 154.34
88 | 2 | 37 | 54788.4018 | 10583.0015 | 6374.9229 | 2561.7167 | 73.75 | 86.53 | 83 | 12.9021 | 112.55 | 156.85
89 | 2 | 38 | 54578.2694 | 10922.9371 | 6374.7186 | 2735.9848 | 84.93 | 103.76 | 81 | 24.5228 | 145.13 | 154.49
90 | 2 | 39 | 54872.7133 | 10583.0015 | 6480.5475 | 2618.0606 | 82.9 | 97.97 | 97 | 21.0531 | 128.65 | 150.76
91 | 2 | 40 | 54854.4969 | 10583.0015 | 6458.6881 | 2618.0606 | 85.22 | 102.07 | 90 | 23.032 | 137.77 | 152.01
92 | 2 | 41 | 54802.4796 | 10940.0692 | 6422.3867 | 2839.3293 | 82.96 | 98.72 | 93 | 20.2648 | 134.09 | 156.11
93 | 2 | 42 | 54575.7142 | 10403.1319 | 6353.3152 | 2271.4026 | 81.53 | 96.04 | 83 | 20.8283 | 126.44 | 150.93
94 | 2 | 43 | 54650.0924 | 10352.7731 | 6336.5753 | 2633.9297 | 72.27 | 84.24 | 68 | 10.7004 | 109.45 | 161.75
95 | 2 | 44 | 54460.5058 | 10583.0015 | 6290.2587 | 2380.7214 | 78.63 | 95.19 | 79 | 19.5135 | 130.46 | 155.25
96 | 2 | 45 | 55005.8582 | 10583.0015 | 6540.5141 | 2380.7214 | 92.43 | 112.89 | 107 | 29.2983 | 155.37 | 146.72
97 | 2 | 46 | 54863.3957 | 10891.9108 | 6446.4765 | 2840.8277 | 91.32 | 111.03 | 113 | 28.1757 | 154.5 | 147.89
98 | 2 | 47 | 55034.2155 | 10922.9371 | 6550.0426 | 2735.9848 | 93.27 | 115.58 | 117 | 30.007 | 162.23 | 147.47
99 | 2 | 48 | 54753.1126 | 10225.087 | 6445.976 | 2618.0606 | 79.92 | 95.5 | 86 | 17.6247 | 127.91 | 154.21
100 | 2 | 49 | 54730.545 | 10940.0692 | 6491.5036 | 2909.2896 | 91.21 | 114.66 | 122 | 28.4527 | 165.67 | 151.39
101 | 2 | 50 | 55311.2015 | 10922.9371 | 6558.4248 | 2840.8277 | 100.61 | 128.61 | 151 | 36.4827 | 190.63 | 148.23
102 | 2 | 51 | 55153.197 | 10644.0641 | 6589.3586 | 2593.278 | 93.27 | 113.25 | 99 | 30.2749 | 155.23 | 148.95
103 | 3 | 1 | 54534.6203 | 10112.6156 | 6355.4193 | 2207.6571 | 74.71 | 87.25 | 82 | 13.4824 | 113.35 | 157.84
104 | 3 | 2 | 54284.0554 | 10403.1319 | 6301.4163 | 2451.3155 | 78.95 | 94.19 | 100 | 18.0082 | 126.81 | 156.22
105 | 3 | 3 | 54758.1042 | 10583.0015 | 6455.6842 | 2533.0906 | 80.03 | 95.2 | 101 | 18.5509 | 128.61 | 155.98
106 | 3 | 4 | 55042.8709 | 10583.0015 | 6527.1569 | 2533.0906 | 75.76 | 88.99 | 94 | 13.703 | 115.34 | 154.84
107 | 3 | 5 | 54788.3095 | 10403.1319 | 6414.4498 | 2615.8387 | 74.22 | 86.13 | 90 | 12.467 | 111.46 | 159.66
108 | 3 | 6 | 54791.0863 | 10227.1668 | 6465.5348 | 2618.0606 | 72.09 | 83.23 | 77 | 10.9001 | 104.64 | 156.98
109 | 3 | 7 | 55007.7062 | 10583.0015 | 6522.0195 | 2618.0606 | 79.21 | 92.16 | 95 | 16.026 | 118.34 | 153.51
110 | 3 | 8 | 54994.6686 | 10922.9371 | 6473.0453 | 2735.9848 | 88.86 | 108.88 | 118 | 25.8894 | 154.89 | 156.06
111 | 3 | 9 | 54643.042 | 10940.0692 | 6433.8263 | 2839.3293 | 80.68 | 97.19 | 110 | 18.4249 | 131.83 | 155.76
112 | 3 | 10 | 55194.0836 | 10922.9371 | 6616.9974 | 2735.9848 | 84.71 | 103.41 | 101 | 22.4971 | 141.66 | 150.76
113 | 3 | 11 | 54579.0074 | 10583.0015 | 6376.6597 | 2618.0606 | 75.66 | 89.82 | 73 | 14.9214 | 120.52 | 160.16
114 | 3 | 12 | 54730.5561 | 10583.0015 | 6470.9653 | 2752.985 | 90.39 | 112 | 119 | 27.9825 | 158.9 | 149.51
115 | 3 | 13 | 54678.0722 | 10461.7348 | 6413.3363 | 2561.7167 | 82.04 | 97.96 | 112 | 19.7155 | 131.67 | 153.95
116 | 3 | 14 | 54787.4919 | 10583.0015 | 6446.4241 | 2357.4184 | 83.2 | 99.8 | 111 | 21.5132 | 134.86 | 152.95
117 | 3 | 15 | 54958.6944 | 10922.9371 | 6501.2015 | 2735.9848 | 80.78 | 95.5 | 125 | 17.7628 | 126.05 | 154.19
118 | 3 | 16 | 54958.8625 | 10922.9371 | 6549.073 | 2735.9848 | 77.52 | 91.09 | 110 | 15.1361 | 118.39 | 155.53
119 | 3 | 17 | 54996.3308 | 10922.9371 | 6477.7811 | 2735.9848 | 84.83 | 104.17 | 111 | 22.9278 | 146.02 | 153.52
120 | 3 | 18 | 54741.1435 | 10287.9064 | 6417.9249 | 2533.0906 | 76.71 | 90.09 | 85 | 15.1934 | 119.84 | 158.71
121 | 3 | 19 | 54657.1994 | 10403.1319 | 6359.3601 | 2337.5833 | 71.29 | 83.72 | 75 | 11.1882 | 107.72 | 157.71
122 | 3 | 20 | 54832.5678 | 10403.1319 | 6471.5629 | 2533.0906 | 87.6 | 105.12 | 114 | 25.0546 | 143.32 | 153.26
123 | 3 | 21 | 54789.8342 | 10891.9108 | 6438.5015 | 2840.8277 | 81.67 | 97.32 | 103 | 19.7722 | 131.62 | 156.68
124 | 3 | 22 | 54806.8498 | 10818.5075 | 6444.6055 | 2547.3851 | 78.05 | 94.04 | 86 | 16.6664 | 127.74 | 157.55
125 | 3 | 23 | 54670.5769 | 10583.0015 | 6417.7205 | 2533.0906 | 82.95 | 99.68 | 91 | 21.1293 | 135.77 | 154.47
126 | 3 | 24 | 54673.3998 | 10304.2735 | 6348.5764 | 2618.0606 | 75.1 | 89.83 | 84 | 14.2952 | 119.36 | 155.58
127 | 3 | 25 | 54645.2262 | 10583.0015 | 6380.0181 | 2618.0606 | 76.37 | 88.45 | 102 | 14.4157 | 114.61 | 158.02
128 | 3 | 26 | 54854.5079 | 10922.9371 | 6475.7972 | 2840.8277 | 85.88 | 104.68 | 123 | 24.0605 | 146.34 | 154.94
129 | 3 | 27 | 54673.9761 | 10818.5075 | 6357.1869 | 2547.3851 | 80.88 | 95.63 | 108 | 18.9062 | 127.47 | 153.58
130 | 3 | 28 | 55050.9198 | 10922.9371 | 6599.4941 | 2840.8277 | 99.85 | 125.14 | 152 | 35.6893 | 181.79 | 150.05
131 | 3 | 29 | 54526.1796 | 10940.0692 | 6383.7774 | 2839.3293 | 74.74 | 87.5 | 92 | 13.678 | 114.06 | 157.93
132 | 3 | 30 | 54289.1365 | 10181.6976 | 6271.7033 | 2533.0906 | 72.88 | 85.12 | 70 | 12.3391 | 110.58 | 157.87
133 | 3 | 31 | 54482.7946 | 10283.2642 | 6294.0109 | 2615.8387 | 80.35 | 96.86 | 98 | 19.0293 | 131.59 | 152.59
134 | 3 | 32 | 55013.8329 | 10922.9371 | 6499.8604 | 2735.9848 | 86.26 | 108.17 | 96 | 25.0478 | 156.06 | 155.88
135 | 3 | 33 | 54675.7574 | 10583.0015 | 6374.885 | 2633.9297 | 72.5 | 85.99 | 88 | 11.8574 | 112.83 | 157.56
136 | 3 | 34 | 54730.7956 | 10922.9371 | 6428.4497 | 2752.985 | 84.99 | 105.95 | 92 | 23.7795 | 154.19 | 159.7
137 | 3 | 35 | 54797.8134 | 10816.6 | 6395.0965 | 2620.1537 | 80.9 | 97.31 | 95 | 20.0049 | 131.67 | 152.28
138 | 3 | 36 | 54932.7541 | 10403.1319 | 6505.835 | 2618.0606 | 78.09 | 93.04 | 104 | 15.7212 | 122.14 | 152.28
139 | 3 | 37 | 54788.4018 | 10583.0015 | 6374.9229 | 2561.7167 | 72.36 | 84.2 | 73 | 11.4687 | 107.92 | 157.11
140 | 3 | 38 | 54578.2694 | 10922.9371 | 6374.7186 | 2735.9848 | 86.47 | 107.41 | 97 | 25.5166 | 153.6 | 154.67
141 | 3 | 39 | 54872.7133 | 10583.0015 | 6480.5475 | 2618.0606 | 79.54 | 94.89 | 92 | 17.752 | 126.23 | 153.84
142 | 3 | 40 | 54854.4969 | 10583.0015 | 6458.6881 | 2618.0606 | 81.32 | 96.85 | 101 | 18.7583 | 127.61 | 150.71
143 | 3 | 41 | 54802.4796 | 10940.0692 | 6422.3867 | 2839.3293 | 84.47 | 102.18 | 111 | 21.5768 | 142.22 | 154.36
144 | 3 | 42 | 54575.7142 | 10403.1319 | 6353.3152 | 2271.4026 | 72.96 | 85.38 | 90 | 12.239 | 110.73 | 158.38
145 | 3 | 43 | 54650.0924 | 10352.7731 | 6336.5753 | 2633.9297 | 76.09 | 89.95 | 95 | 13.9534 | 118.68 | 158.27
146 | 3 | 44 | 54460.5058 | 10583.0015 | 6290.2587 | 2380.7214 | 84.12 | 104.5 | 84 | 24.4973 | 146.46 | 148.16
147 | 3 | 45 | 55005.8582 | 10583.0015 | 6540.5141 | 2380.7214 | 78.68 | 93.22 | 100 | 15.9495 | 122.73 | 155.56
148 | 3 | 46 | 54863.3957 | 10891.9108 | 6446.4765 | 2840.8277 | 83.96 | 101.66 | 114 | 21.2361 | 139.81 | 152.65
149 | 3 | 47 | 55034.2155 | 10922.9371 | 6550.0426 | 2735.9848 | 80.16 | 96.04 | 97 | 16.7493 | 128.14 | 154.71
150 | 3 | 48 | 54753.1126 | 10225.087 | 6445.976 | 2618.0606 | 82.76 | 99.41 | 109 | 20.3737 | 133.73 | 150.64
151 | 3 | 49 | 54730.545 | 10940.0692 | 6491.5036 | 2909.2896 | 92.45 | 116.21 | 112 | 29.5819 | 167.1 | 148.85
152 | 3 | 50 | 55311.2015 | 10922.9371 | 6558.4248 | 2840.8277 | 100.53 | 127.85 | 148 | 35.7232 | 188.35 | 148.52
153 | 3 | 51 | 55153.197 | 10644.0641 | 6589.3586 | 2593.278 | 91.32 | 111.91 | 111 | 28.1353 | 153.15 | 144.45
154 | 4 | 1 | 54534.6203 | 10112.6156 | 6355.4193 | 2207.6571 | 82.62 | 97.55 | 106 | 21.0909 | 128.75 | 152.49
155 | 4 | 2 | 54284.0554 | 10403.1319 | 6301.4163 | 2451.3155 | 78.15 | 92.62 | 101 | 17.5016 | 123.7 | 156.44
156 | 4 | 3 | 54758.1042 | 10583.0015 | 6455.6842 | 2533.0906 | 99.89 | 124.81 | 121 | 38.1023 | 180.19 | 143.34
157 | 4 | 4 | 55042.8709 | 10583.0015 | 6527.1569 | 2533.0906 | 81.56 | 97.02 | 103 | 19.1341 | 126.46 | 148.38
158 | 4 | 5 | 54788.3095 | 10403.1319 | 6414.4498 | 2615.8387 | 80.22 | 94.25 | 101 | 18.251 | 124.48 | 154.92
159 | 4 | 6 | 54791.0863 | 10227.1668 | 6465.5348 | 2618.0606 | 77.23 | 90.35 | 82 | 15.5967 | 116.03 | 153.02
160 | 4 | 7 | 55007.7062 | 10583.0015 | 6522.0195 | 2618.0606 | 80.81 | 95.1 | 93 | 17.9328 | 123.94 | 151.61
161 | 4 | 8 | 54994.6686 | 10922.9371 | 6473.0453 | 2735.9848 | 86.61 | 103.77 | 118 | 23.4817 | 143.24 | 156.26
162 | 4 | 9 | 54643.042 | 10940.0692 | 6433.8263 | 2839.3293 | 89.97 | 109.29 | 116 | 27.9593 | 153.03 | 152.48
163 | 4 | 10 | 55194.0836 | 10922.9371 | 6616.9974 | 2735.9848 | 93.81 | 114.87 | 101 | 31.4554 | 160.19 | 148.87
164 | 4 | 11 | 54579.0074 | 10583.0015 | 6376.6597 | 2618.0606 | 81.18 | 96.83 | 98 | 19.8867 | 130.27 | 155.46
165 | 4 | 12 | 54730.5561 | 10583.0015 | 6470.9653 | 2752.985 | 85.55 | 102.45 | 115 | 23.2635 | 139.72 | 153.92
166 | 4 | 13 | 54678.0722 | 10461.7348 | 6413.3363 | 2561.7167 | 87.53 | 104.69 | 112 | 25.2369 | 142.58 | 152.48
167 | 4 | 14 | 54787.4919 | 10583.0015 | 6446.4241 | 2357.4184 | 94.05 | 113.78 | 125 | 32.4439 | 158.99 | 148.78
168 | 4 | 15 | 54958.6944 | 10922.9371 | 6501.2015 | 2735.9848 | 86.04 | 103.44 | 103 | 23.5005 | 142.27 | 154.86
169 | 4 | 16 | 54958.8625 | 10922.9371 | 6549.073 | 2735.9848 | 84.37 | 101.77 | 118 | 21.8126 | 138.08 | 153.18
170 | 4 | 17 | 54996.3308 | 10922.9371 | 6477.7811 | 2735.9848 | 84.3 | 102.63 | 109 | 22.3331 | 141.59 | 152.57
171 | 4 | 18 | 54741.1435 | 10287.9064 | 6417.9249 | 2533.0906 | 86.5 | 103.19 | 115 | 24.6309 | 140.45 | 151.09
172 | 4 | 19 | 54657.1994 | 10403.1319 | 6359.3601 | 2337.5833 | 77.52 | 92.22 | 78 | 17.2508 | 120.7 | 151.24
173 | 4 | 20 | 54832.5678 | 10403.1319 | 6471.5629 | 2533.0906 | 92.24 | 112.12 | 142 | 29.4295 | 154.15 | 149.23
174 | 4 | 21 | 54789.8342 | 10891.9108 | 6438.5015 | 2840.8277 | 89.81 | 108.65 | 115 | 27.553 | 148.17 | 147.39
175 | 4 | 22 | 54806.8498 | 10818.5075 | 6444.6055 | 2547.3851 | 78.54 | 93.28 | 75 | 17.1899 | 124.83 | 156.32
176 | 4 | 23 | 54670.5769 | 10583.0015 | 6417.7205 | 2533.0906 | 73.45 | 85.13 | 87 | 12.3101 | 109.43 | 158.2
177 | 4 | 24 | 54673.3998 | 10304.2735 | 6348.5764 | 2618.0606 | 81.95 | 99.51 | 62 | 21.7742 | 136.34 | 150.3
178 | 4 | 25 | 54645.2262 | 10583.0015 | 6380.0181 | 2618.0606 | 82.21 | 97.01 | 100 | 19.9557 | 127.67 | 151.46
179 | 4 | 26 | 54854.5079 | 10922.9371 | 6475.7972 | 2840.8277 | 91.22 | 112.05 | 120 | 29.1395 | 158.25 | 151.96
180 | 4 | 27 | 54673.9761 | 10818.5075 | 6357.1869 | 2547.3851 | 83.17 | 99.26 | 107 | 21.3625 | 134.39 | 153.74
181 | 4 | 28 | 55050.9198 | 10922.9371 | 6599.4941 | 2840.8277 | 99.87 | 123.47 | 151 | 35.8765 | 176.69 | 150.87
182 | 4 | 29 | 54526.1796 | 10940.0692 | 6383.7774 | 2839.3293 | 83.76 | 101.47 | 100 | 23.1661 | 139.87 | 153.49
183 | 4 | 30 | 54289.1365 | 10181.6976 | 6271.7033 | 2533.0906 | 78.6 | 92.95 | 72 | 18.1647 | 123.41 | 151.96
184 | 4 | 31 | 54482.7946 | 10283.2642 | 6294.0109 | 2615.8387 | 79.87 | 94.48 | 97 | 18.6034 | 125.1 | 153.99
185 | 4 | 32 | 55013.8329 | 10922.9371 | 6499.8604 | 2735.9848 | 89.28 | 111.24 | 100 | 27.7769 | 155.7 | 147.01
186 | 4 | 33 | 54675.7574 | 10583.0015 | 6374.885 | 2633.9297 | 75.88 | 90.37 | 77 | 15.5282 | 119.98 | 154.41
187 | 4 | 34 | 54730.7956 | 10922.9371 | 6428.4497 | 2752.985 | 80.8 | 97.3 | 88 | 19.4673 | 134.65 | 159.27
188 | 4 | 35 | 54797.8134 | 10816.6 | 6395.0965 | 2620.1537 | 82.61 | 98.67 | 101 | 20.8874 | 132.53 | 153.32
189 | 4 | 36 | 54932.7541 | 10403.1319 | 6505.835 | 2618.0606 | 84.02 | 101.27 | 103 | 20.9326 | 134.79 | 148.36
190 | 4 | 37 | 54788.4018 | 10583.0015 | 6374.9229 | 2561.7167 | 77.08 | 90.72 | 90 | 16.3377 | 119.44 | 153.96
191 | 4 | 38 | 54578.2694 | 10922.9371 | 6374.7186 | 2735.9848 | 86.4 | 106.2 | 107 | 25.5177 | 149.12 | 151.99
192 | 4 | 39 | 54872.7133 | 10583.0015 | 6480.5475 | 2618.0606 | 89 | 106.6 | 112 | 27.1863 | 144.29 | 148.37
193 | 4 | 40 | 54854.4969 | 10583.0015 | 6458.6881 | 2618.0606 | 85.64 | 102.78 | 97 | 23.1252 | 138.18 | 150.35
194 | 4 | 41 | 54802.4796 | 10940.0692 | 6422.3867 | 2839.3293 | 93.21 | 113.35 | 109 | 30.0748 | 156.38 | 142.76
195 | 4 | 42 | 54575.7142 | 10403.1319 | 6353.3152 | 2271.4026 | 87.57 | 105.34 | 102 | 26.5907 | 141.09 | 144.77
196 | 4 | 43 | 54650.0924 | 10352.7731 | 6336.5753 | 2633.9297 | 82.33 | 98.32 | 85 | 20.1874 | 134.04 | 156.24
197 | 4 | 44 | 54460.5058 | 10583.0015 | 6290.2587 | 2380.7214 | 78.49 | 94.72 | 95 | 18.6687 | 127.04 | 150.9
198 | 4 | 45 | 55005.8582 | 10583.0015 | 6540.5141 | 2380.7214 | 82.1 | 98.16 | 116 | 19.1487 | 130.26 | 152.09
199 | 4 | 46 | 54863.3957 | 10891.9108 | 6446.4765 | 2840.8277 | 86.37 | 105.01 | 116 | 23.7858 | 146.11 | 151.71
200 | 4 | 47 | 55034.2155 | 10922.9371 | 6550.0426 | 2735.9848 | 81.84 | 98.89 | 99 | 18.8576 | 134.09 | 154.95
201 | 4 | 48 | 54753.1126 | 10225.087 | 6445.976 | 2618.0606 | 83.83 | 100.56 | 101 | 21.4592 | 135.13 | 149.51
202 | 4 | 49 | 54730.545 | 10940.0692 | 6491.5036 | 2909.2896 | 94.12 | 118.3 | 112 | 31.4848 | 171.07 | 149.11
203 | 4 | 50 | 55311.2015 | 10922.9371 | 6558.4248 | 2840.8277 | 108.01 | 138.92 | 165 | 43.1445 | 207.67 | 145.33
204 | 4 | 51 | 55153.197 | 10644.0641 | 6589.3586 | 2593.278 | 92.35 | 113.16 | 110 | 29.2948 | 155.71 | 147.01
205 | 5 | 1 | 54534.6203 | 10112.6156 | 6355.4193 | 2207.6571 | 78.89 | 92.77 | 107 | 17.3893 | 121.66 | 155.55
206 | 5 | 2 | 54284.0554 | 10403.1319 | 6301.4163 | 2451.3155 | 82.34 | 99.13 | 113 | 21.124 | 134.65 | 155.37
207 | 5 | 3 | 54758.1042 | 10583.0015 | 6455.6842 | 2533.0906 | 86.72 | 105.08 | 123 | 24.995 | 142.85 | 147.69
208 | 5 | 4 | 55042.8709 | 10583.0015 | 6527.1569 | 2533.0906 | 81.9 | 97.52 | 106 | 19.5716 | 128.84 | 150.54
209 | 5 | 5 | 54788.3095 | 10403.1319 | 6414.4498 | 2615.8387 | 84.31 | 99.81 | 109 | 22.3212 | 129.51 | 143.57
210 | 5 | 6 | 54791.0863 | 10227.1668 | 6465.5348 | 2618.0606 | 77.47 | 91.2 | 100 | 15.728 | 116.44 | 151.38
211 | 5 | 7 | 55007.7062 | 10583.0015 | 6522.0195 | 2618.0606 | 86.34 | 102.35 | 110 | 23.2622 | 136.16 | 149.98
212 | 5 | 8 | 54994.6686 | 10922.9371 | 6473.0453 | 2735.9848 | 87.73 | 104.44 | 127 | 24.4276 | 141.65 | 152.83
213 | 5 | 9 | 54643.042 | 10940.0692 | 6433.8263 | 2839.3293 | 92.86 | 112.85 | 121 | 30.5915 | 154.4 | 142.61
214 | 5 | 10 | 55194.0836 | 10922.9371 | 6616.9974 | 2735.9848 | 81.8 | 98.22 | 100 | 19.3195 | 130.89 | 151.97
215 | 5 | 11 | 54579.0074 | 10583.0015 | 6376.6597 | 2618.0606 | 82.04 | 97.46 | 89 | 21.13 | 129.19 | 149.95
216 | 5 | 12 | 54730.5561 | 10583.0015 | 6470.9653 | 2752.985 | 89.6 | 110.86 | 123 | 27.2511 | 155.38 | 147.96
217 | 5 | 13 | 54678.0722 | 10461.7348 | 6413.3363 | 2561.7167 | 86.08 | 103.73 | 122 | 23.9488 | 142.45 | 153.41
218 | 5 | 14 | 54787.4919 | 10583.0015 | 6446.4241 | 2357.4184 | 89.22 | 108.31 | 111 | 27.387 | 148 | 148.04
219 | 5 | 15 | 54958.6944 | 10922.9371 | 6501.2015 | 2735.9848 | 89.63 | 107.91 | 107 | 26.8999 | 144.75 | 144.66
220 | 5 | 16 | 54958.8625 | 10922.9371 | 6549.073 | 2735.9848 | 90.97 | 110.66 | 128 | 28.0482 | 151.25 | 148.34
221 | 5 | 17 | 54996.3308 | 10922.9371 | 6477.7811 | 2735.9848 | 94.34 | 116.71 | 112 | 32.0948 | 163.74 | 143.3
222 | 5 | 18 | 54741.1435 | 10287.9064 | 6417.9249 | 2533.0906 | 85.02 | 101.48 | 103 | 23.6617 | 138.05 | 151.11
223 | 5 | 19 | 54657.1994 | 10403.1319 | 6359.3601 | 2337.5833 | 76.34 | 89.89 | 83 | 16.0937 | 116.74 | 151.73
224 | 5 | 20 | 54832.5678 | 10403.1319 | 6471.5629 | 2533.0906 | 87.59 | 104.29 | 118 | 24.8257 | 139.8 | 150.93
225 | 5 | 21 | 54789.8342 | 10891.9108 | 6438.5015 | 2840.8277 | 100.35 | 124.57 | 124 | 38.1773 | 175.1 | 137.78
226 | 5 | 22 | 54806.8498 | 10818.5075 | 6444.6055 | 2547.3851 | 76.86 | 90.36 | 96 | 15.2508 | 118.18 | 155.2
227 | 5 | 23 | 54670.5769 | 10583.0015 | 6417.7205 | 2533.0906 | 77.61 | 90.94 | 98 | 16.0391 | 119.15 | 154.29
228 | 5 | 24 | 54673.3998 | 10304.2735 | 6348.5764 | 2618.0606 | 86.22 | 104.16 | 99 | 25.1744 | 140.44 | 145.21
229 | 5 | 25 | 54645.2262 | 10583.0015 | 6380.0181 | 2618.0606 | 83.51 | 97.9 | 109 | 21.4681 | 128.53 | 151.18
230 | 5 | 26 | 54854.5079 | 10922.9371 | 6475.7972 | 2840.8277 | 90.7 | 111.55 | 109 | 28.9111 | 157.22 | 151.22
231 | 5 | 27 | 54673.9761 | 10818.5075 | 6357.1869 | 2547.3851 | 94.47 | 115.26 | 108 | 32.4366 | 158.97 | 141.32
232 | 5 | 28 | 55050.9198 | 10922.9371 | 6599.4941 | 2840.8277 | 105.38 | 132 | 149 | 41.4407 | 188.99 | 141.5
233 | 5 | 29 | 54526.1796 | 10940.0692 | 6383.7774 | 2839.3293 | 86.59 | 104.8 | 107 | 25.2426 | 143.83 | 150.53
234 | 5 | 30 | 54289.1365 | 10181.6976 | 6271.7033 | 2533.0906 | 74.45 | 87.28 | 74 | 14.1789 | 114.08 | 155.97
235 | 5 | 31 | 54482.7946 | 10283.2642 | 6294.0109 | 2615.8387 | 81.7 | 97.34 | 92 | 20.5827 | 127.63 | 146.14
236 | 5 | 32 | 55013.8329 | 10922.9371 | 6499.8604 | 2735.9848 | 80.04 | 96.34 | 105 | 18.5311 | 129.76 | 153.91
237 | 5 | 33 | 54675.7574 | 10583.0015 | 6374.885 | 2633.9297 | 89.68 | 111.12 | 93 | 29.0469 | 154.68 | 142.99
238 | 5 | 34 | 54730.7956 | 10922.9371 | 6428.4497 | 2752.985 | 97.18 | 121.01 | 104 | 35.7982 | 176.32 | 148.08
239 | 5 | 35 | 54797.8134 | 10816.6 | 6395.0965 | 2620.1537 | 80.19 | 95.68 | 97 | 19.3424 | 129.19 | 155.42
240 | 5 | 36 | 54932.7541 | 10403.1319 | 6505.835 | 2618.0606 | 85.09 | 102.69 | 111 | 22.2307 | 136.43 | 146.55
241 | 5 | 37 | 54788.4018 | 10583.0015 | 6374.9229 | 2561.7167 | 76.86 | 89.39 | 78 | 15.8743 | 114.82 | 152.17
242 | 5 | 38 | 54578.2694 | 10922.9371 | 6374.7186 | 2735.9848 | 83.54 | 102.14 | 105 | 22.5324 | 141.94 | 153.29
243 | 5 | 39 | 54872.7133 | 10583.0015 | 6480.5475 | 2618.0606 | 78.98 | 92.88 | 93 | 17.5147 | 121.68 | 153.73
244 | 5 | 40 | 54854.4969 | 10583.0015 | 6458.6881 | 2618.0606 | 88.18 | 107.67 | 105 | 25.5119 | 146.73 | 146.54
245 | 5 | 41 | 54802.4796 | 10940.0692 | 6422.3867 | 2839.3293 | 79.49 | 93.95 | 105 | 16.5021 | 125.17 | 155.58
246 | 5 | 42 | 54575.7142 | 10403.1319 | 6353.3152 | 2271.4026 | 82.2 | 97.44 | 87 | 21.4925 | 128.7 | 149.39
247 | 5 | 43 | 54650.0924 | 10352.7731 | 6336.5753 | 2633.9297 | 82.15 | 98.79 | 94 | 20.0281 | 135.19 | 154.01
248 | 5 | 44 | 54460.5058 | 10583.0015 | 6290.2587 | 2380.7214 | 78.6 | 94.83 | 103 | 18.7679 | 128.52 | 153.22
249 | 5 | 45 | 55005.8582 | 10583.0015 | 6540.5141 | 2380.7214 | 94.98 | 116.66 | 126 | 31.7977 | 161.49 | 144.74
250 | 5 | 46 | 54863.3957 | 10891.9108 | 6446.4765 | 2840.8277 | 91.24 | 110.85 | 117 | 28.06 | 152.95 | 145.06
251 | 5 | 47 | 55034.2155 | 10922.9371 | 6550.0426 | 2735.9848 | 86.77 | 106.28 | 115 | 23.0841 | 146.24 | 150.47
252 | 5 | 48 | 54753.1126 | 10225.087 | 6445.976 | 2618.0606 | 89.67 | 109.26 | 112 | 26.9034 | 150.44 | 147.3
253 | 5 | 49 | 54730.545 | 10940.0692 | 6491.5036 | 2909.2896 | 93.7 | 118.69 | 116 | 30.8967 | 176.67 | 155.27
254 | 5 | 50 | 55311.2015 | 10922.9371 | 6558.4248 | 2840.8277 | 104.8 | 135.99 | 131 | 40.4533 | 205.57 | 148.16
255 | 5 | 51 | 55153.197 | 10644.0641 | 6589.3586 | 2593.278 | 96.21 | 118.9 | 119 | 32.982 | 165.07 | 146.51
256 | 6 | 1 | 54534.6203 | 10112.6156 | 6355.4193 | 2207.6571 | 85.03 | 100.57 | 99 | 23.4133 | 133.11 | 150.46
257 | 6 | 2 | 54284.0554 | 10403.1319 | 6301.4163 | 2451.3155 | 81.52 | 96.89 | 96 | 20.7542 | 130.86 | 155.15
258 | 6 | 3 | 54758.1042 | 10583.0015 | 6455.6842 | 2533.0906 | 89.29 | 109 | 113 | 27.3206 | 152.4 | 152.41
259 | 6 | 4 | 55042.8709 | 10583.0015 | 6527.1569 | 2533.0906 | 82.72 | 97.04 | 103 | 20.1848 | 127.91 | 153.62
260 | 6 | 5 | 54788.3095 | 10403.1319 | 6414.4498 | 2615.8387 | 81.88 | 97.96 | 83 | 19.9595 | 133.57 | 156.99
261 | 6 | 6 | 54791.0863 | 10227.1668 | 6465.5348 | 2618.0606 | 82.69 | 97.87 | 85 | 21.2883 | 127.7 | 147.46
262 | 6 | 7 | 55007.7062 | 10583.0015 | 6522.0195 | 2618.0606 | 83.96 | 97.41 | 87 | 20.5889 | 124.86 | 148.92
263 | 6 | 8 | 54994.6686 | 10922.9371 | 6473.0453 | 2735.9848 | 98.35 | 120.39 | 126 | 35.2505 | 172.4 | 151.65
264 | 6 | 9 | 54643.042 | 10940.0692 | 6433.8263 | 2839.3293 | 91.11 | 112.47 | 93 | 29.0626 | 159.19 | 151.84
265 | 6 | 10 | 55194.0836 | 10922.9371 | 6616.9974 | 2735.9848 | 80.55 | 96.69 | 97 | 18.0248 | 130.77 | 156.71
266 | 6 | 11 | 54579.0074 | 10583.0015 | 6376.6597 | 2618.0606 | 83.96 | 101.24 | 92 | 22.7614 | 138.41 | 153.12
267 | 6 | 12 | 54730.5561 | 10583.0015 | 6470.9653 | 2752.985 | 82.65 | 98.98 | 105 | 20.4393 | 134.68 | 155.71
268 | 6 | 13 | 54678.0722 | 10461.7348 | 6413.3363 | 2561.7167 | 96.6 | 118.26 | 125 | 34.2657 | 165.08 | 145.73
269 | 6 | 14 | 54787.4919 | 10583.0015 | 6446.4241 | 2357.4184 | 86.73 | 102.78 | 91 | 25.2356 | 139.01 | 154.34
270 | 6 | 15 | 54958.6944 | 10922.9371 | 6501.2015 | 2735.9848 | 91.46 | 110.22 | 104 | 28.6085 | 150.41 | 147.82
271 | 6 | 16 | 54958.8625 | 10922.9371 | 6549.073 | 2735.9848 | 100.29 | 122.64 | 145 | 36.9058 | 171.81 | 146.33
272 | 6 | 17 | 54996.3308 | 10922.9371 | 6477.7811 | 2735.9848 | 100.42 | 124.09 | 124 | 37.9155 | 177.41 | 144.48
273 | 6 | 18 | 54741.1435 | 10287.9064 | 6417.9249 | 2533.0906 | 91.31 | 109.73 | 91 | 29.7146 | 153.56 | 154.45
274 | 6 | 19 | 54657.1994 | 10403.1319 | 6359.3601 | 2337.5833 | 86.76 | 105.54 | 99 | 25.8589 | 143.7 | 143.28
275 | 6 | 20 | 54832.5678 | 10403.1319 | 6471.5629 | 2533.0906 | 101.32 | 124.1 | 129 | 38.0865 | 173.43 | 144.3
276 | 6 | 21 | 54789.8342 | 10891.9108 | 6438.5015 | 2840.8277 | 91.76 | 111.43 | 113 | 29.7626 | 155.51 | 150.44
277 | 6 | 22 | 54806.8498 | 10818.5075 | 6444.6055 | 2547.3851 | 82.12 | 96.95 | 105 | 20.3585 | 128.58 | 153.35
278 | 6 | 23 | 54670.5769 | 10583.0015 | 6417.7205 | 2533.0906 | 79.12 | 93.24 | 78 | 17.6252 | 123.06 | 155.03
279 | 6 | 24 | 54673.3998 | 10304.2735 | 6348.5764 | 2618.0606 | 83.3 | 102.39 | 97 | 22.6051 | 141.66 | 151.22
280 | 6 | 25 | 54645.2262 | 10583.0015 | 6380.0181 | 2618.0606 | 88.98 | 104.99 | 105 | 27.1831 | 140.08 | 147.53
281 | 6 | 26 | 54854.5079 | 10922.9371 | 6475.7972 | 2840.8277 | 96.99 | 118.75 | 121 | 34.5563 | 167.7 | 147.54
282 | 6 | 27 | 54673.9761 | 10818.5075 | 6357.1869 | 2547.3851 | 94.3 | 114.65 | 105 | 32.4959 | 160.71 | 147.83
283 | 6 | 28 | 55050.9198 | 10922.9371 | 6599.4941 | 2840.8277 | 101.08 | 125.02 | 163 | 36.7249 | 176.41 | 144.74
284 | 6 | 29 | 54526.1796 | 10940.0692 | 6383.7774 | 2839.3293 | 86.72 | 104.99 | 107 | 25.5866 | 145.22 | 153.14
285 | 6 | 30 | 54289.1365 | 10181.6976 | 6271.7033 | 2533.0906 | 75.9 | 88.67 | 76 | 15.114 | 115.91 | 157.24
286 | 6 | 31 | 54482.7946 | 10283.2642 | 6294.0109 | 2615.8387 | 81.66 | 97.01 | 99 | 20.3799 | 130.38 | 154.36
287 | 6 | 32 | 55013.8329 | 10922.9371 | 6499.8604 | 2735.9848 | 91.97 | 113.52 | 109 | 30.6581 | 158.53 | 146.78
288 | 6 | 33 | 54675.7574 | 10583.0015 | 6374.885 | 2633.9297 | 89.61 | 108.67 | 103 | 28.6533 | 150.17 | 147.22
289 | 6 | 34 | 54730.7956 | 10922.9371 | 6428.4497 | 2752.985 | 86.03 | 103.9 | 101 | 24.2399 | 141.96 | 148.09
290 | 6 | 35 | 54797.8134 | 10816.6 | 6395.0965 | 2620.1537 | 98.09 | 119.5 | 122 | 36.5751 | 165.92 | 140.26
291 | 6 | 36 | 54932.7541 | 10403.1319 | 6505.835 | 2618.0606 | 86.72 | 106.1 | 110 | 23.7741 | 143.97 | 147.18
292 | 6 | 37 | 54788.4018 | 10583.0015 | 6374.9229 | 2561.7167 | 76.16 | 88.9 | 88 | 14.5751 | 114.57 | 154.56
293 | 6 | 38 | 54578.2694 | 10922.9371 | 6374.7186 | 2735.9848 | 94.53 | 115.37 | 112 | 33.2249 | 160.18 | 143.15
294 | 6 | 39 | 54872.7133 | 10583.0015 | 6480.5475 | 2618.0606 | 85.81 | 102.97 | 102 | 23.8752 | 138.79 | 150.84
295 | 6 | 40 | 54854.4969 | 10583.0015 | 6458.6881 | 2618.0606 | 83.03 | 99.69 | 115 | 20.1333 | 132.19 | 151.31
296 | 6 | 41 | 54802.4796 | 10940.0692 | 6422.3867 | 2839.3293 | 91.87 | 111.11 | 107 | 28.849 | 153.11 | 146.23
297 | 6 | 42 | 54575.7142 | 10403.1319 | 6353.3152 | 2271.4026 | 81.38 | 95.61 | 85 | 20.4474 | 124.42 | 151.1
298 | 6 | 43 | 54650.0924 | 10352.7731 | 6336.5753 | 2633.9297 | 97.82 | 121.74 | 118 | 34.9307 | 174.89 | 145.65
299 | 6 | 44 | 54460.5058 | 10583.0015 | 6290.2587 | 2380.7214 | 89.42 | 109.75 | 98 | 29.7905 | 154.72 | 148.7
300 | 6 | 45 | 55005.8582 | 10583.0015 | 6540.5141 | 2380.7214 | 84.26 | 99.65 | 96 | 21.1174 | 131.39 | 151.26
301 | 6 | 46 | 54863.3957 | 10891.9108 | 6446.4765 | 2840.8277 | 96.19 | 119 | 110 | 33.3158 | 168.11 | 142.29
302 | 6 | 47 | 55034.2155 | 10922.9371 | 6550.0426 | 2735.9848 | 85.84 | 104.19 | 118 | 22.012 | 141.03 | 149.09
303 | 6 | 48 | 54753.1126 | 10225.087 | 6445.976 | 2618.0606 | 88.4 | 107.85 | 124 | 25.3114 | 148.55 | 149.99
304 | 6 | 49 | 54730.545 | 10940.0692 | 6491.5036 | 2909.2896 | 103.67 | 133.73 | 118 | 40.8522 | 199.64 | 143.47
305 | 6 | 50 | 55311.2015 | 10922.9371 | 6558.4248 | 2840.8277 | 104.83 | 132.93 | 159 | 39.7848 | 196.6 | 145.84
306 | 6 | 51 | 55153.197 | 10644.0641 | 6589.3586 | 2593.278 | 92.64 | 112.04 | 107 | 29.0192 | 152.5 | 148.51
307 | 7 | 1 | 54534.6203 | 10112.6156 | 6355.4193 | 2207.6571 | 79.05 | 91.95 | 96 | 17.6639 | 119.29 | 155.54
308 | 7 | 2 | 54284.0554 | 10403.1319 | 6301.4163 | 2451.3155 | 79.85 | 95.18 | 98 | 19.3255 | 127.95 | 154.05
309 | 7 | 3 | 54758.1042 | 10583.0015 | 6455.6842 | 2533.0906 | 89.9 | 109.32 | 103 | 28.4949 | 151.94 | 149.46
310 | 7 | 4 | 55042.8709 | 10583.0015 | 6527.1569 | 2533.0906 | 83.45 | 99.42 | 113 | 20.9605 | 132.33 | 150.3
311 | 7 | 5 | 54788.3095 | 10403.1319 | 6414.4498 | 2615.8387 | 82.96 | 98.58 | 88 | 21.2034 | 130.77 | 151.08
312 | 7 | 6 | 54791.0863 | 10227.1668 | 6465.5348 | 2618.0606 | 74.82 | 86.58 | 63 | 13.8691 | 109.45 | 153.89
313 | 7 | 7 | 55007.7062 | 10583.0015 | 6522.0195 | 2618.0606 | 86.99 | 104.18 | 107 | 24.1617 | 139.07 | 146.89
314 | 7 | 8 | 54994.6686 | 10922.9371 | 6473.0453 | 2735.9848 | 100.28 | 124.05 | 123 | 37.3465 | 178.17 | 146.9
315 | 7 | 9 | 54643.042 | 10940.0692 | 6433.8263 | 2839.3293 | 84.74 | 102.25 | 100 | 22.6971 | 140.66 | 155.09
316 | 7 | 10 | 55194.0836 | 10922.9371 | 6616.9974 | 2735.9848 | 87.44 | 106.86 | 100 | 25.1148 | 148.01 | 151.86
317 | 7 | 11 | 54579.0074 | 10583.0015 | 6376.6597 | 2618.0606 | 81.43 | 97.19 | 93 | 20.1508 | 131.79 | 156.08
318 | 7 | 12 | 54730.5561 | 10583.0015 | 6470.9653 | 2752.985 | 96.01 | 119.34 | 125 | 33.71 | 169.08 | 143.66
319 | 7 | 13 | 54678.0722 | 10461.7348 | 6413.3363 | 2561.7167 | 83.18 | 99.43 | 115 | 21.1068 | 134.04 | 153.6
320 | 7 | 14 | 54787.4919 | 10583.0015 | 6446.4241 | 2357.4184 | 91.18 | 110.69 | 121 | 29.5741 | 153.82 | 151.09
321 | 7 | 15 | 54958.6944 | 10922.9371 | 6501.2015 | 2735.9848 | 91.36 | 110.51 | 115 | 29.1434 | 152.04 | 148.8
322 | 7 | 16 | 54958.8625 | 10922.9371 | 6549.073 | 2735.9848 | 81.69 | 96.9 | 106 | 19.5742 | 128.92 | 153.87
323 | 7 | 17 | 54996.3308 | 10922.9371 | 6477.7811 | 2735.9848 | 89.32 | 108.04 | 115 | 27.0163 | 147.17 | 145.82
324 | 7 | 18 | 54741.1435 | 10287.9064 | 6417.9249 | 2533.0906 | 85.87 | 102.72 | 83 | 24.2488 | 139.6 | 151.17
325 | 7 | 19 | 54657.1994 | 10403.1319 | 6359.3601 | 2337.5833 | 83.99 | 101.14 | 81 | 23.4414 | 133.96 | 143.74
326 | 7 | 20 | 54832.5678 | 10403.1319 | 6471.5629 | 2533.0906 | 88.64 | 106.1 | 105 | 25.8017 | 143.66 | 151.1
327 | 7 | 21 | 54789.8342 | 10891.9108 | 6438.5015 | 2840.8277 | 97.53 | 120.61 | 121 | 35.6489 | 169.79 | 141.36
328 | 7 | 22 | 54806.8498 | 10818.5075 | 6444.6055 | 2547.3851 | 83.02 | 98.97 | 101 | 21.3871 | 134.03 | 154.29
329 | 7 | 23 | 54670.5769 | 10583.0015 | 6417.7205 | 2533.0906 | 85.16 | 102.61 | 88 | 23.4412 | 138.77 | 149.64
330 | 7 | 24 | 54673.3998 | 10304.2735 | 6348.5764 | 2618.0606 | 78.43 | 94.86 | 76 | 17.9982 | 128.78 | 154.54
331 | 7 | 25 | 54645.2262 | 10583.0015 | 6380.0181 | 2618.0606 | 83.89 | 98.11 | 115 | 22.0056 | 129.67 | 151.54
332 | 7 | 26 | 54854.5079 | 10922.9371 | 6475.7972 | 2840.8277 | 88.91 | 107.72 | 122 | 26.7999 | 148.51 | 150.78
333 | 7 | 27 | 54673.9761 | 10818.5075 | 6357.1869 | 2547.3851 | 85.59 | 102.04 | 99 | 23.89 | 139.25 | 153.91
334 | 7 | 28 | 55050.9198 | 10922.9371 | 6599.4941 | 2840.8277 | 110.68 | 140.22 | 162 | 46.7529 | 205.49 | 138.79
335 | 7 | 29 | 54526.1796 | 10940.0692 | 6383.7774 | 2839.3293 | 77.22 | 90.8 | 86 | 16.8629 | 120.21 | 157.34
336 | 7 | 30 | 54289.1365 | 10181.6976 | 6271.7033 | 2533.0906 | 73.96 | 86.04 | 72 | 13.665 | 110.72 | 156.26
337 | 7 | 31 | 54482.7946 | 10283.2642 | 6294.0109 | 2615.8387 | 87.44 | 106.7 | 106 | 26.0742 | 147.04 | 148.06
338 | 7 | 32 | 55013.8329 | 10922.9371 | 6499.8604 | 2735.9848 | 84.15 | 104.94 | 93 | 23.0771 | 150.13 | 157.59
339 | 7 | 33 | 54675.7574 | 10583.0015 | 6374.885 | 2633.9297 | 83.24 | 100.96 | 78 | 22.9313 | 135.75 | 145.49
340 | 7 | 34 | 54730.7956 | 10922.9371 | 6428.4497 | 2752.985 | 85.74 | 105.09 | 85 | 24.4685 | 147.38 | 152.38
341 | 7 | 35 | 54797.8134 | 10816.6 | 6395.0965 | 2620.1537 | 82.7 | 98.95 | 106 | 21.5872 | 133.53 | 153.19
342 | 7 | 36 | 54932.7541 | 10403.1319 | 6505.835 | 2618.0606 | 86.36 | 105.31 | 101 | 24.0732 | 142.27 | 147.24
343 | 7 | 37 | 54788.4018 | 10583.0015 | 6374.9229 | 2561.7167 | 77.48 | 91.42 | 83 | 16.5648 | 118.81 | 150.84
344 | 7 | 38 | 54578.2694 | 10922.9371 | 6374.7186 | 2735.9848 | 88.91 | 108.56 | 112 | 27.7075 | 150.96 | 149.16
345 | 7 | 39 | 54872.7133 | 10583.0015 | 6480.5475 | 2618.0606 | 85.69 | 101.44 | 86 | 24.1658 | 135.74 | 150.72
346 | 7 | 40 | 54854.4969 | 10583.0015 | 6458.6881 | 2618.0606 | 84.38 | 101.87 | 94 | 22.0124 | 137.28 | 150.41
347 | 7 | 41 | 54802.4796 | 10940.0692 | 6422.3867 | 2839.3293 | 85.22 | 103.02 | 111 | 22.6731 | 142.53 | 153.67
348 | 7 | 42 | 54575.7142 | 10403.1319 | 6353.3152 | 2271.4026 | 81.88 | 97.17 | 88 | 21.434 | 129.83 | 152.35
349 | 7 | 43 | 54650.0924 | 10352.7731 | 6336.5753 | 2633.9297 | 84.64 | 102.25 | 97 | 22.5522 | 139.63 | 150.68
350 | 7 | 44 | 54460.5058 | 10583.0015 | 6290.2587 | 2380.7214 | 90.3 | 112.13 | 99 | 30.608 | 159.66 | 145.37
351 | 7 | 45 | 55005.8582 | 10583.0015 | 6540.5141 | 2380.7214 | 86.32 | 103.55 | 122 | 23.1742 | 139.17 | 149.92
352 | 7 | 46 | 54863.3957 | 10891.9108 | 6446.4765 | 2840.8277 | 90.21 | 111.4 | 118 | 27.3791 | 157.33 | 150.6
353 | 7 | 47 | 55034.2155 | 10922.9371 | 6550.0426 | 2735.9848 | 85.46 | 103.12 | 106 | 22.2768 | 137.73 | 148.2
354 | 7 | 48 | 54753.1126 | 10225.087 | 6445.976 | 2618.0606 | 89.74 | 109.56 | 102 | 27.0685 | 151.17 | 145.88
355 | 7 | 49 | 54730.545 | 10940.0692 | 6491.5036 | 2909.2896 | 91.46 | 114.02 | 112 | 28.9705 | 161.59 | 147.67
356 | 7 | 50 | 55311.2015 | 10922.9371 | 6558.4248 | 2840.8277 | 109.08 | 140.33 | 167 | 44.2024 | 209.64 | 140.59
357 | 7 | 51 | 55153.197 | 10644.0641 | 6589.3586 | 2593.278 | 90.8 | 110.22 | 110 | 27.9446 | 150.5 | 149.04
358 | 8 | 1 | 54534.6203 | 10112.6156 | 6355.4193 | 2207.6571 | 82.76 | 98.07 | 110 | 20.5837 | 129.27 | 151.49
359 | 8 | 2 | 54284.0554 | 10403.1319 | 6301.4163 | 2451.3155 | 69.69 | 80.26 | 102 | 9.0213 | 102.62 | 162.42
360 | 8 | 3 | 54758.1042 | 10583.0015 | 6455.6842 | 2533.0906 | 82.77 | 99.53 | 106 | 20.9533 | 136.08 | 155.77
361 | 8 | 4 | 55042.8709 | 10583.0015 | 6527.1569 | 2533.0906 | 79.92 | 94.67 | 100 | 17.5332 | 124.49 | 152.54
362 | 8 | 5 | 54788.3095 | 10403.1319 | 6414.4498 | 2615.8387 | 79.93 | 94.03 | 99 | 17.7227 | 124.11 | 154.99
363 | 8 | 6 | 54791.0863 | 10227.1668 | 6465.5348 | 2618.0606 | 80.87 | 95.43 | 74 | 19.1876 | 125.53 | 151.74
364 | 8 | 7 | 55007.7062 | 10583.0015 | 6522.0195 | 2618.0606 | 79.65 | 92.92 | 84 | 16.6642 | 120.92 | 155.81
365 | 8 | 8 | 54994.6686 | 10922.9371 | 6473.0453 | 2735.9848 | 100.05 | 123.67 | 127 | 36.7764 | 179.49 | 151.47
366 | 8 | 9 | 54643.042 | 10940.0692 | 6433.8263 | 2839.3293 | 83.03 | 98.96 | 93 | 21.0785 | 132.71 | 154.3
367 | 8 | 10 | 55194.0836 | 10922.9371 | 6616.9974 | 2735.9848 | 91.97 | 112.94 | 108 | 29.2765 | 159.09 | 151.55
368 | 8 | 11 | 54579.0074 | 10583.0015 | 6376.6597 | 2618.0606 | 75.71 | 89.66 | 90 | 14.1552 | 119.01 | 159.18
369 | 8 | 12 | 54730.5561 | 10583.0015 | 6470.9653 | 2752.985 | 85.16 | 102.91 | 116 | 22.5145 | 142.05 | 154.99
370 | 8 | 13 | 54678.0722 | 10461.7348 | 6413.3363 | 2561.7167 | 93.74 | 114.91 | 127 | 31.5256 | 161.54 | 148.52
371 | 8 | 14 | 54787.4919 | 10583.0015 | 6446.4241 | 2357.4184 | 86.89 | 104.56 | 100 | 25.3703 | 144.54 | 151.66
372 | 8 | 15 | 54958.6944 | 10922.9371 | 6501.2015 | 2735.9848 | 81.15 | 95.93 | 111 | 18.2892 | 128.38 | 156.55
373 | 8 | 16 | 54958.8625 | 10922.9371 | 6549.073 | 2735.9848 | 86.07 | 102.8 | 124 | 23.1741 | 138.29 | 152.38
374 | 8 | 17 | 54996.3308 | 10922.9371 | 6477.7811 | 2735.9848 | 89.05 | 109.56 | 119 | 26.7155 | 154.39 | 152.67
375 | 8 | 18 | 54741.1435 | 10287.9064 | 6417.9249 | 2533.0906 | 77.97 | 91.81 | 87 | 16.3363 | 121.79 | 155.53
376 | 8 | 19 | 54657.1994 | 10403.1319 | 6359.3601 | 2337.5833 | 75.34 | 88.22 | 79 | 14.6029 | 112.26 | 150.45
377 | 8 | 20 | 54832.5678 | 10403.1319 | 6471.5629 | 2533.0906 | 85.27 | 101.48 | 107 | 22.739 | 136.05 | 152.52
378 | 8 | 21 | 54789.8342 | 10891.9108 | 6438.5015 | 2840.8277 | 78.96 | 93.32 | 99 | 16.9794 | 123.77 | 155.45
379 | 8 | 22 | 54806.8498 | 10818.5075 | 6444.6055 | 2547.3851 | 73.13 | 85.98 | 90 | 11.4348 | 111.72 | 158.88
380 | 8 | 23 | 54670.5769 | 10583.0015 | 6417.7205 | 2533.0906 | 78.94 | 92.72 | 87 | 17.4986 | 122.58 | 155.1
381 | 8 | 24 | 54673.3998 | 10304.2735 | 6348.5764 | 2618.0606 | 77.99 | 94.24 | 86 | 17.3272 | 127.85 | 154.36
382 | 8 | 25 | 54645.2262 | 10583.0015 | 6380.0181 | 2618.0606 | 79.31 | 93.17 | 97 | 17.6045 | 123.4 | 156.11
383 | 8 | 26 | 54854.5079 | 10922.9371 | 6475.7972 | 2840.8277 | 87.9 | 108.58 | 134 | 25.3301 | 154.71 | 156.59
384 | 8 | 27 | 54673.9761 | 10818.5075 | 6357.1869 | 2547.3851 | 81.6 | 96.94 | 97 | 19.7502 | 130.13 | 155.03
385 | 8 | 28 | 55050.9198 | 10922.9371 | 6599.4941 | 2840.8277 | 95.19 | 117.49 | 156 | 31.0201 | 166.26 | 151.82
386 | 8 | 29 | 54526.1796 | 10940.0692 | 6383.7774 | 2839.3293 | 85.89 | 102.96 | 100 | 24.6417 | 140.17 | 151.67
387 | 8 | 30 | 54289.1365 | 10181.6976 | 6271.7033 | 2533.0906 | 71.54 | 82.86 | 64 | 11.0312 | 106.2 | 158.65
388 | 8 | 31 | 54482.7946 | 10283.2642 | 6294.0109 | 2615.8387 | 81.45 | 96.79 | 97 | 20.3721 | 127.96 | 149.33
389 | 8 | 32 | 55013.8329 | 10922.9371 | 6499.8604 | 2735.9848 | 84.99 | 106.4 | 103 | 23.0153 | 152.86 | 157.99
390 | 8 | 33 | 54675.7574 | 10583.0015 | 6374.885 | 2633.9297 | 71.95 | 85.07 | 75 | 11.5342 | 111.87 | 159.75
391 | 8 | 34 | 54730.7956 | 10922.9371 | 6428.4497 | 2752.985 | 89.38 | 111.11 | 108 | 27.4816 | 159.79 | 153.12
392 | 8 | 35 | 54797.8134 | 10816.6 | 6395.0965 | 2620.1537 | 77.41 | 91.19 | 99 | 16.0309 | 119.72 | 154.94
393 | 8 | 36 | 54932.7541 | 10403.1319 | 6505.835 | 2618.0606 | 82.51 | 99.68 | 98 | 19.9351 | 132.41 | 149.18
394 | 8 | 37 | 54788.4018 | 10583.0015 | 6374.9229 | 2561.7167 | 76.1 | 89.65 | 87 | 14.607 | 115.07 | 150.04
395 | 8 | 38 | 54578.2694 | 10922.9371 | 6374.7186 | 2735.9848 | 80.18 | 96.21 | 91 | 18.9639 | 129.14 | 153.15
396 | 8 | 39 | 54872.7133 | 10583.0015 | 6480.5475 | 2618.0606 | 78.76 | 92.37 | 85 | 17.0605 | 120.82 | 154.99
397 | 8 | 40 | 54854.4969 | 10583.0015 | 6458.6881 | 2618.0606 | 84.72 | 101.97 | 97 | 22.2474 | 137.19 | 150.4
398 | 8 | 41 | 54802.4796 | 10940.0692 | 6422.3867 | 2839.3293 | 90.51 | 110.24 | 113 | 27.0488 | 155.43 | 152.58
399 | 8 | 42 | 54575.7142 | 10403.1319 | 6353.3152 | 2271.4026 | 80.14 | 94.92 | 85 | 19.4793 | 125.57 | 150.91
400 | 8 | 43 | 54650.0924 | 10352.7731 | 6336.5753 | 2633.9297 | 81.2 | 98.14 | 85 | 19.1966 | 134.01 | 153
401 | 8 | 44 | 54460.5058 | 10583.0015 | 6290.2587 | 2380.7214 | 81.6 | 99.87 | 93 | 22.1084 | 138.29 | 149.83
402 | 8 | 45 | 55005.8582 | 10583.0015 | 6540.5141 | 2380.7214 | 89.53 | 108.89 | 116 | 26.1863 | 148.95 | 147.75
403 | 8 | 46 | 54863.3957 | 10891.9108 | 6446.4765 | 2840.8277 | 84.47 | 101.69 | 120 | 21.3949 | 138.66 | 153.76
404 | 8 | 47 | 55034.2155 | 10922.9371 | 6550.0426 | 2735.9848 | 88.36 | 107.75 | 111 | 24.9404 | 148.46 | 149.42
405 | 8 | 48 | 54753.1126 | 10225.087 | 6445.976 | 2618.0606 | 90.25 | 110.67 | 117 | 27.3502 | 152.7 | 144.64
406 | 8 | 49 | 54730.545 | 10940.0692 | 6491.5036 | 2909.2896 | 85.18 | 104.66 | 107 | 22.8011 | 145.35 | 150.32
407 | 8 | 50 | 55311.2015 | 10922.9371 | 6558.4248 | 2840.8277 | 102.95 | 131.07 | 159 | 37.7638 | 191.59 | 143.74
408 | 8 | 51 | 55153.197 | 10644.0641 | 6589.3586 | 2593.278 | 88.84 | 107 | 112 | 25.5764 | 143.85 | 147.94
409 | 9 | 1 | 54534.6203 | 10112.6156 | 6355.4193 | 2207.6571 | 73.61 | 85.55 | 78 | 12.3493 | 109.87 | 159.22
410 | 9 | 2 | 54284.0554 | 10403.1319 | 6301.4163 | 2451.3155 | 74.79 | 87.21 | 92 | 14.1446 | 114.59 | 160.41
411 | 9 | 3 | 54758.1042 | 10583.0015 | 6455.6842 | 2533.0906 | 84.1 | 101.5 | 108 | 22.4991 | 139.62 | 154.39
412 | 9 | 4 | 55042.8709 | 10583.0015 | 6527.1569 | 2533.0906 | 76.46 | 89.26 | 94 | 14.2275 | 115.51 | 155.4
413 | 9 | 5 | 54788.3095 | 10403.1319 | 6414.4498 | 2615.8387 | 76.24 | 88.94 | 91 | 14.482 | 116.37 | 158.3
414 | 9 | 6 | 54791.0863 | 10227.1668 | 6465.5348 | 2618.0606 | 71.84 | 82.95 | 70 | 10.7506 | 103.96 | 155.02
415 | 9 | 7 | 55007.7062 | 10583.0015 | 6522.0195 | 2618.0606 | 73.31 | 84.68 | 79 | 10.3007 | 107.48 | 157.87
416 | 9 | 8 | 54994.6686 | 10922.9371 | 6473.0453 | 2735.9848 | 93.46 | 114.91 | 126 | 30.0032 | 165.02 | 155.55
417 | 9 | 9 | 54643.042 | 10940.0692 | 6433.8263 | 2839.3293 | 75.34 | 88.65 | 77 | 13.3831 | 114.86 | 154.97
418 | 9 | 10 | 55194.0836 | 10922.9371 | 6616.9974 | 2735.9848 | 88.96 | 108.69 | 104 | 26.4755 | 150.44 | 149.78
419 | 9 | 11 | 54579.0074 | 10583.0015 | 6376.6597 | 2618.0606 | 77.63 | 92.13 | 79 | 16.3149 | 122.52 | 157.58
420 | 9 | 12 | 54730.5561 | 10583.0015 | 6470.9653 | 2752.985 | 87.85 | 107.3 | 121 | 25.3318 | 149.8 | 152.18
421 | 9 | 13 | 54678.0722 | 10461.7348 | 6413.3363 | 2561.7167 | 80.59 | 95.21 | 103 | 18.5456 | 125.99 | 154.26
422 | 9 | 14 | 54787.4919 | 10583.0015 | 6446.4241 | 2357.4184 | 84.9 | 101.51 | 110 | 23.2437 | 137.46 | 152.5
423 | 9 | 15 | 54958.6944 | 10922.9371 | 6501.2015 | 2735.9848 | 78.44 | 92.82 | 86 | 16.2399 | 122.64 | 155.6
424 | 9 | 16 | 54958.8625 | 10922.9371 | 6549.073 | 2735.9848 | 81.47 | 97.01 | 99 | 19.3409 | 128.73 | 153.18
425 | 9 | 17 | 54996.3308 | 10922.9371 | 6477.7811 | 2735.9848 | 79.2 | 95.09 | 90 | 17.3053 | 128.7 | 156.13
426 | 9 | 18 | 54741.1435 | 10287.9064 | 6417.9249 | 2533.0906 | 82.91 | 98.03 | 78 | 21.7259 | 132.21 | 154.29
427 | 9 | 19 | 54657.1994 | 10403.1319 | 6359.3601 | 2337.5833 | 74.69 | 88.07 | 69 | 14.3455 | 114.64 | 155.13
428 | 9 | 20 | 54832.5678 | 10403.1319 | 6471.5629 | 2533.0906 | 81.18 | 97.31 | 104 | 18.609 | 129.98 | 154.31
429 | 9 | 21 | 54789.8342 | 10891.9108 | 6438.5015 | 2840.8277 | 80.25 | 95.15 | 90 | 18.4388 | 128.25 | 158.22
430 | 9 | 22 | 54806.8498 | 10818.5075 | 6444.6055 | 2547.3851 | 76.91 | 90.57 | 94 | 15.2083 | 119.13 | 157.38
431 | 9 | 23 | 54670.5769 | 10583.0015 | 6417.7205 | 2533.0906 | 76.79 | 90.48 | 72 | 15.3376 | 119.61 | 156.71
432 | 9 | 24 | 54673.3998 | 10304.2735 | 6348.5764 | 2618.0606 | 75.81 | 90.34 | 67 | 15.3929 | 120.13 | 156.07
433 | 9 | 25 | 54645.2262 | 10583.0015 | 6380.0181 | 2618.0606 | 78.72 | 91.7 | 94 | 16.7574 | 119.79 | 156.2
434 | 9 | 26 | 54854.5079 | 10922.9371 | 6475.7972 | 2840.8277 | 87.79 | 106.79 | 123 | 25.6125 | 148.51 | 152.95
435 | 9 | 27 | 54673.9761 | 10818.5075 | 6357.1869 | 2547.3851 | 81.39 | 96.64 | 98 | 19.4518 | 129.93 | 154.99
436 | 9 | 28 | 55050.9198 | 10922.9371 | 6599.4941 | 2840.8277 | 99.13 | 122.95 | 147 | 35.1103 | 174.64 | 146.17
437 | 9 | 29 | 54526.1796 | 10940.0692 | 6383.7774 | 2839.3293 | 76.78 | 91.25 | 91 | 16.0758 | 123.27 | 160.25
438 | 9 | 30 | 54289.1365 | 10181.6976 | 6271.7033 | 2533.0906 | 72.88 | 84.61 | 52 | 12.8825 | 109.15 | 158.42
439 | 9 | 31 | 54482.7946 | 10283.2642 | 6294.0109 | 2615.8387 | 77.5 | 91.87 | 85 | 16.6613 | 122.39 | 155.03
440 | 9 | 32 | 55013.8329 | 10922.9371 | 6499.8604 | 2735.9848 | 88.1 | 111.21 | 97 | 26.8547 | 159.57 | 152.04
441 | 9 | 33 | 54675.7574 | 10583.0015 | 6374.885 | 2633.9297 | 74.54 | 88.81 | 72 | 14.0549 | 118.12 | 157.19
442 | 9 | 34 | 54730.7956 | 10922.9371 | 6428.4497 | 2752.985 | 85.11 | 104.52 | 102 | 23.701 | 147.55 | 155.8
443 | 9 | 35 | 54797.8134 | 10816.6 | 6395.0965 | 2620.1537 | 82.27 | 98.97 | 98 | 21.1273 | 133.22 | 149.52
444 | 9 | 36 | 54932.7541 | 10403.1319 | 6505.835 | 2618.0606 | 79.45 | 95.43 | 77 | 16.9091 | 126.44 | 152.19
445 | 9 | 37 | 54788.4018 | 10583.0015 | 6374.9229 | 2561.7167 | 75.4 | 88.16 | 87 | 14.296 | 113.24 | 153.8
446 | 9 | 38 | 54578.2694 | 10922.9371 | 6374.7186 | 2735.9848 | 83.96 | 102.05 | 103 | 22.797 | 139.67 | 150.39
447 | 9 | 39 | 54872.7133 | 10583.0015 | 6480.5475 | 2618.0606 | 79.08 | 93.33 | 95 | 17.2433 | 123.2 | 155.13
448 | 9 | 40 | 54854.4969 | 10583.0015 | 6458.6881 | 2618.0606 | 79.08 | 94 | 93 | 16.4153 | 123.84 | 153.34
449 | 9 | 41 | 54802.4796 | 10940.0692 | 6422.3867 | 2839.3293 | 85.25 | 103.95 | 111 | 22.0957 | 145.98 | 155.84
450 | 9 | 42 | 54575.7142 | 10403.1319 | 6353.3152 | 2271.4026 | 76.06 | 89.22 | 79 | 14.7805 | 115.74 | 155.78
451 | 9 | 43 | 54650.0924 | 10352.7731 | 6336.5753 | 2633.9297 | 78.78 | 93.65 | 90 | 15.93 | 125.27 | 157.38
452 | 9 | 44 | 54460.5058 | 10583.0015 | 6290.2587 | 2380.7214 | 83.42 | 102.26 | 94 | 23.897 | 142.65 | 149.12
453 | 9 | 45 | 55005.8582 | 10583.0015 | 6540.5141 | 2380.7214 | 75.07 | 88.14 | 90 | 11.9432 | 113.65 | 157.05
454 | 9 | 46 | 54863.3957 | 10891.9108 | 6446.4765 | 2840.8277 | 86.9 | 105.83 | 101 | 24.1363 | 147.04 | 150.58
455 | 9 | 47 | 55034.2155 | 10922.9371 | 6550.0426 | 2735.9848 | 78.21 | 94.2 | 88 | 15.2269 | 127.03 | 156.83
456 | 9 | 48 | 54753.1126 | 10225.087 | 6445.976 | 2618.0606 | 86.61 | 105.38 | 107 | 23.7867 | 143.86 | 147.74
457 | 9 | 49 | 54730.545 | 10940.0692 | 6491.5036 | 2909.2896 | 106.79 | 139.63 | 123 | 44.2125 | 214.67 | 144.75
458 | 9 | 50 | 55311.2015 | 10922.9371 | 6558.4248 | 2840.8277 | 110.34 | 143.15 | 155 | 45.9671 | 216.21 | 142.13
459 | 9 | 51 | 55153.197 | 10644.0641 | 6589.3586 | 2593.278 | 86.93 | 105.37 | 120 | 23.5196 | 142.5 | 150.96
460 | 10 | 1 | 54534.6203 | 10112.6156 | 6355.4193 | 2207.6571 | 80.89 | 95.28 | 94 | 19.7035 | 124.78 | 152.17
461 | 10 | 2 | 54284.0554 | 10403.1319 | 6301.4163 | 2451.3155 | 79.4 | 93.5 | 94 | 18.8248 | 124.53 | 157.06
462 | 10 | 3 | 54758.1042 | 10583.0015 | 6455.6842 | 2533.0906 | 87.55 | 106.66 | 113 | 26.1016 | 147.58 | 149.96
463 | 10 | 4 | 55042.8709 | 10583.0015 | 6527.1569 | 2533.0906 | 80.92 | 95.89 | 96 | 18.6742 | 125.76 | 151.53
464 | 10 | 5 | 54788.3095 | 10403.1319 | 6414.4498 | 2615.8387 | 80.31 | 93.97 | 102 | 18.7191 | 124.23 | 155.6
465 | 10 | 6 | 54791.0863 | 10227.1668 | 6465.5348 | 2618.0606 | 84.09 | 99.62 | 70 | 22.9566 | 131.43 | 148.59
466 | 10 | 7 | 55007.7062 | 10583.0015 | 6522.0195 | 2618.0606 | 80.8 | 94.47 | 88 | 17.6472 | 123.17 | 154.57
467 | 10 | 8 | 54994.6686 | 10922.9371 | 6473.0453 | 2735.9848 | 93.73 | 112.26 | 128 | 30.2413 | 153.21 | 147.93
468 | 10 | 9 | 54643.042 | 10940.0692 | 6433.8263 | 2839.3293 | 84.89 | 102.2 | 98 | 23.1015 | 140.31 | 154.53
469 | 10 | 10 | 55194.0836 | 10922.9371 | 6616.9974 | 2735.9848 | 81.39 | 98.82 | 107 | 19.0826 | 134.03 | 153.96
470 | 10 | 11 | 54579.0074 | 10583.0015 | 6376.6597 | 2618.0606 | 78.55 | 93.21 | 95 | 17.1874 | 125.14 | 157.06
471 | 10 | 12 | 54730.5561 | 10583.0015 | 6470.9653 | 2752.985 | 79.81 | 95.22 | 97 | 17.7754 | 128.52 | 156.78
472 | 10 | 13 | 54678.0722 | 10461.7348 | 6413.3363 | 2561.7167 | 83.22 | 98.3 | 123 | 21.288 | 132.85 | 156.92
473 | 10 | 14 | 54787.4919 | 10583.0015 | 6446.4241 | 2357.4184 | 92.57 | 111.35 | 112 | 31.4588 | 154.45 | 147.52
474 | 10 | 15 | 54958.6944 | 10922.9371 | 6501.2015 | 2735.9848 | 84.58 | 99.29 | 106 | 22.2694 | 132.04 | 153.86
475 | 10 | 16 | 54958.8625 | 10922.9371 | 6549.073 | 2735.9848 | 84.89 | 101.67 | 111 | 22.6021 | 136.47 | 152.14
476 | 10 | 17 | 54996.3308 | 10922.9371 | 6477.7811 | 2735.9848 | 85.27 | 102.39 | 100 | 23.5005 | 139.53 | 152.26
477 | 10 | 18 | 54741.1435 | 10287.9064 | 6417.9249 | 2533.0906 | 74.97 | 87.15 | 76 | 13.6803 | 113.94 | 158.56
478 | 10 | 19 | 54657.1994 | 10403.1319 | 6359.3601 | 2337.5833 | 76.05 | 89.76 | 64 | 15.9003 | 115.74 | 151.05
479 | 10 | 20 | 54832.5678 | 10403.1319 | 6471.5629 | 2533.0906 | 84.94 | 100.57 | 119 | 22.7069 | 135.01 | 154.32
480 | 10 | 21 | 54789.8342 | 10891.9108 | 6438.5015 | 2840.8277 | 85.3 | 102.22 | 95 | 23.813 | 138.34 | 150.42
481 | 10 | 22 | 54806.8498 | 10818.5075 | 6444.6055 | 2547.3851 | 80.83 | 96.19 | 86 | 19.4784 | 129.87 | 156.11
482 | 10 | 23 | 54670.5769 | 10583.0015 | 6417.7205 | 2533.0906 | 76.04 | 88.27 | 95 | 14.8333 | 113.58 | 155.14
483 | 10 | 24 | 54673.3998 | 10304.2735 | 6348.5764 | 2618.0606 | 81.32 | 97.89 | 82 | 20.6535 | 132.16 | 151.77
484 | 10 | 25 | 54645.2262 | 10583.0015 | 6380.0181 | 2618.0606 | 81.58 | 96.3 | 100 | 19.6897 | 125.99 | 150.47
485 | 10 | 26 | 54854.5079 | 10922.9371 | 6475.7972 | 2840.8277 | 86.02 | 103.46 | 105 | 24.441 | 144.21 | 156.91
486 | 10 | 27 | 54673.9761 | 10818.5075 | 6357.1869 | 2547.3851 | 88.11 | 104.95 | 104 | 26.0321 | 143.14 | 152.17
487 | 10 | 28 | 55050.9198 | 10922.9371 | 6599.4941 | 2840.8277 | 103.41 | 129.71 | 161 | 39.3242 | 186.34 | 145.31
488 | 10 | 29 | 54526.1796 | 10940.0692 | 6383.7774 | 2839.3293 | 87.72 | 107.3 | 108 | 26.0523 | 150.26 | 153.7
489 | 10 | 30 | 54289.1365 | 10181.6976 | 6271.7033 | 2533.0906 | 69.55 | 79.55 | 65 | 9.3274 | 100.73 | 162.59
490 | 10 | 31 | 54482.7946 | 10283.2642 | 6294.0109 | 2615.8387 | 78.5 | 93.35 | 90 | 17.3736 | 123.91 | 153.43
491 | 10 | 32 | 55013.8329 | 10922.9371 | 6499.8604 | 2735.9848 | 82.42 | 101.4 | 88 | 21.4816 | 139.85 | 151.44
492 | 10 | 33 | 54675.7574 | 10583.0015 | 6374.885 | 2633.9297 | 67.13 | 78.1 | 62 | 7.2067 | 98.93 | 159.98
493 | 10 | 34 | 54730.7956 | 10922.9371 | 6428.4497 | 2752.985 | 81.99 | 99.93 | 95 | 20.6106 | 138.65 | 156.03
494 | 10 | 35 | 54797.8134 | 10816.6 | 6395.0965 | 2620.1537 | 82.11 | 98.2 | 97 | 21.125 | 132.28 | 152.48
495 | 10 | 36 | 54932.7541 | 10403.1319 | 6505.835 | 2618.0606 | 89.45 | 107.9 | 103 | 26.54 | 144.77 | 144.69
496 | 10 | 37 | 54788.4018 | 10583.0015 | 6374.9229 | 2561.7167 | 71.46 | 82.79 | 76 | 10.7206 | 106.06 | 158.66
497 | 10 | 38 | 54578.2694 | 10922.9371 | 6374.7186 | 2735.9848 | 90.24 | 110.53 | 94 | 29.7343 | 154.49 | 147.95
498 | 10 | 39 | 54872.7133 | 10583.0015 | 6480.5475 | 2618.0606 | 82.49 | 96.6 | 104 | 20.2617 | 127.37 | 154.54
499 | 10 | 40 | 54854.4969 | 10583.0015 | 6458.6881 | 2618.0606 | 91.22 | 110.67 | 110 | 28.6579 | 152.03 | 148.74
500 | 10 | 41 | 54802.4796 | 10940.0692 | 6422.3867 | 2839.3293 | 84.03 | 99.55 | 97 | 21.4043 | 131.73 | 150.65
501 | 10 | 42 | 54575.7142 | 10403.1319 | 6353.3152 | 2271.4026 | 84.89 | 100.79 | 82 | 24.2222 | 135.08 | 150.63
502 | 10 | 43 | 54650.0924 | 10352.7731 | 6336.5753 | 2633.9297 | 86 | 102.69 | 93 | 23.8986 | 140.28 | 151.69
503 | 10 | 44 | 54460.5058 | 10583.0015 | 6290.2587 | 2380.7214 | 80.38 | 96.86 | 87 | 20.8199 | 131.02 | 150.62
504 | 10 | 45 | 55005.8582 | 10583.0015 | 6540.5141 | 2380.7214 | 86.76 | 103.91 | 107 | 23.705 | 139.12 | 149.1
505 | 10 | 46 | 54863.3957 | 10891.9108 | 6446.4765 | 2840.8277 | 93.14 | 114.71 | 127 | 30.4203 | 163.39 | 148.74
506 | 10 | 47 | 55034.2155 | 10922.9371 | 6550.0426 | 2735.9848 | 83.08 | 100.29 | 95 | 19.8617 | 135.68 | 154.56
507 | 10 | 48 | 54753.1126 | 10225.087 | 6445.976 | 2618.0606 | 86.43 | 103.57 | 115 | 23.643 | 141.41 | 152.02
508 | 10 | 49 | 54730.545 | 10940.0692 | 6491.5036 | 2909.2896 | 90.04 | 112.32 | 109 | 27.302 | 161.35 | 152.11
509 | 10 | 50 | 55311.2015 | 10922.9371 | 6558.4248 | 2840.8277 | 102.79 | 131.85 | 137 | 38.2917 | 196.08 | 146.95
510 | 10 | 51 | 55153.197 | 10644.0641 | 6589.3586 | 2593.278 | 90.05 | 107.69 | 134 | 26.4746 | 143.69 | 148.21
511 | 11 | 1 | 54534.6203 | 10112.6156 | 6355.4193 | 2207.6571 | 88.96 | 107.58 | 118 | 27.459 | 147.15 | 148.91
512 | 11 | 2 | 54284.0554 | 10403.1319 | 6301.4163 | 2451.3155 | 86.05 | 103.65 | 117 | 25.0122 | 142.53 | 151.42
513 | 11 | 3 | 54758.1042 | 10583.0015 | 6455.6842 | 2533.0906 | 92.95 | 113.39 | 121 | 31.1535 | 156.71 | 143.07
514 | 11 | 4 | 55042.8709 | 10583.0015 | 6527.1569 | 2533.0906 | 94.1 | 113.8 | 110 | 31.6008 | 151.54 | 133.33
515 | 11 | 5 | 54788.3095 | 10403.1319 | 6414.4498 | 2615.8387 | 87.02 | 105.18 | 97 | 25.2015 | 144.69 | 151.09
516 | 11 | 6 | 54791.0863 | 10227.1668 | 6465.5348 | 2618.0606 | 92.7 | 112.2 | 83 | 31.0283 | 149.51 | 134.29
517 | 11 | 7 | 55007.7062 | 10583.0015 | 6522.0195 | 2618.0606 | 85.98 | 102.19 | 88 | 23.0512 | 135.57 | 147.75
518 | 11 | 8 | 54994.6686 | 10922.9371 | 6473.0453 | 2735.9848 | 104.66 | 126.98 | 136 | 41.5576 | 175.51 | 137.31
519 | 11 | 9 | 54643.042 | 10940.0692 | 6433.8263 | 2839.3293 | 90.71 | 109.85 | 114 | 28.5806 | 150.99 | 147.34
520 | 11 | 10 | 55194.0836 | 10922.9371 | 6616.9974 | 2735.9848 | 102.67 | 128.41 | 118 | 40.4885 | 183.36 | 140.47
521 | 11 | 11 | 54579.0074 | 10583.0015 | 6376.6597 | 2618.0606 | 81.83 | 97.07 | 85 | 20.8957 | 128.79 | 149.85
522 | 11 | 12 | 54730.5561 | 10583.0015 | 6470.9653 | 2752.985 | 86.54 | 104.19 | 117 | 24.4422 | 143.47 | 153.66
523 | 11 | 13 | 54678.0722 | 10461.7348 | 6413.3363 | 2561.7167 | 91.46 | 109.17 | 126 | 29.0906 | 147.29 | 144.71
524 | 11 | 14 | 54787.4919 | 10583.0015 | 6446.4241 | 2357.4184 | 97.53 | 119.54 | 129 | 35.6486 | 164.68 | 137.44
525 | 11 | 15 | 54958.6944 | 10922.9371 | 6501.2015 | 2735.9848 | 92.63 | 112.02 | 122 | 30.0606 | 150.14 | 139.09
526 | 11 | 16 | 54958.8625 | 10922.9371 | 6549.073 | 2735.9848 | 93.95 | 115.05 | 119 | 31.7131 | 160.2 | 147.11
527 | 11 | 17 | 54996.3308 | 10922.9371 | 6477.7811 | 2735.9848 | 90.58 | 109.71 | 122 | 28.444 | 149.67 | 143.9
528 | 11 | 18 | 54741.1435 | 10287.9064 | 6417.9249 | 2533.0906 | 94.29 | 114.4 | 97 | 32.6385 | 158.33 | 142.88
529 | 11 | 19 | 54657.1994 | 10403.1319 | 6359.3601 | 2337.5833 | 82.09 | 98.47 | 75 | 21.8339 | 129.89 | 145.49
530 | 11 | 20 | 54832.5678 | 10403.1319 | 6471.5629 | 2533.0906 | 90.16 | 108.12 | 122 | 27.5551 | 147.6 | 149.82
531 | 11 | 21 | 54789.8342 | 10891.9108 | 6438.5015 | 2840.8277 | 89.93 | 108.43 | 108 | 28.0779 | 147.89 | 146.93
532 | 11 | 22 | 54806.8498 | 10818.5075 | 6444.6055 | 2547.3851 | 83.2 | 100.2 | 91 | 21.6169 | 135.74 | 151.21
533 | 11 | 23 | 54670.5769 | 10583.0015 | 6417.7205 | 2533.0906 | 85.44 | 101.91 | 94 | 23.8157 | 136.71 | 146.51
534 | 11 | 24 | 54673.3998 | 10304.2735 | 6348.5764 | 2618.0606 | 84.58 | 103.27 | 88 | 23.9565 | 142.54 | 149.41
535 | 11 | 25 | 54645.2262 | 10583.0015 | 6380.0181 | 2618.0606 | 79.84 | 93.71 | 92 | 18.4151 | 123.84 | 154.51
536 | 11 | 26 | 54854.5079 | 10922.9371 | 6475.7972 | 2840.8277 | 94.99 | 116.08 | 120 | 33.4712 | 161.86 | 144.37
537 | 11 | 27 | 54673.9761 | 10818.5075 | 6357.1869 | 2547.3851 | 88.01 | 105.61 | 101 | 26.0402 | 145.32 | 151.18
538 | 11 | 28 | 55050.9198 | 10922.9371 | 6599.4941 | 2840.8277 | 116.46 | 145.79 | 172 | 52.3614 | 207.82 | 130.08
539 | 11 | 29 | 54526.1796 | 10940.0692 | 6383.7774 | 2839.3293 | 93.07 | 112.49 | 108 | 32.086 | 157.25 | 149.12
540 | 11 | 30 | 54289.1365 | 10181.6976 | 6271.7033 | 2533.0906 | 73.28 | 85.46 | 65 | 13.1189 | 110.81 | 156.67
541 | 11 | 31 | 54482.7946 | 10283.2642 | 6294.0109 | 2615.8387 | 93.54 | 114.16 | 97 | 32.7124 | 155.86 | 138.28
542 | 11 | 32 | 55013.8329 | 10922.9371 | 6499.8604 | 2735.9848 | 82.61 | 100.99 | 91 | 21.5595 | 137.22 | 150.23
543 | 11 | 33 | 54675.7574 | 10583.0015 | 6374.885 | 2633.9297 | 85.2 | 103.54 | 90 | 24.9242 | 140.4 | 146.33
544 | 11 | 34 | 54730.7956 | 10922.9371 | 6428.4497 | 2752.985 | 89.64 | 109.33 | 104 | 28.0375 | 150.78 | 145.6
545 | 11 | 35 | 54797.8134 | 10816.6 | 6395.0965 | 2620.1537 | 93.05 | 113.45 | 107 | 31.9844 | 157.19 | 142.99
546 | 11 | 36 | 54932.7541 | 10403.1319 | 6505.835 | 2618.0606 | 80.77 | 95.89 | 96 | 18.3147 | 125.84 | 151.13
547 | 11 | 37 | 54788.4018 | 10583.0015 | 6374.9229 | 2561.7167 | 81.09 | 96.62 | 84 | 20.1963 | 126.92 | 147.36
548 | 11 | 38 | 54578.2694 | 10922.9371 | 6374.7186 | 2735.9848 | 97.75 | 120.09 | 108 | 37.0991 | 165.01 | 134.65
549 | 11 | 39 | 54872.7133 | 10583.0015 | 6480.5475 | 2618.0606 | 86.34 | 103.44 | 105 | 24.2335 | 138 | 148.18
550 | 11 | 40 | 54854.4969 | 10583.0015 | 6458.6881 | 2618.0606 | 91.03 | 111.47 | 101 | 28.3869 | 152.11 | 143.95
551 | 11 | 41 | 54802.4796 | 10940.0692 | 6422.3867 | 2839.3293 | 80.8 | 95.79 | 107 | 18.1375 | 128.16 | 153.86
552 | 11 | 42 | 54575.7142 | 10403.1319 | 6353.3152 | 2271.4026 | 83.58 | 99.02 | 90 | 22.5298 | 130.09 | 146.86
553 | 11 | 43 | 54650.0924 | 10352.7731 | 6336.5753 | 2633.9297 | 86.93 | 105.14 | 89 | 24.3816 | 144.55 | 150.27
554 | 11 | 44 | 54460.5058 | 10583.0015 | 6290.2587 | 2380.7214 | 85.52 | 104.99 | 103 | 25.8501 | 145.15 | 144.19
555 | 11 | 45 | 55005.8582 | 10583.0015 | 6540.5141 | 2380.7214 | 99.32 | 123.2 | 129 | 35.8485 | 172.01 | 139.91
556 | 11 | 46 | 54863.3957 | 10891.9108 | 6446.4765 | 2840.8277 | 93.5 | 115.04 | 127 | 30.5178 | 161.81 | 146.27
557 | 11 | 47 | 55034.2155 | 10922.9371 | 6550.0426 | 2735.9848 | 94.28 | 114.83 | 105 | 31.0376 | 153.99 | 136.11
558 | 11 | 48 | 54753.1126 | 10225.087 | 6445.976 | 2618.0606 | 92.92 | 114.71 | 106 | 30.4034 | 158.71 | 140.51
559 | 11 | 49 | 54730.545 | 10940.0692 | 6491.5036 | 2909.2896 | 83.6 | 102.54 | 106 | 20.8994 | 142.65 | 154.41
560 | 11 | 50 | 55311.2015 | 10922.9371 | 6558.4248 | 2840.8277 | 100.18 | 127.05 | 136 | 35.9577 | 185.81 | 147.28
561 | 11 | 51 | 55153.197 | 10644.0641 | 6589.3586 | 2593.278 | 90.69 | 109.46 | 108 | 27.3676 | 148.37 | 148.07